## Project Summary
Project Summary Form - HI-CHPS v1.1 | [5 empty] | x
School or Project Name:
School District or Governing Body: | HI DOE
School Location:
Grade Levels Served: |  | CHPS Project ID#: | For Admin Use Only
Expected Completion Date (month/yr):
Project Type:
For Renovations, which major systems are included in CHPS scope:
| Lighting | Interior Surfaces | Site
| Building Envelope | HVAC
Project Delivery Method:
If construction is phased, please explain phases and provide dates of completion:
Total Number of Buildings on School Campus including those in CHPS Scope: |  |  |  |  | Design/Bid/Build
Design/Build
Please fill out Building Information Table below for each building included in the CHPS scope only (add rows as needed):
Building Name /Type | Gross Square Footage | Number of Classrooms | Number of Staff & Admin | Number of Students
Please provide an overall description of the project including any high performance features you would like to highlight (1 to 2 paragraphs):
Contact Name:
Title /Organization:
Phone Number:
Email:

## Annotated Scorecard 24x36
HI-CHPS 2012 SCORECARD - Updated for v1.1 | [14 empty] | Project Description
Project Information | [9 empty] | Instructions: Enter the Submission Date in row 3, and complete the Points Pursued columns. The columns for 'References for Contractors and Team' and 'Other Notes' are optional for communicating project goals and requirements to other team members. This sheet is formatted to print on a 24"x 36" plan sheet and can be included in the Construction Documents. Updated 1/2020.
Project Name: | [5 empty] | Submission/Resubmission Date:
Project Location: | [5 empty] | Review Completed Date: | Admin only
| Project Type: |  |  |  |  | CHPS Project ID: | Admin only
Project Description
Criteria |  | Prerequisite | Points Possible | Points Pursued | References for Contractors and Team (Attachments, Construction Docs, etc.) | Other Notes for Contractor Regarding Compliance (Items to track during construction, etc.) |  | Criteria |  | Prerequisite | Points Possible | Points Pursued | References for Contractors and Team (Attachments, Construction Docs, etc.) | Other Notes for Contractor Regarding Compliance (Items to track during construction, etc.)
INTEGRATION |  | Subtotal | 24 | 0 |  |  |  | WATER |  | Subtotal | 19 | 0
II.P1 | Integrated Design | P | P |  |  |  |  | WE.P1 | Outdoor Water Budget and Irrigation System Performance | P | P
II.P2 | Microclimate Based Design | P | P |  |  |  |  | WE.P2 | Minimum Reduction in Indoor Potable Water Use | P | P |  |  |  | Project Number
II.P3 | Educational Display | P | P |  |  |  |  | WE.C1 | Indoor Water Use Reduction |  | 5
II.C1 | Enhanced Integrated Design |  | 2 |  |  |  |  | WE.C2 | Reduce Potable Water Use for Sewage Conveyance |  | 4
II.C2 | Demonstration Areas, Staff Training and Community Outreach |  | 2 |  |  |  |  | WE.C3 | Reduce Potable Water Use for Non Recreational Landscaping Areas |  | 3 |  |  |  | Project Location
II.C3 | Life Cycle Cost Analysis |  | 2 |  |  |  |  | WE.C4 | Reduce Potable Water Use for Recreational Landscaping Areas |  | 2
II.C4 | Outdoor Classrooms |  | 1 |  |  |  |  | WE.C5 | Irrigation System Commissioning |  | 1
II.C5 | School Garden |  | 1 |  |  |  |  | WE.C6 | Water Management System |  | 4
II.C6 | Grid Neutral/Zero Net Energy |  | 6
II.C7 | Plug Load Reduction |  | 1 |  |  |  |  | SUSTAINABLE SITES |  | Subtotal | 25 | 0
II.C8 | School Master Plan |  | 1 |  |  |  |  | SS.P1 | Site Selection and Evaluation | P | P
II.C9 | Innovation - {Include Innovation Title Here and Complete Req's After Construction} |  | 3 |  |  |  |  | SS.P2 | Construction Site Runoff Control | P | P
| Innovation - {Include Innovation Title Here and Complete Req's After Construction} |  | 3 |  |  |  |  | SS.C1 | Sustainable Site Selection |  | 4
II.C10 | Design for Adaptability, Durability and Disassembly |  | 2 |  |  |  |  | SS.C2 | Joint Use of Facilities and Parks |  | 3
[8 empty] | SS.C3 | Central Location and Public Transportation |  | 3
INDOOR ENVIRONMENTAL QUALITY |  | Subtotal | 23 | 0 |  |  |  | SS.C4 | Cultural Responsive Design |  | 1
EQ.P1 | Air Quality in Naturally Conditioned and Ventilated Schools | P | P |  |  |  |  | SS.C5 | Reduced Building Footprint |  | 1
EQ.P2 | Air Quality in Mechanically Conditioned and Ventilated Schools | P | P |  |  |  |  | SS.C6 | Human Powered Transporation |  | 3
EQ.P3 | Construction IAQ Management | P | P |  |  |  |  | SS.C7 | Parking and Electric Vehicles |  | 2
EQ.P4 | Moisture Management | P | P |  |  |  |  | SS.C8 | Post-Construction Stormwater Management |  | 2
EQ.P5 | View Windows | P | P |  |  |  |  | SS.C9 | Reduce Heat Islands – Landscaping |  | 2
EQ.P6 | Daylighting and Glare | P | P |  |  |  |  | SS.C10 | Reduce Heat Islands – Cool Roofs / Vegetated Roofs |  | 2
EQ.P7 | Minimum Acoustical Performance | P | P |  |  |  |  | SS.C11 | Light Pollution Reduction |  | 2
EQ.P8 | Minimum Low Emitting Materials | P | P
EQ.C1 | Enhanced View Windows |  | 2 |  |  |  |  | MATERIALS & WASTE MANAGEMENT |  | Subtotal | 19 | 0
EQ.C2 | Daylighting in Classrooms |  | 6 |  |  |  |  | MW.P1 | Storage and Collection of Recyclables | P | P
EQ.C3 | Pollutant and Chemical Source Control |  | 2 |  |  |  |  | MW.P2 | Minimum Construction Site Waste Management | P | P
EQ.C4 | Advanced Low Emitting Materials |  | 3 |  |  |  |  | MW.C1 | Construction Site Waste Management |  | 2
EQ.C5 | Enhanced Air Quality Measures |  | 3 |  |  |  |  | MW.C2 | Single Attribute – Recycled Content |  | 2
EQ.C6 | Post-Construction IAQ |  | 1 |  |  |  |  | MW.C3 | Single Attribute - Rapidly Renewable Materials |  | 2
EQ.C7 | Enhanced Acoustical Performance |  | 3 |  |  |  |  | MW.C4 | Single Attribute - Certified Wood |  | 1
EQ.C8 | Electric Lighting |  | 3 |  |  |  |  | MW.C5 | Single Attribute - Regional Materials |  | 2
[8 empty] | MW.C6 | Material Reuse |  | 2
ENERGY |  | Subtotal | 45 | 0 |  |  |  | MW.C7 | Durable and Low Maintenance Flooring |  | 1
EE.P1 | Minimum Energy Performance | P | P |  |  |  |  | MW.C8 | Building Reuse – Exterior |  | 2
EE.P2 | Commissioning | P | P |  |  |  |  | MW.C9 | Building Reuse – Interior |  | 1 |  |  |  | CHPS ANNOTATED SCORECARD
EE.P3 | Facility Staff & Occupant Training | P | P |  |  |  |  | MW.C10 | Environmental Performance Reporting |  | 4
EE.P4 | Eliminate Ozone Depleting Refrigerants | P | P
EE.P5 | Base Level Energy Management System | P | P |  |  |  |  | DISTRICT PLANNING, OPERATION & MAINTENANCE |  | Subtotal | 17 | 0
EE.P6 | ENERGY STAR Equipment | P | P |  |  |  |  | OM.P1 | District High Performance Operations | P | P
EE.C1 | Superior Energy Performance |  | 24 |  |  |  |  | OM.P2 | Systems Maintenance Plan | P | P
EE.C2 | Renewable Energy |  | 10 |  |  |  |  | OM.C1 | District High Performance Planning |  | 1
EE.C3 | Advanced Energy Management System and Submetering |  | 5 |  |  |  |  | OM.C2 | Enhanced High Performance Operations |  | 7
EE.C4 | Flex Energy – Solar Ready |  | 1 |  |  |  |  | OM.C3 | Anti-Idling Measures |  | 1
EE.C5 | Control Building Envelope Openings |  | 2 |  |  |  |  | OM.C4 | Green Cleaning |  | 1
EE.C6 | Enhanced Commissioning |  | 3 |  |  |  |  | OM.C5 | Work Order and Maintenance Management System |  | 1 |  |  |  | CHPS-1
[8 empty] | OM.C6 | Indoor Environmental Management Plan |  | 2
[8 empty] | OM.C7 | Integrated Pest Management |  | 1
[8 empty] | OM.C8 | Climate Change Action / Carbon Footprint Reporting |  | 2
[8 empty] | OM.C9 | Green Power |  | 1
[10 empty] | TOTAL: | 0 | 45 points minimum needed
172

## II Design
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Integration and Innovation Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. If claiming credit under II.C9, fill in the name and value of the innovation credits. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
II.P1 | Integrated Design | Integrated Design | P | 0
| II.P1.1 | Integrated Design Workshops
| II.P1.2 | HI-CHPS Scorecard Plansheet |  |  |  |  | Construction drawings must incorporate the HI-CHPS Scorecard provided through the CHPS Verified Program.
II.P2 | Enhanced Integrated Design | Microclimate Based Design | P | 0 | Submit the detailed site analysis and findings. For credit to be awarded, all of the measures listed under the site analysis and findings requirements must be included. For major modernization projects, if a requirement seems unreasonable based on the scope, provide justification through the verification process.
II.P3 | Educational Display | Educational Display | P | 0 |  |  | Construction drawings must include the location of and details of display.
II.C1 | Enhanced Integrated Design | Enhanced Integrated Design | 2 | 0
| II.C1.1 | General Contractor Included in Design Workshops | 1 |  | Provide proof of the General Contractors involvement through contract or letter, including commitment and work completed.
| II.C1.2 | BIM | 1 |  |  |  | Construction drawing submittal must include BIM model with required features.
II.C2 | Outdoor Classrooms | Demonstration Areas, Staff Training and Community Outreach | 2 | 0
| II.C2.1 | Demonstration Areas | 1
| II.C2.2 | Staff Training | 1
| II.C2.3 | Community Open House
II.C3 | School Master Plan | Life Cycle Cost Analysis | 2 | 0 | Submit a copy of the project specific life cycle cost analysis.
II.C4 | Innovation - {Include Innovation Title Here and Complete Req's After Construction} | Outdoor Classrooms | 1 | 0 |  |  | Construction drawings must include an outdoor classroom space including the required features.
II.C5 | Innovation - {Include Innovation Title Here and Complete Req's After Construction} | School Garden | 1 | 0 |  |  | Construction drawings should identify the location and size of the garden as well as its storage space. Irrigation for the garden should be identified on a landscape irrigation design plan.
II.C6 | Design for Adaptability, Durability and Disassembly | Grid Neutral/Zero Net Energy | 6 | 0 | Compliance will be verified through following the requirements under EE.C1 Superior Energy Efficiency and EE.C2 Renewable Energy.
| II.C6.1 | Grid Neutral | 5
| II.C6.2 | Zero Net Energy | 6
II.C7 | Air Quality in Naturally Conditioned and Ventilated Schools | Plug Load Reduction | 1 | 0
II.C8 | School Master Plan | School Master Plan | 1 | 0
II.C9 | Innovation - {Include Innovation Title Here and Complete Req's After Construction} | Innovation | 6
| II.C9.1 | Include Innovation Title Here | 1 -3
| II.C9.2 | Include Innovation Title Here | 1 -3
| II.C9.3 | Include Innovation Title Here | 1 -3
| II.C9.4 | Include Innovation Title Here | 1 -3
II.C10 | Air Quality in Naturally Conditioned and Ventilated Schools | Design for Adaptability, Durability and Disassembly | 2 | 0
| II.C10.1 | Disassembly Plan | 1
| II.C10.2 | Design for Disentanglement | 1 |  |  |  | Construction drawings must show major system designs to promote disentanglement. It may be necessary to provide additional sketches or drawings that are not typically found in plan sets.
| II.C10.3 | Connections for Disassembly |  |  |  |  | Construction drawings must show system connection drawings.
|  |  | Subtotal | 0

## II Construction
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Integration and Innovation Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. If claiming credit under II.C9, fill in the name and value of the innovation credits. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
II.P1 | Integrated Design | Integrated Design | P | 0
| II.P1.1 | Integrated Design Workshops |  |  | Submit meeting agendas and attendee lists with identifying roles for all four required workshops. Submit meeting minutes that outline high performance goals, implementation procedures, topics needing further investigation or research, and team members responsible for each prerequisite and targeted credit.
| II.P1.2 | HI-CHPS Scorecard Plansheet
II.P2 | Enhanced Integrated Design | Microclimate Based Design | P | 0
II.P3 | Educational Display | Educational Display | P | 0
II.C1 | Enhanced Integrated Design | Enhanced Integrated Design | 2 | 0
| II.C1.1 | General Contractor Included in Design Workshops | 1
| II.C1.2 | BIM | 1
II.C2 | Outdoor Classrooms | Demonstration Areas, Staff Training and Community Outreach | 2 | 0
| II.C2.1 | Demonstration Areas | 1 |  | Submit a picture of the installed demonstration areas with a brief description of each.
| II.C2.2 | Staff Training | 1 |  | Provide the training manual or a link if offered through the school’s website. Provide a copy of training materials and attendee list.
| II.C2.3 | Community Open House |  |  | Submit pictures from the school’s open house. Provide a copy of the invitation, tour features, and guest book of attendees.
II.C3 | School Master Plan | Life Cycle Cost Analysis | 2 | 0
II.C4 | Innovation - {Include Innovation Title Here and Complete Req's After Construction} | Outdoor Classrooms | 1 | 0 | Submit a picture(s) of the completed outdoor classroom(s).
II.C5 | Innovation - {Include Innovation Title Here and Complete Req's After Construction} | School Garden | 1 | 0 | Submit a picture(s) of the completed garden(s). Submit the long-term maintenance plan for the garden spaces. For existing schools, submit proof that the garden site soil has been tested and no harmful contaminants are present.
II.C6 | Design for Adaptability, Durability and Disassembly | Grid Neutral/Zero Net Energy | 6 | 0
| II.C6.1 | Grid Neutral | 5
| II.C6.2 | Zero Net Energy | 6
II.C7 | Air Quality in Naturally Conditioned and Ventilated Schools | Plug Load Reduction | 1 | 0 | Submit the plug load reduction plan, including the inventory of equipment and identification of the responsible party for implementation of the plan.
II.C8 | School Master Plan | School Master Plan | 1 | 0 | Submit school master plan.
II.C9 | Innovation - {Include Innovation Title Here and Complete Req's After Construction} | Innovation | 6 |  | For each new credit attempted: 1) define the credit and its purpose; 2) describe the proposed criteria for compliance including any applicable standards; 3) identify documentation requirements that verify compliance with the proposed credit; 4) submit a narrative describing how the credit reflects sustainable or environmental health and safety practices, and 5) submit documentation identified in 3). For claiming credit for exceptional performance in an existing credit area, submit a narrative of the design approach, including an explanation of how the original credit was exceeded by a significant amount.
| II.C9.1 | Include Innovation Title Here | 1 -3
| II.C9.2 | Include Innovation Title Here | 1 -3
| II.C9.3 | Include Innovation Title Here | 1 -3
| II.C9.4 | Include Innovation Title Here | 1 -3
II.C10 | Air Quality in Naturally Conditioned and Ventilated Schools | Design for Adaptability, Durability and Disassembly | 2 | 0
| II.C10.1 | Disassembly Plan | 1 |  | Submit Disassembly Plan. Submit pictures of the features taken during construction with narratives of what is shown.
| II.C10.2 | Design for Disentanglement | 1 |  | Submit pictures of the features taken during construction with narratives of what is shown.
| II.C10.3 | Connections for Disassembly |  |  | Submit pictures of the features taken during construction with narratives of what is shown.
|  |  | Subtotal | 0

## EQ Design
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Indoor Environmental Quality Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
EQ.P1 |  | Air Quality in Naturally Conditioned and Ventilated Schools | P | 0 |  |  |  | Construction drawings must include diagrams and calculations showing that the design meets the natural ventilation requirements. Include tables showing floor and window ratios of each room or if an engineered system, include outputs of CFD (Computational Fluid Dynamics) analysis. Construction drawings must show required carbon monoxide monitors and installation details (sensitivity and height above floor). Construction drawings must include a table with seasonal temperatures and humidity design criteria, and metabolic rates for each space. Provide supporting documentation with PMV/PPD calculations, and/or ASHRAE Comfort Tool results that standards have been met.
EQ.P2 |  | Air Quality in Mechanically Conditioned and Ventilated Schools | P | 0 |  |  |  | Construction drawings must include mechanical schedules with minimum required outside air CFM rates and MERV level by air handler type. Include the ASHRAE 62.1 Mechanical Ventilation Calculation Worksheet. Mechanical drawings should indicate requirements. Construction drawing must include a table with seasonal temperatures and humidity design criteria, and metabolic rates for each space. Provide supporting documentation with PMV/PPD calculations, and/or ASHRAE Comfort Tool results that standards have been met. Construction drawings must show air intake openings and clearly identify hazardous and noxious contaminant sources on the drawings (e.g. bus and vehicle loading areas, ventilation exhaust locations).
EQ.P3 |  | Construction IAQ Management | P | 0 |  |  |  | Construction drawings must include Indoor Air Quality management features
| EQ.P3.1 | SMACNA for all projects
| EQ.P3.2 | SMACNA for reno/modernization
| EQ.P3.3 | Building Flush Out - Select Option Used
EQ.P4 |  | Moisture Management | P | 0 |  |  |  | Construction drawings must include a site plan showing required drainage, and diagrams and details of condensate system must show drain tap and gravity drainage system. Construction drawings must include irrigation plans showing that sprinkler ranges do not intersect with buildings.
EQ.P5 |  | View Windows | P | 0 | Complete tab EQ.P5_C1- View Windows |  |  | Construction drawings must include required calculations for view windows. Fulfill this requirement by completing the HI-CHPS Plan Sheet. Plans and sections will be used for verification.
EQ.P6 |  | Daylighting and Glare | P | 0 |  | Provide PDF results of a daylight simulation model, a computer based simulation model, a physical model, or manually calculated sunlight penetration in the classrooms to avoid direct sunlight on teaching surfaces and work planes. |  | Construction drawings must show required photocontrols, sensors, lighting zones and set points.
EQ.P7 |  | Minimum Acoustical Performance | P | 0 |  | Provide PDF of the report from a qualified acoustical consultant verifying that classrooms have been designed to meet the relevant requirements including 1) measures taken to limit sound transmission between core learning spaces and adjacent spaces, 2) proof of floor-ceiling assemblies that meet the IIC of 50 or greater, 3) compliance with sound and vibration control requirements outlined in the HVAC Applications ASHRAE Handbook, Chapter 47, and 4) calculations showing compliance with ANSI S12.60. |  | Construction drawings should reflect measures taken to meet the required acoustic levels.
EQ.P8 |  | Minimum Low Emitting Materials | P | 0 |  |  |  | Construction drawings shall specify the low-emitting products with the maximum allowed VOC concentration levels per product.
EQ.C1 |  | Enhanced View Windows | 2 | 0 | Complete tab EQ.P5_C1- View Windows |  |  | Construction drawings must include required calculations for view windows. Fulfill this requirement by completing the HI-CHPS Verified Plan Sheet. Plans and sections will be used for verification. Plans and sections will be used for verification.
| EQ.C1.1 | Access to Views, 80% | 1
|  | Access to Views, 90% | 2
EQ.C2 |  | Daylighting in Classrooms | 6 | 0 | Complete tab EQ C2 - Daylighting |  |  | Construction drawings must identify spaces that qualify as daylit, and the percentage of daylit classrooms. Fulfill this requirement by completing the CHPS Verified Plan Sheet, CHPS-3. Plans and sections will be used for verification. For each classroom group identified on the HI-CHPS Verified Plan Sheet, provide the required computer based simulation results including point-by-point lighting predictions as appropriate.
| EQ.C2.1 | Classroom spaces | 1-4
| EQ.C2.2 | Support spaces | 1-2
EQ.C3 |  | Pollutant and Chemical Source Control | 2 | 0
| EQ.C3.1 | Off-Gassing | [5 empty] | Construction drawings shall specify spaces stated in the prerequisite are ventilated to maintain a 1-3 Pa negative pressure, compared to their immediate environment, and are exhausted at a rate of 0.50 cfm/ft2.
| EQ.C3.2 | Walk Off Mats | [5 empty] | Construction drawings shall identify walk-off mats or equivalent track-off mitigation measures at all high volume entrances and lengths.
| EQ.C3.3 | Control Surface Dust | [5 empty] | Construction drawings which identify hard-surfaced paving not less than six feet by six feet at all outside entrances or doorways to any school room.
| EQ.C3.4 | Electric Ignitions for Gas-Fired Equipment | [5 empty] | Construction drawings shall identify electric ignitions to light any gas-fired equipment.
| EQ.C3.5 | Install radon mitigation systems | [5 empty] | Construction drawings shall include details of radon mitigation system.
| EQ.C3.6 | Install a carbon monoxide monitor | [5 empty] | Construction drawings must indicate carbon monoxide monitors in required locations.
EQ.C4 |  | Advanced Low Emitting Materials | 3 | 0 |  |  |  | Construction drawings shall specify the low-emitting products with the maximum allowed VOC concentration levels per product.
| EQ.C4.1 | Flooring Systems | 1
| EQ.C4.2 | Ceiling & Wall Systems | 1
| EQ.C4.3 | Furniture & Furnishings | 1
EQ.C5 |  | Enhanced Air Quality Measures | 3 | 0
| EQ.C5.1 | Naturally Ventilated and Conditioned Spaces | 2 |  |  |  |  | Construction drawings shall include notes for the required permanent signage. The required carbon dioxide detectors under EQ.P1 must include details or notes for the sensors or other indication devices that record classroom levels and notify facility management when they exceed 700 ppm.
| EQ.C5.2 |  | 1 |  |  |  |  | Construction drawings shall include controls and details for the required system.
| EQ.C5.3 | Mechanically Ventilated and Conditioned Spaces | 1 |  |  |  |  | Construction drawings, ideally the mechanical drawings must include access doors highlighted for all ductwork in the building.
| EQ.C5.4 |  | 1 |  |  |  |  | Construction drawings must identify ducted returns.
| EQ.C5.5 |  | 1 |  |  |  |  | Construction drawings, likely the mechanical schedules must include minimum required filtration levels for all HVAC systems.
EQ.C6 |  | Post-Construction IAQ | 1 | 0 |  |  |  | Construction drawings shall include a general construction note for the requirement.
EQ.C7 |  | Enhanced Acoustical Performance | 3 | 0
| EQ.C7.1 | Reverberation Time Requirements | 1 |  |  | Requirements must be included in acoustical report provided under EQ.P7 |  | Requirements must be incorporated into construction documents as specified.
| EQ.C7.2 | Background Noise Requirements | 1
| EQ.C7.3 | Noise Isolation Requirements | 1 |  |  | Requirements must be included in commissioning plan developed under EE.P2.
EQ.C8 |  | Electric Lighting | 3 | 0
| EQ.C8.1 | Multi-scene indirect/direct lighting systems | [5 empty] | Construction drawings, particularly the electrical plans must include point-by-point lighting calculations for each classroom type. Construction drawings, ideally the electrical schedule must include the required lighting and system features.
| EQ.C8.2 | General illumination and A/V modes
| EQ.C8.3 | Separate teaching wall lighting system
| EQ.C8.4 | General illumination mode average illumination
| EQ.C8.5 | A/V mode requirement average illumination
| EQ.C8.6 | Two levels of lighting
|  |  | Subtotal | 0

## EQ Construction
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Indoor Environmental Quality Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
EQ.P1 |  | Air Quality in Naturally Conditioned and Ventilated Schools | P | 0 | Submit pictures(s) of carbon monoxide monitors installed at appropriate heights and a sample of classrooms with operable windows open.
EQ.P2 |  | Air Quality in Mechanically Conditioned and Ventilated Schools | P | 0 | Submit pictures(s) of features installed and a sample ofclassrooms with operable windows open.
EQ.P3 |  | Construction IAQ Management | P | 0 | Submit photos, taken at various times during construction, with a narrative for each photo describing compliance with the various requirements. Submit a narrative describing implementation of the flush out option chosen, photos and sign-off from the Contractor or Inspector of Record that it took place.
| EQ.P3.1 | SMACNA for all projects
| EQ.P3.2 | SMACNA for reno/modernization
| EQ.P3.3 | Building Flush Out - Select Option Used |  |  | Submit a narrative describing implementation of the flush out option chosen, pictures and sign-off from the Contractor that it took place.
EQ.P4 |  | Moisture Management | P | 0 | Submit pictures taken at various times during construction, with a narrative for each photo describing techniques for protecting building materials from mold and moisture damage.
EQ.P5 |  | View Windows | P | 0
EQ.P6 |  | Daylighting and Glare | P | 0
EQ.P7 |  | Minimum Acoustical Performance | P | 0
EQ.P8 |  | Minimum Low Emitting Materials | P | 0 | Submit approved submittals, receipts, or proof of purchase or installation for low-emitting products.
EQ.C1 |  | Enhanced View Windows | 2 | 0
EQ.C2 |  | Daylighting in Classrooms | 6 | 0
EQ.C3 |  | Pollutant and Chemical Source Control | 2 | 0 | For all strategies, submit pictures taken at various times during construction, with a narrative for each photo describing techniques for protecting occupants from pollutants and chemicals indoors.
| EQ.C3.1 | Off-Gassing
| EQ.C3.2 | Walk Off Mats
| EQ.C3.3 | Control Surface Dust
| EQ.C3.4 | Electric Ignitions for Gas-Fired Equipment
| EQ.C3.5 | Install radon mitigation systems
| EQ.C3.6 | Install a carbon monoxide monitor
EQ.C4 |  | Advanced Low Emitting Materials | 3 | 0 | Proof of purchase and/or installation is only required if audited during construction review. CHPS recommends records are kept in the event an audit is requested.
| EQ.C4.1 | Flooring Systems
| EQ.C4.2 | Ceiling & Wall Systems
| EQ.C4.3 | Furniture & Furnishings
EQ.C5 |  | Enhanced Air Quality Measures | 3 | 0
| EQ.C5.1 | Naturally Ventilated and Conditioned Spaces |  |  | Submit pictures of the required signage installed.
EQ.C5.2
| EQ.C5.3 | Mechanically Ventilated and Conditioned Spaces |  |  | Provide a copy of a purchase order from the school district for the duct cleaning work or an invoice from the duct cleaning company.
EQ.C5.4
| EQ.C5.5 |  |  |  | Submit receipts, proof of purchase or installation for required filtration.
EQ.C6 |  | Post-Construction IAQ | 1 | 0 | Submit proof of work completed through an invoice from the contractor who performed the work.
EQ.C7 |  | Enhanced Acoustical Performance | 3 | 0
| EQ.C7.1 | Reverberation Time Requirements
| EQ.C7.2 | Background Noise Requirements |  |  | Submit a PDF of the acoustical testing report and/or letter from consultant confirming testing was completed and the outcome.
| EQ.C7.3 | Noise Isolation Requirements |  |  | Commissioning report provided under EE.P2 must include passing noise measurements.
EQ.C8 |  | Electric Lighting | 3 | 0 | Submit receipts, proof of purchase or installation for the required lighting system. Submit pictures of installed lighting system in typical classroom.
| EQ.C8.1 | Multi-scene indirect/direct lighting systems
| EQ.C8.2 | General illumination and A/V modes
| EQ.C8.3 | Separate teaching wall lighting system
| EQ.C8.4 | General illumination mode average illumination
| EQ.C8.5 | A/V mode requirement average illumination
| EQ.C8.6 | Two levels of lighting
|  |  | Subtotal | 0

## EE Design
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Energy Efficiency Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
EE.P1 |  | Minimum Energy Performance | P | 0
| EE.P1.1 | Comply with Current State Energy Code (http://energy.hawaii.gov/hawaii-energy-building-code) | [5 empty] | Construction drawings must include the summary report of the modeling tool. The report must reflect the design of submitted project’s plans.
| EE.P1.2 | Establish an EPA Energy Performance Rating | [5 empty] | Construction drawings must include an EPA Energy Performance Rating goal of at least 75 using EPA’s Target Finder rating tool.
EE.P2 |  | Commissioning | P | 0 |  | Provide the projects Commissioning Plan and Owners Project Requirements (OPR). |  | Construction drawings must include general notes that commissioning is required, at what stages and where the Commissioning Plan may be found for more information.
EE.P3 |  | Facility Staff & Occupant Training | P | 0
EE.P4 |  | Eliminate Ozone Depleting Refrigerants | P | 0 |  |  |  | Construction drawings, most likely the mechanical schedule, must include equipment specified with no CFC based refrigerants.
EE.P5 |  | Base Level Energy Management System | P | 0 |  |  |  | Construction drawings must include specifications and plans for an Energy Management System. The specifications should include a list of all the sensors (measurements to be taken throughout the building) and actuators (devices to be controlled). It should also specify the protocol for communication between the sensors, actuators and the computer (controller).
EE.P6 |  | ENERGY STAR Equipment | P | 0
EE.C1 |  | Superior Energy Performance | 2-24 | 0 |  |  |  | Construction drawings must include outputs of ASHRAE 90.1 energy modeling. Reports must include the Building Energy Performance Summary (BEPS), Building Energy Performance - Utility (BEPU) and Energy Cost Summary (ES-D). The reports must reflect the design of submitted project’s plans.
EE.C2 |  | Renewable Energy | 1-10 | 0 |  |  |  | Construction drawings must include calculations showing the renewable energy systems performance. Use the same calculations or methodology used for EE.P1 and EE.C1 to show that the installed system will supply the required percentage of the load. Construction drawings must include the location of the system and details for installation.
| EE.C2.1 | Electricity-Producing Renewables | 1-5
| EE.C2.2 | Thermal Energy-Producing Renewables | 1-5
EE.C3 |  | Advanced Energy Management System and Submetering | 1-5 | 0
| EE.C3.1 | Automated Demand Management | 1 |  |  | Construction drawings must include the additional features in the specifications and plans for the Energy Management System noted in EE.P5.
| EE.C3.2 | Data Acquisition and Storage | 1
| EE.C3.3 | Submeter Installation | 2-3 |  |  | Construction drawings must include a Riser Diagram highlighting metering of all systems.
EE.C4 |  | Flex Energy – Solar Ready | 1 | 0 |  |  |  | Construction drawings must include a separate sheet(s) describing the intent of making the school PV Ready. In addition, the sheets must include the PV Watts calculations, one-line electrical diagrams, mechanical mounting diagrams, planned PV location(s), and proof (structural load calculations) that the roof can support the system as designed.
EE.C5 |  | Control Building Envelope Openings | 1-2 | 0 |  |  |  | Construction drawings, ideally the mechanical plans, must include system details.
EE.C6 |  | Enhanced Commissioning | 1-3 | 0 |  | Include requirements in the EE.P2 Commissioning Plan and Owners Project Requirements (OPR).
| EE.C6.1 | Additional Commissioning Requirements | 1
| EE.C6.2 | Building Envelope Commissioning | 1
| EE.C6.3 | Irrigation System Commissioning | 1
|  |  | Subtotal | 0

## EE Construction
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Energy Efficiency Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
EE.P1 |  | Minimum Energy Performance | P | 0
| EE.P1.1 | Comply with Current State Energy Code (http://energy.hawaii.gov/hawaii-energy-building-code)
| EE.P1.2 | Establish an EPA Energy Performance Rating
EE.P2 |  | Commissioning | P | 0 | Provide the final Commissioning Report. Provide the Operations and Maintenance Manual.
EE.P3 |  | Facility Staff & Occupant Training | P | 0 | Provide proof of delivered trainings for both types of staff. Include agendas, attendee lists and samples of materials covered. Provide the User’s Guide and where it is available for staff access.
EE.P4 |  | Eliminate Ozone Depleting Refrigerants | P | 0
EE.P5 |  | Base Level Energy Management System | P | 0 | Provide a PDF of the manual or plan provided to staff on the EMS addressing how the operator interface works. Provide proof of purchase and installation.
EE.P6 |  | ENERGY STAR Equipment | P | 0 | Provide a list along with proof of purchase for all equipment and appliances. The list must include the brand, product name and model number. Compliance will be verified through the ENERGY STAR website.
EE.C1 |  | Superior Energy Performance | 2-24 | 0
EE.C2 |  | Renewable Energy | 1-10 | 0 | Provide pictures of the renewable energy system installed. The entire system must be photographed and location noted if there are multiple sites.
| EE.C2.1 | Electricity-Producing Renewables | 1-5
| EE.C2.2 | Thermal Energy-Producing Renewables | 1-5
EE.C3 |  | Advanced Energy Management System and Submetering | 1-5 | 0
| EE.C3.1 | Automated Demand Management | 1
| EE.C3.2 | Data Acquisition and Storage | 1
| EE.C3.3 | Submeter Installation | 2-3
EE.C4 |  | Flex Energy – Solar Ready | 1 | 0
EE.C5 |  | Control Building Envelope Openings | 1-2 | 0 | Provide proof of installation or pictures for required features.
EE.C6 |  | Enhanced Commissioning | 1-3 | 0 | Provide the final Commissioning Report.
| EE.C6.1 | Additional Commissioning Requirements | 1
| EE.C6.2 | Building Envelope Commissioning | 1
| EE.C6.3 | Irrigation System Commissioning | 1
|  |  | Subtotal | 0

## WE Design
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Water Efficiency Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
WE.P1 |  | Outdoor Water Budget and Irrigation System Performance | P | 0
| WE.P1.1 | In-ground irrigation systems for recreational fields | [5 empty] | Construction drawings must include complete landscape drawings identifying irrigation system components and soil moisture meters if required.
| WE.P1.2 | Water budget for landscape (recreational and non-recreational) | [5 empty] | Construction drawings must include complete landscape drawings including all outputs of the U.S. Environmental Protection Agency’s WaterSense Water Budget Tool including both the Landscape Water Requirement (LWR) and Landscape Water Allowance (LWA). The outputs should reflect the landscape plans provided.
WE.P2 |  | Minimum Reduction in Indoor Potable Water Use | P | 0 | Complete Table WE.P1_C1 - H2O & WE.C2 - Sewage |  |  | Construction drawings must include the required HI-CHPS Plan Sheets with indoor water calculations. Construction drawings must include a plumbing fixture schedule that reflects the indoor water calculations.
WE.C1 |  | Indoor Water Use Reduction | 5 | 0 | Complete Table WE.P1_C1 - H2O & WE.C2 - Sewage |  |  | Construction drawings must include the required HI-CHPS Plan Sheets with indoor water calculations. Construction drawings must include a plumbing fixture schedule that reflects the indoor water calculations.
WE.C2 |  | Reduce Potable Water Use for Sewage Conveyance | 4 | 0
| WE.C2.1 | Shut-off capabilities | R |  |  |  |  | Construction drawings must identify shut-off capabilities for restroom facilities.
| WE.C2.2 | 30% Reduced Water Use | 2 |  | Complete Table WE.P1_C1 - H2O & WE.C2 - Sewage |  |  | Construction drawings must include the required HI-CHPS Plan Sheets with indoor water calculations. Construction drawings must include a plumbing fixture schedule that reflects the indoor water calculations.
| WE.C2.3 | 40% Reduced Water Use | 4
WE.C3 |  | Reduce Potable Water Use for Non Recreational Landscaping Areas | 3 | 0 |  | If no permanent irrigation will be provided, provide a letter signed by landscape architect certifying that permanent irrigation systems have not been specified for non-playing field areas AND that only drought resistant plants and grasses have been specified for these areas. Letter must clearly state that no irrigation, manual or otherwise, will be needed in these areas after plants are established. Letter must also indicate the species of drought resistant plants and grasses that have been specified. |  | Construction drawings must include complete landscape drawings including all outputs of the U.S. Environmental Protection Agency’s WaterSense Water Budget Tool including both the Landscape Water Requirement (LWR) and Landscape Water Allowance (LWA).
WE.C4 |  | Reduce Potable Water Use for Recreational Landscaping Areas | 2 | 0 |  |  |  | Construction drawings must include complete landscape drawings including all outputs of the U.S. Environmental Protection Agency’s WaterSense Water Budget Tool including both the Landscape Water Requirement (LWR) and Landscape Water Allowance (LWA).
WE.C5 |  | Irrigation System Commissioning | 1 | 0 |  | Provide a PDF of the Irrigation Commissioning Plan which includes items listed in the Implementation Section of the credit as well as who will be responsible for the commissioning and when it will occur.
WE.C6 |  | Water Management System | 4 | 0 |  |  |  | Construction drawings must include the Water Management System and required features. The specifications should include a list of all the sensors (measurements to be taken throughout thebuilding) and actuators (devices to be controlled). It should also specify the protocol for communication between the sensors, actuators and the computer (controller).
| WE.C6.1 | WMS with submeters for domestic water and exterior irrigation | 2
| WE.C6.2 | WMS plus OM.C2.2 and multiple submeters | 4
|  |  | Subtotal | 0

## WE Construction
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Water Efficiency Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
WE.P1 |  | Outdoor Water Budget and Irrigation System Performance | P | 0 | Provide proof of purchase, installation, pictures or other supporting documents that show compliance.
| WE.P1.1 | In-ground irrigation systems for recreational fields
| WE.P1.2 | Water budget for landscape (recreational and non-recreational)
WE.P2 |  | Minimum Reduction in Indoor Potable Water Use | P | 0 | Provide pictures of installed fixtures, and manufacturer receipts/proof of purchase or approved submittals for the water efficient products purchased.
WE.C1 |  | Indoor Water Use Reduction | 5 | 0 | Provide pictures of installed fixtures, and manufacturer receipts/proof of purchase or approved submittals for the water efficient products purchased.
WE.C2 |  | Reduce Potable Water Use for Sewage Conveyance | 4 | 0 | Provide pictures of installed fixtures, and manufacturer receipts/proof of purchase or approved submittals for the water efficient products purchased.
| WE.C2.1 | Shut-off capabilities | R
| WE.C2.2 | 30% Reduced Water Use | 2
| WE.C2.3 | 40% Reduced Water Use | 4
WE.C3 |  | Reduce Potable Water Use for Non Recreational Landscaping Areas | 3 | 0 | Provide proof of purchase, installation, pictures or other supporting documents that show compliance.
WE.C4 |  | Reduce Potable Water Use for Recreational Landscaping Areas | 2 | 0 | Provide proof of purchase, installation, pictures or other supporting documents that show compliance.
WE.C5 |  | Irrigation System Commissioning | 1 | 0 | Provide final commissioning report.
WE.C6 |  | Water Management System | 4 | 0 | Provide proof of installation / operation of the water management system.
| WE.C6.1 | WMS with submeters for domestic water and exterior irrigation | 2
| WE.C6.2 | WMS plus OM.C2.2 and multiple submeters | 4
|  |  | Subtotal | 0

## SS Design
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Sustainable Sites Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
SS.P1 |  | Site Selection and Evaluation | P | 0
| SS.P1.1 | New Schools Requirements |  |  |  | Provide Phase 1, and Phase 2 if necessary, Environmental Site Assessment in accordance with ASTM E1527-05. The Site Assessment should include all items covered in SS.P1 regardless of whether or not they are normally covered in a Phase 1 or Phase 2 Environmental Site Assessment.
| SS.P1.2 | Major Modernizations |  |  |  | Major modernization projects must provide a copy of written report indicating that all facilities within ¼ mile of the site that might reasonably emit hazards have been identified and assessed for impacts and that mitigation has been taken if needed.
SS.P2 |  | Construction Site Runoff Control | P | 0 |  |  |  | Construction drawings must include the site runoff control measures and Property Owner Notice of Intent.
SS.C1 |  | Sustainable Site Selection | 4 | 0
| SS.C1.1 | Parkland | 1 |  |  |  |  | Construction drawings must include the site parcel number and the previous use of the site.
| SS.C1.2 | Floodplains | 1 |  |  |  |  | Construction drawings must include a site plan that identifies the building footprint and any wetlands within 100'. (Utilize the U.S. Fish and Wildlife Service Wetlands Mapper at: http://wetlandsfws.er.usgs.gov/wtlnds/launch.html to identify wetland locations.) On the same drawing include the 100-yr flood plain and a line indicating a 5' in elevation above the flood line if either cross the site. (Use a map from the FEMA web site to identify 100-yr flood plain).
| SS.C1.3 | Wetlands | 1
| SS.C1.4 | Greenfields | 1 |  |  |  |  | Construction drawings must include the site parcel number and the previous use of the site.
| SS.C1.5 | Endangered Species
| SS.C1.6 | Farmland
SS.C2 |  | Joint Use of Facilities and Parks | 3 | 0
| SS.C2.1 | Shared Facilities | 1-2 |  |  |  |  | Construction drawings must include a site plan that identifies the "Joint-Use Area" and the bathroom facilities that can be accessed without compromising the security of the non-joint-use portions of the facility. If credit is claimed for the separately accessed and secured entrance, provide notes indicating its location as well.
| SS.C2.2 | Shared Park Space | 1 |  |  |  |  | Construction drawings must include a site plan that identifies the area of recreation space available for joint-use. A calculation must be provided on the sheet that includes the total amount of recreation and park space available, and the percentage of that space available for joint-use.
SS.C3 |  | Central Location and Public Transportation | 3 | 0
| SS.C3.1 | Student Proximity | 2 |  | Complete Table SS.C3.1 - Central Location
| SS.C3.2 | Services Proximity
| SS.C3.3 | Historic District Proximity
| SS.C3.4 | Located Near Public Transportation | 1
| SS.C3.5 | Busing Service Provided
SS.C4 |  | Cultural Responsive Design | 1 | 0 |  |  |  | Construction drawings must identify (location and details) and describe features used to meet this credit, including the associated educational signage.
SS.C5 |  | Reduced Building Footprint | 1 | 0
| SS.C5.1 | Floor Area Ratio | 1 |  | Complete Table SS.C5.1 - Floor Area Ratio |  |  | Construction drawings, ideally the title page that provides the overview of the project, must include both the building’s gross square footage and the building footprint square footage.
| SS.C5.2 | Open Spaces |  |  | Complete Table SS.C5.2 - Open Spaces |  |  | Construction drawings, ideally the title page that provides the overview of the project, must include the square footage of open space.
SS.C6 |  | Human Powered Transporation | 3 | 0
| SS.C6.1 | Human Powered Transporation Storage | 1 |  | Complete Table SS.C6 - Human Powered Trans |  |  | Construction drawings must identify the location and required storage.
| SS.C6.2 | Safe Routes to School Plan | 1
| SS.C6.3 | Walkability Promotion | 1 |  |  |  |  | Construction drawings must include the required features.
SS.C7 |  | Parking and Electric Vehicles | 2 | 0
| SS.C7.1 | Parking | 1 |  | Complete Table SS.C7.1 - Parking |  |  | Construction drawings, ideally the site parking plan, must include the maximum allowed spaces and the number of provided spaces. The site plan must also identify the required preferred parking spaces.
| SS.C7.2 | Electric Vehicles | 1 |  |  |  |  | Construction drawings, ideally the site parking plan, must identify the electric vehicle charging spaces. Installation details and instructions for signage must also be provided on the same or a different sheet.
SS.C8 |  | Post-Construction Stormwater Management | 2 | 0
| SS.C8.1 | General Reduction | 1 |  | Complete Table SS.C8.1 - PostConstr Stormwater | Complete the HI-CHPS Plan Sheet to calculate stormwater management provided to HI-CHPS Verified projects at the point of registration. Surfaces identified will be cross checked with plans.
| SS.C8.2 | Trash storage | [5 empty] | CDs must identify trash storage areas, how water is diverted from this area, and measures taken to ensure the trash is not transported off-site (walls, screens).
| SS.C8.3 | Treatment Control Best Management Practices | 1 |  |  |  |  | CDs must include the total volume of runoff and the total volume of runoff treated. In addition, drawings must call out where Best Management Practices (BMP’s) are located and details where appropriate.
SS.C9 |  | Reduce Heat Islands – Landscaping | 2 | 0
| SS.C9.1 | Shading and High-Albedo Materials | 1 |  |  |  |  | Construction drawings, likely the landscaping plans, must provide the results described under the implementation section.
| SS.C9.2 | Protect existing trees | 1 |  |  |  |  | Construction drawings, likely the landscaping plans must identify mature and heritage trees on the site. The plans must show the required tree protection measures and instructions on when and how long they must be implemented.
SS.C10 |  | Reduce Heat Islands – Cool Roofs / Vegetated Roofs | 2 | 0
| SS.C10.1 | Cool Roofs | 1 |  |  |  |  | Construction drawings, likely a roof plan, must include the square footage of total roof surface and the total roof surface covered by cool or vegetated roof. For cool roofs, the specifications must include the CRRC Product ID#, emissivity and reflectance. For vegetated roofs, details should be provided on the construction.
| SS.C10.2 | Green Roofs | 2
SS.C11 |  | Light Pollution Reduction | 2 | 0 |  |  |  | Construction drawings must include: • Interior Lighting: provide building section(s) diagramming the angle of the maximum candela value, or the lighting plans should show that all non-emergency lighting is on a programmable timer that turns lighting off during non-operable hours and that provides manual override capability for after hours use. • Provide a photometric site plan (that shows at least 10' beyond the property line) produced by a computer model that includes the average, maximum and minimum illuminances for each area (walkways, parking lots, building entries etc.) Horizontal illuminances at ground level on a minimum ten-foot by ten-foot grid with the property line clearly marked in bold on photometric plan and abutting residential properties, parks, or natural wildlife areas noted. The plan should indicate the location and mounting height of all site building mounted exterior fixtures clearly indicated by fixture type designations relating to the lighting fixture schedule. • Exterior lighting fixture schedule with manufactures and model numbers, and manufacturers spec sheets, with a clear description of the specified lamps, wattage, IESNA cutoff classification and shielding accessories for each fixture.
|  |  | Subtotal | 0

## SS Construction
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Sustainable Sites Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
SS.P1 |  | Site Selection and Evaluation | P | 0
| SS.P1.1 | New Schools Requirements
| SS.P1.2 | Major Modernizations
SS.P2 |  | Construction Site Runoff Control | P | 0 | Provide the SWPPP and pictures identifying measures taken throughout construction.
SS.C1 |  | Sustainable Site Selection | 4 | 0
| SS.C1.1 | Parkland | 1
| SS.C1.2 | Floodplains | 1
| SS.C1.3 | Wetlands | 1
| SS.C1.4 | Greenfields | 1
| SS.C1.5 | Endangered Species
| SS.C1.6 | Farmland
SS.C2 |  | Joint Use of Facilities and Parks | 3 | 0
| SS.C2.1 | Shared Facilities | 1-2
| SS.C2.2 | Shared Park Space | 1 |  | Provide a copy of the agreement between organization(s) and school district, school principal, or school board to provide joint-use. The agreement should be signed by both parties and state the facilities /parks to be used and for what purpose. OR provide copies of applicable insurance policies governing use of the parks or recreational space by the municipality or by the school if the spaces are municipally owned.
SS.C3 |  | Central Location and Public Transportation | 3 | 0
| SS.C3.1 | Student Proximity | 2 |  | Provide an explanation or methodology, and appropriate back up for option chosen.
| SS.C3.2 | Services Proximity |  |  | Provide a map showing the required features and distance to the school. If both SS.C3.2 and SS.C3.4 are claimed, use the same map if reasonable.
| SS.C3.3 | Historic District Proximity |  |  | Provide an explanation or methodology, and appropriate back up for option chosen.
| SS.C3.4 | Located Near Public Transportation | 1 |  | Provide a map showing the required features and distance to the school. If both SS.C3.2 and SS.C3.4 are claimed, use the same map if reasonable.
| SS.C3.5 | Busing Service Provided |  |  | The district must provide a letter (or school board in the case of private and charter schools) describing the busing service provided for students, including the percentage of buses that meet the required standards, and how they meet it. Provide picture(s) of the buses and identifying signage or the technology demonstrated.
SS.C4 |  | Cultural Responsive Design | 1 | 0 | Provide picture(s) of the features. They must show the associated educational signage.
SS.C5 |  | Reduced Building Footprint | 1 | 0
| SS.C5.1 | Floor Area Ratio | 1
| SS.C5.2 | Open Spaces
SS.C6 |  | Human Powered Transporation | 3 | 0
| SS.C6.1 | Human Powered Transporation Storage | 1 |  | Provide picture(s) of the features.
| SS.C6.2 | Safe Routes to School Plan | 1 |  | Provide the Safe Routes to School Plan (SRTS). Include pictures of strategies implemented to provide safe bike lanes or a network that extends appropriately from the school site at least one mile into neighboring communities or access ways.
| SS.C6.3 | Walkability Promotion | 1 |  | Provide picture(s) of the features.
SS.C7 |  | Parking and Electric Vehicles | 2 | 0
| SS.C7.1 | Parking | 1 |  | Provide picture(s) of the preferred parking spaces and/or electric vehicle spaces and signage.
| SS.C7.2 | Electric Vehicles | 1
SS.C8 |  | Post-Construction Stormwater Management | 2 | 0
| SS.C8.1 | General Reduction | 1
| SS.C8.2 | Trash storage |  |  | Provide picture(s) of the primary trash storage areas showing appropriate draining from adjoining roofs, pavement diverting stromwater runoff and screen or wall preventing transport of trash.
| SS.C8.3 | Treatment Control Best Management Practices | 1 |  | Provide pictures of at least one implemented BMP.
SS.C9 |  | Reduce Heat Islands – Landscaping | 2 | 0
| SS.C9.1 | Shading and High-Albedo Materials | 1
| SS.C9.2 | Protect existing trees | 1 |  | Provide picture(s) of any mature and heritage trees and the installed protection.
SS.C10 |  | Reduce Heat Islands – Cool Roofs / Vegetated Roofs | 2 | 0
| SS.C10.1 | Cool Roofs | 1 |  | Provide picture(s) of the installed cool and/or vegetated roof(s).
| SS.C10.2 | Green Roofs | 2
SS.C11 |  | Light Pollution Reduction | 2 | 0 | Provide manufacturer receipts, approved submittals or proof of purchase for compliant light fixtures. Provide pictures as alternatives if appropriate.
|  |  | Subtotal | 0

## MW Design
Collaborative for High Performance Schools
Northeast CHPS Criteria Version 3.0
Materials and Waste Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Construction Documents Required | Construction Document References
MW.P1 |  | Storage and Collection of Recyclables | P | 0 |  | Construction drawings, site and classroom plans, must include the centralized collection point and recycling bins/dumpsters/areas in classrooms and common areas such as cafeterias or multi-purpose rooms.
MW.P2 |  | Minimum Construction Site Waste Management | P | 0 |  | Construction drawings must include general notes to the Contractor to implement a Construction Waste Management Plan. The notes should specify the required diversion rate through recycling, composting or salvage, compliant and preferred facilities to receive the debris, and that they are responsible to maintain documentation (weight tickets / receipts) for all debris leaving the site to be summarized and submitted after construction as a diversion summary.
MW.C1 |  | Construction Site Waste Management | 2 | 0 |  | See MW.P2
MW.C2 |  | Single Attribute – Recycled Content | 2 | 0 | Materials PS
MW.C3 |  | Single Attribute - Rapidly Renewable Materials | 2 | 0
| MW.C3.1 | Rapidly Renewable | 1 |  | Materials PS
| MW.C3.2 | Organic Content | 1 |  | Materials PS
MW.C4 |  | Single Attribute - Certified Wood | 1 | 0 | Materials PS
MW.C5 |  | Single Attribute - Regional Materials | 2 | 0 | Materials PS
MW.C6 |  | Material Reuse | 2 | 0 | Materials PS | Construction drawings must include notes regarding how salvaged materials will be used in various locations.
MW.C7 |  | Durable and Low Maintenance Flooring | 1 | 0 | Materials PS
MW.C8 |  | Building Reuse – Exterior | 2 | 0 | MW.C8 & .C9 - Reuse | Construction drawings must include demolition plans and existing site plans that verify features to remain.
MW.C9 |  | Building Reuse – Interior | 1 | 0 | MW.C8 & .C9 - Reuse | Construction drawings must include demolition plans and existing site plans that verify features to remain.
MW.C10 |  | Environmental Performance Reporting | 4 | 0 | Materials PS
| MW.C10.1 | LCA | 1-2
MW.C10.2 |  | EPD | 2-4
|  |  | Subtotal | 0

## MW Construction
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Materials and Waste Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference
MW.P1 |  | Storage and Collection of Recyclables | P | 0 |  | Provide pictures of the centralized recycling collection point and typical classroom/common area recycling bins/dumpsters. The pictures should show the required educational signage.
MW.P2 |  | Minimum Construction Site Waste Management | P | 0 |  | Provide a diversion summary and back up documentation for where debris was taken.
MW.C1 |  | Construction Site Waste Management | 2 | 0 |  | See MW.P2
MW.C2 |  | Single Attribute – Recycled Content | 2 | 0 | Materials PS | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Provide cut sheets for materials claimed to have the required recycled content. Proof of purchase and/or installation is only required if audited during construction review. CHPS recommends records are kept in the event an audit is requested.
MW.C3 |  | Single Attribute - Rapidly Renewable Materials | 2 | 0 |  | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Provide cut sheets for materials claimed to have the required rapidly renewable or organically grown features. Proof of purchase and/or installation is only required if audited during construction review. CHPS recommends records are kept in the event an audit is requested.
| MW.C3.1 | Rapidly Renewable | 1 |  | Materials PS
| MW.C3.2 | Organic Content | 1 |  | Materials PS
MW.C4 |  | Single Attribute - Certified Wood | 1 | 0 | Materials PS | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Provide cut sheets for materials, and Certificates of Chain-of-Custody signed by manufactures certifying that the product meets the required standard. Proof of purchase and/or installation is only required if audited during construction review. CHPS recommends records are kept in the event an audit is requested.
MW.C5 |  | Single Attribute - Regional Materials | 2 | 0 | Materials PS | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Provide a statement on manufacturer’s letterhead that supports the extraction and manufacturing of the product within the State. Proof of purchase and/or installation is only required if audited during construction review. CHPS recommends records are kept in the event an audit is requested.
MW.C6 |  | Material Reuse | 2 | 0 | Materials PS | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Proof of purchase and/or installation is only required if audited during construction review. CHPS recommends records are kept in the event an audit is requested.
MW.C7 |  | Durable and Low Maintenance Flooring | 1 | 0 | Materials PS | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Provide cut sheets for materials claimed to have the required features. Proof of purchase and/or installation is only required if audited during construction review. CHPS recommends records are kept in the event an audit is requested.
MW.C8 |  | Building Reuse – Exterior | 2 | 0 | Table MW.C8 & .C9 - Reuse | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Maintain pictures taken before and after of major or large reuse of structural or shell elements to be provided if audited only.
MW.C9 |  | Building Reuse – Interior | 1 | 0 | Table MW.C8 & .C9 - Reuse | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Maintain pictures taken before and after of major non-structural elements to be provided if audited only.
MW.C10 |  | Environmental Performance Reporting | 4 | 0 | Materials PS | Provide the HI-CHPS Materials Worksheet provided to HI-CHPS Verified projects at the point of registration. Provide cut sheets for materials selected. Proof of purchase and/or installation is only required if audited during construction review. CHPS recommends records are kept in the event an audit is requested.
MW.C10.1
MW.C10.2
|  |  | Subtotal | 0

## OM Design
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Operations and Metrics Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
OM.P1 |  | District High Performance Operations | P | 0
OM.P2 |  | Systems Maintenance Plan | P | 0
OM.C1 |  | District High Performance Planning | 1 | 0
OM.C2 |  | Enhanced High Performance Operations | 7 | 0
| OM.C2.1 | CHPS Operations Report Card - Score 70+ | 5
| OM.C2.2 | Designate Resource Manager | 1
| OM.C2.3 | Designate Advocate
| OM.C2.4 | Recommisioning Commitment | 1
OM.C3 |  | Anti-Idling Measures | 1 | 0
OM.C4 |  | Green Cleaning | 1 | 0
| OM.C4.1 | Green Cleaning Resolution | 1
OM.C5 |  | Work Order and Maintenance Management System | 1 | 0
OM.C6 |  | Indoor Environmental Management Plan | 2 | 0
OM.C7 |  | Integrated Pest Management | 1 | 0
| OM.C7.1 | Integrated Pest Management Plan
| OM.C7.2 | Design to Prevent Pests |  |  |  |  | Construction drawings must include notes identifying features included to improve pest management.
OM.C8 |  | Climate Change Action / Carbon Footprint Reporting | 2 | 0
| OM.C8.1 | Join The Climate Registry | 1
| OM.C8.2 | Transportation Plan | 1
OM.C9 |  | Green Power | 1 | 0
|  |  | Subtotal | 0

## OM Construction
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
Operations and Metrics Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
OM.P1 |  | District High Performance Operations | P | 0 | Submit a signed commitment indicating the school will conduct monitoring and benchmarking of its high performance features within 18 months of occupancy.
OM.P2 |  | Systems Maintenance Plan | P | 0 | Provide the Systems Maintenance Plan.
OM.C1 |  | District High Performance Planning | 1 | 0 | Provide the resolution only if not already on file with CHPS. Resolutions on file with CHPS are listed on its website www.chps.net
OM.C2 |  | Enhanced High Performance Operations | 7 | 0
| OM.C2.1 | Commitment to Annual Benchmarking | 5 |  | Provide the written commitment to conduct building monitoring every year. The commitment must identify the categories that will be monitored and the possible tool(s) that will be used. The commitment may be the same one used for OM.P1 if it contains the ongoing timeframe.
| OM.C2.2 | Designate Resource Manager | 1 |  | Provide confirmation from the school district (or private or charter school) that a designated, permanent energy and water manager(s) has been hired and a school based advocate has been hired or volunteered. Provide their contact information.
| OM.C2.3 | Designate Advocate
| OM.C2.4 | Recommisioning Commitment | 1 |  | Provide the school district (or private or charter school) commitment to have the school recommissioned after 2-5 years of occupancy.
OM.C3 |  | Anti-Idling Measures | 1 | 0 | Provide a copy of the adopted anti-idling policy. Provide picture(s) of the installed anti-idling signage.
OM.C4 |  | Green Cleaning | 1 | 0
| OM.C4.1 | Green Cleaning Resolution | 1 |  | Submit the green cleaning policy or resolution covering the required areas.
OM.C5 |  | Work Order and Maintenance Management System | 1 | 0 | Provide proof of purchase of the MMS and an example showing equipment entered with its preventative maintenance needs in accordance with OM.P2.
OM.C6 |  | Indoor Environmental Management Plan | 2 | 0 | Provide the resolution signed by the school district (or school board or governing body for private and charter schools) requiring participation in U.S. EPA's Tools for Schools (or an equivalent program) for its schools.
OM.C7 |  | Integrated Pest Management | 1 | 0
| OM.C7.1 | Integrated Pest Management Plan |  |  | Submit the Integrated Pest Management (IPM) plan.
| OM.C7.2 | Design to Prevent Pests
OM.C8 |  | Climate Change Action / Carbon Footprint Reporting | 2 | 0
| OM.C8.1 | Join The Climate Registry | 1 |  | Provide proof of registration, contract, statement of intent or equivalent documentation demonstrating use of the Climate Action Registry Reporting Online Tool (CRIS).
| OM.C8.2 | Transportation Plan | 1 |  | Provide the Transportation Plan including GHG emission reduction estimates.
OM.C9 |  | Green Power | 1 | 0 | Provide proof of purchase for Green-e Energy certified REC’s or the PPA (based on load calculated under EE.P1 and EE.C1).
|  |  | Subtotal | 0

## EQ.P5_C1- View Windows
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
EQ.P5 and EQ.C1 - View Windows
Instructions: Complete shaded columns A - E in the table bellow. The remaining columns will automatically be calculated. Use one line for each set of identical spaces. Sorting is enabled on this sheet for convenience. Be sure to select entire table before sorting. Be sure to enter all related spaces -- not only those that contain view windows.
Space Name | Area per Space (ft2) | Number of Similar Spaces | View Window Area in Each Space (ft2) | Width of View Windows in Each Space (ft) | Total Floor Area of Spaces (ft2) | Qualifying Areas (ft2) Based On: |  | Qualifying Area (ft2) per Space | Total Qualifying Floor Area (ft2)
[6 empty] | View Window Area | View Window Width
Classroom Type 1
Classroom Type 2
Classroom Type 3
Classroom Type 4
Classroom Type 5
Classroom Type 6
Multi-Purpose Room
Administration Area
User-Defined
User-Defined
User-Defined
User-Defined
User-Defined
User-Defined
User-Defined
User-Defined
User-Defined
Compliance Summary
Total Qualifying Floor Area in Project: |  | 0
Total Overall Floor Area in Project: |  | 0
Percent of Floor Areq Qualifying: |  | 0%

## EQ.C2 - Daylighting
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
EQ.C2 - Daylighting in Classrooms
Instructions: Complete cells C6 and C7, and shaded columns A - C. For Column B, use "Other Support" for library, cafeteria, auditorium, and multi-purpose/commons area. Complete one column for C2.1/C2.2 (D, E, or F) plus column G and for C2.3/C2.4 (H or J). Note that you must only comply with one path per sub-credit. Sorting is enabled on this sheet for convenience.
Select Classroom Space Approach |  | Multiple Point in Time | C2.1
Select Support Space Approach |  | Multiple Point in Time | C2.3
|  |  | C2.1/C2.2: Classrooms |  |  |  | C2.3/C2.4: Support Spaces
|  |  | Average Illuminance Levels |  |  |  | Admin Offices |  | Other Support Spaces
Space Label | Space Type | Floor Area | Area with over 20 fc Average Illuminance | Area with over 30 fc Average Illuminance | Area with over 40 fc Average Illuminance | Complies? | Area with over 30 fc Average Illuminance | Complies with sDS300/50% | Area with over 40 fc Average Illuminance | Complies with sDS400/50%
Compliance Summary
Classrooms |  | Admin Spaces |  |  | Other Support Spaces
Total Floor Area | 0 | Total Floor Area |  | 0 | Total Floor Area |  | 0
|  | Total Area over 30 fc average illuminance |  |  | Total Area over 40 fc average illuminance
|  | Percent of area with over 30 fc average illuminance |  |  | Percent of area with over 40 fc average illuminance
Area complying with sDS Requirements | 0 | Area complying with sDS Requirements |  | 0 | Area complying with sDS Requirements |  | 0
Percent of area complying with sDS Requirements | 0% | Percent of area complying with sDS Requirements |  | 0% | Percent of area complying with sDS Requirements |  | 0%

## WE.P2_C1 - H2O & WE.C2 - Sewage
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
WE.P2 and WE.C1 - Indoor Water Use Reduction and WE.C2 - Sewage Conveyance
Instructions: Complete shaded columns A and B, Number of Occupants (H5), Annual School Days (H6), and Rainwater Budget (Row 31) below. Use one line for each distinct fixture style used in the school. For "Other" Fixtures not included in the drop down list, complete columns A through F. Sorting is enabled on this sheet for convenience. Be sure to select entire table before sorting.
Number of Occupants
[6 empty] | Annual School Days | 180
Fixture Type | Design Flowrate (gal/flush, gal/min. or gal/load) | Baseline Flowrate (gal/flush, gal/min. or gal/load) | Duration (flushes, mins, or loads) | Occupants | Daily Uses | Baseline Daily Consumption (gal) | Designed Daily Consumption (gal)
Showerhead | 1 | 2.5 | 5 | 0 | 1 | 0 | 0
Toilet (female) | 1.28 | 1.6 | 1 | 0 | 3 | 0 | 0
Urinal | 0.13 | 1 | 1 | 0 | 2 | 0 | 0
Kitchen Sink | 1.5 | 2.2 | 45 | 2 | 2 | 396 | 270
Toilet (male) | 1.28 | 1.6 | 1 | 0 | 1 | 0 | 0
Bathroom Lavatory Sink | 0.5 | 0.5 | 0.25 | 0 | 3 | 0 | 0
Clothes Washer | 20 | 40 | 1 | 1 | 2 | 80 | 40
Other | [5 empty] | 0 | 0
Other | [5 empty] | 0 | 0
Other | [5 empty] | 0 | 0
Compliance Summary WE.P2 and WE.C1 - Indoor Water Reduction |  |  |  |  | Compliance Summary WE.C2 - Sewage Conveyance
|  |  | Baseline | Design |  | Baseline | Design
Total Daily Volume (gal) |  |  | 476 | 310 |  | 0 | 0
Annual School Days |  |  | 180 | 180 |  | 180 | 180
Annual Water Use (gal) |  |  | 85680 | 55800 |  | 0 | 0
Projected Annual Rainwater Volume Use (gal) |  |  | --------------- | --------------- |  | --------------- | 200000
Annual Consumption (gal) |  |  | 85680 | 55800 |  | 0 | -200000
Percent Savings: |  |  |  | 34.87% |  | Percent Savings: | 0%
[5 empty] | Percent Budget = Rainwater: |  | 0%

## SS.C3.1 - Central Location
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
SS.C3.1 - Central Location
Instructions: Complete shaded columns A, B, & D. Other columns will automatically populate.
Student Capacity | School Level | 50% of Students Must Live Within: | Number of Students within Required Distance | Percent of Students within Required Distance
Enter Number of Students
Enter Number of Students
Enter Number of Students

## SS.C5 - Reduce Bldg Footprint
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
SS.C5.1 - Floor Area Ratio and SS.C5.2 - Open Spaces
Instructions: Complete the shaded cells in the applicable table(s) below to indicate compliance with the requirements.
SS.C5.1 - Floor Area Ratio
Building Gross Square Footage:
Building Footprint:
Floor Area Ratio: | 0
Complies: | No
SS.C5.2 - Open Spaces
Open Space Square Footage:
School Site Square Footage:
Percent Open Space: | 0%
Complies: | No

## SS.C6 - Human Powered Trans
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
SS.C6 - Human Powered Transportation
Instructions: Complete shaded cells. The form will indicate compliance requirements and additional requirements based on type of school.
Number of Students Grade 4 and Higher | School Level | Minimum Number of Spaces Required | Minimum Number of Storage Spaces
1.5 for every 10 students
Number of Storage Spaces Provided for Bikes, Scooters, or Skateboards | Number of Storage Spaces Provided for Other Human-Powered Transportation | Type of Other Transportation | Number of Qualifying Storage Spaces
0
Complies?

## SS.C7.1 - Parking
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
SS.C7.1 - Parking
Instructions: Complete the tables below to indicate compliance with the requirements.
Are local parking requirements more stringent than this criteria? |  |  | Complete the appropriate table below.
New Schools
School Type | Number of Classrooms | Number of Students | Total Number of Parking Spots Provided | Number of Preferred Parking Spaces Provided
Total Number of Parking Spots Allowed:
Number of Preferred Parking Spaces Required:
Renovations
| Existing Number of Parking Spaces | Number of Parking Spaces after Renovation | Number of Preferred Parking Spaces after Renovation
Number of Preferred Parking Spaces Required:

## SS.C8.1 - PostConstr Stormwater
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
SS.C8.1 - Post-Construction Stormwater Management
Instructions: Complete shaded columns A, B, & C. Other columns and calculatoins will automatically populate.
Existing Impervious Surfaces
Surface Type | Runoff Coefficient | Area (ft2) | Impervious Area (ft2)
|  | Total Existing Impervious Area: | 0
|  | Percent of Existing Area Impervious: | 0%
Post-Construction Impervious Surfaces
Surface Type | Runoff Coefficient | Area (ft2) | Impervious Area (ft2)
|  | Total Post-Construction Impervious Area: | 0
|  | Percent of Post-Construction Area Impervious: | 0%
| Difference between Existing and Post-Construction Imperviousness: |  | 0%
| Complies? |  | Yes

## Materials Plan Sheet
Collaborative for High Performance Schools (CHPS) | [27 empty] | Project Description
HI-CHPS MATERIALS WORKSHEET
Based on the 2012 v1.1 Edition
This plan sheet must be completed and included in the construction documents if points are claimed for MW.C2-C7
Instructions: All projects claiming any of the relevant credits must complete columns A - F. Also complete the columns appropriate to the credits you are pursuing. Note that some credits have multiple compliance paths; only complete one of these paths where available. | [13 empty] | Complete for MW.C3 - Rapidly Renewable Materials |  |  |  | Complete for MW.C4 - Certified Wood |  |  |  | Complete for MW.C6 - Materials Reuse |  |  |  | Complete for MW.C7: Durable Low Maintenance Flooring
Notes: 96 rows are available for use. This sheet is designed to be printed on a standard 24" x 36" plansheet. Columns marked with an asterisk* are locked. These cells will auto-populate as needed. | [13 empty] | Only provide areas for categories claimed. | [7 empty] | Only provide areas for categories claimed.
TOTAL COST OF MATERIALS IN PROJECT: | [14 empty] | Total area of flooring: |  | ft2 | Total cost of all wood: |  |  |  |  | Total area of flooring: |  | ft2 | Total area of all flooring:
|  | 0 | [12 empty] | Total area of casework: |  | ft2 |  | 0 |  |  |  | Total area of casework & doors: |  | ft2 |  | ft2
[15 empty] | Total area of acoustical ceiling tile: |  | ft2 | [5 empty] | Total area of acoustical ceiling tile: |  | ft2
[15 empty] | Total area of wall coverings: |  | ft2 | [5 empty] | Total area of wall finishes: |  | ft2 |  |  | Project Number
[23 empty] | Total area of tile: |  | ft2
Division | CSI Number | Description | Material | Material Cost | Total Area of Material | MW.C2 - Recycled Content | [7 empty] | MW.C3 - Rapidly Renewable and Organic Materials |  |  |  | MW.C4 - Certified Wood |  | MW.C5 - Regional Materials |  | MW.C6 - Materials Reuse |  |  |  | MW.C7: Durable Low Maintenance Flooring
[6 empty] | All Recycled Content Claims |  |  | Prescriptive Approach |  | Performance Approach |  |  | MW.C3.1 - Rapidly Renewable Materials |  | MW.C3.2 - Organic Materials | [5 empty] | Performance Approach |  | Prescriptive Approach |  | Product is Durable Low Maintenance Flooring |  | Project Location
Select the division. Group products from same divisions together. | Enter the CSI # | Provide a brief description of the product | Enter the material | May use 35% of total cost | (ft2) | Post-Consumer Recycled Content (%) | Pre-Consumer Recycled Content (%) | Total Recycled Content* | Area covered by material with recycled content | Percent of area covered by recycled content* | RCV* | % RCV (max 25%)* | Adjusted RCV* | Contains Renewable Material in Category | Rapidly renewable content (%) | Contains Organic Material in Category | Organic content (%) | Product is Certified Wood |  | Contains Regionally Produced Material |  | Product is Reused Material |  | Contains Reused Materials in Category
TOTALS |  |  |  | 0 | [6 empty] | 0 |  | 0
[11 empty] | Weighted Average RCV: |  | 0% | Flooring |  | Flooring |  | Cost of Certified Wood: | 0 | Regional Value: | 0 | Value of Reused Mat'ls: | 0 | Flooring |  | Compliant Area: | 0
[14 empty] | Compliant Area: | 0 | Compliant Area: | 0 | Percent of Wood Certified: | 0% |  |  | % Materials Reused by Cost: | 0% | Compliant Area: | 0 | Compliant Percent: | 0%
[14 empty] | Compliant Percent: | 0% | Compliant Percent: | 0% | [6 empty] | Compliant Percent: | 0%
[14 empty] | Casework |  | Casework | [7 empty] | Casework & Doors
[14 empty] | Compliant Area: | 0 | Compliant Area: | 0 | [6 empty] | Compliant Area: | 0
[14 empty] | Compliant Percent: | 0% | Compliant Percent: | 0% | [6 empty] | Compliant Percent: | 0%
[14 empty] | Acoustical ceiling tile |  | Acoustical ceiling tile | [7 empty] | Acoustical ceiling tile |  |  |  | CHPS-2
[14 empty] | Compliant Area: | 0 | Compliant Area: | 0 | [6 empty] | Compliant Area: | 0
[14 empty] | Compliant Percent: | 0% | Compliant Percent: | 0% | [6 empty] | Compliant Percent: | 0%
[14 empty] | Wall Covering |  | Wall Covering | [7 empty] | Wall Finishes
[14 empty] | Compliant Area: | 0 | Compliant Area: | 0 | [6 empty] | Compliant Area: | 0
[14 empty] | Compliant Percent: | 0% | Compliant Percent: | 0% | [6 empty] | Compliant Percent: | 0%
Tile
[24 empty] | Compliant Area: | 0
[24 empty] | Compliant Percent: | 0%

## MW.C8 & .C9 - Reuse
Collaborative for High Performance Schools
2012 HI-CHPS Criteria v1.1
MW.C8 - Exterior Building Reuse
Directions: Complete the table below. The percent of exterior reuse will be automatically calculated.
Preexisting School |  |  |  | Reused Elements
Floor Area (ft2) | Roof Area (ft2) | Ground Floor (Slab) Area (ft2) | Exterior Wall Area (ft2) Exclude Windows | Floor Area (ft2) | Roof Area (ft2) | Ground Floor (Slab) Area (ft2) | Exterior Wall Area (ft2) Exclude Windows
Percent of Exterior Reuse:
MW.C9 - Interior Building Reuse
Directions: Complete the table below. The percent of interior reuse will be automatically calculated.
Preexisting School |  |  |  | Reused Elements
Interor Wall Area (ft2) | Door Area (ft2) | Floor Covering Area (ft2) | Ceiling System Area (ft2) | Interor Wall Area (ft2) | Door Area (ft2) | Floor Covering Area (ft2) | Ceiling System Area (ft2)
Percent of Interior Reuse:

## References (hidden)
CSI Divisions | Checkmark |  | baserate | duration | use | occupants |  | Daylit Spaces | HPD Types |  |  |  | Collaborative for High Performance Schools
|  | Toilet (male) | 1.6 | 1 | 1 | 0 | Elementary School | [5 empty] | 2012 HI-CHPS Criteria
2 - Site Work | x | Toilet (female) | 1.6 | 1 | 3 | 0 | Middle School | Classroom | Standard HPD | CSI Start Numbers |  |  | Reference Values
3 - Concrete | various | Urinal | 1 | 1 | 2 | 0 | High School | Admin Offices | Full Disclosure HPD | Count |  |  | This sheet contains reference values used elsewhere in the document. Nothing needs to be completed on this tab.
4 - Masonry |  | Bathroom Lavatory Sink | 0.5 | 0.25 | 3 | 0 | SS 9.0/9.1 SS 6.1 | Other Support
5 - Metals | No | Showerhead | 2.5 | 5 | 1 | 0 |  | EQ 11.1 | MW 10.1 HPDs
6 - Wood and Plastics | Yes | Kitchen Sink | 2.2 | 45 | 2 | 2
7 - Thermal/Moisture |  | Clothes Washer | 40 | 1 | 2 | 1
8 - Doors and Windows |  | WE 2.1
9 - Finishes
10 - Specialties
12 - Furnishings
Other
Materials
Materials info
EQ 7.0/7.1 |  | Points |  |  | Daylighting Option |  |  |  |  | MW 4.1 cats | MW 6.1 cats | MW 10.1 cats
Paints & Coatings |  | 1 |  |  | Multiple Point in Time |  |  |  |  | Flooring | Flooring | Adhesives & Sealants
Flooring Systems |  | 2 |  |  | Daylight Autonomy |  |  |  |  | Casework | Casework/Doors | Paints & Coatings
Composite Wood |  | 3 | [7 empty] | Acoustical ceiling tile | Acoustical Ceiling Tile | Flooring Systems
Adhesives & Sealants |  | 4 | [7 empty] | Wall covering | Wall Finishes | Composite Wood and Agrifiber
Furniture & Furnishings |  | 5 | [8 empty] | Tile | Furniture and Furnishings
Ceiling & Wall Systems |  | 6 | [9 empty] | Ceiling and Wall Systems