## CHPS Verified
NE-CHPS v4.0 Verified
Updated April 2024
Project Summary & Status
| CHPS Project Number: |  |  | All electric design: |  |  |  |  | Please provide a brief project narrative highlighting any notable high performance features. If construction is phased, please explain the phasing and provide expected dates of completion. If there are multiple buildings in the project scope, please list them and indicate building type, size, number of classrooms, and student/staff occupancy. |  |  |  |  | Additional CHPS Reviewer Comments:
| Project Name: |  |  | Zero Net Energy (ZNE):
| Expected Construction Completion Date: |  |  | ZNE Capable:
| Project Type: |  |  | Major systems included in the CHPS scope (if renovation):
CHPS Certification Pursued:
| Submission Type: |  |  |  |  | Building Envelope
| Required Point Threshold: |  |  |  |  | Interior Surfaces
| Total Points Verified: |  | 0 |  |  | HVAC
| All Prereqs Satisfied: |  |  |  |  | Lighting
| Project Status: |  |  | Site
Project Scorecard
|  |  |  | Points Possible | Design Review Required | Construction Review Required | CHPS Worksheet Required | Points Targeted | Instructions: Complete the aqua cells under "Project Summary and Status" above and in the "Points Targeted" column below by filling in the blanks or using the drop downs. Columns E-H are for reference regarding submission phase and whether a CHPS worksheet is required. Please use the "Project Team Comments" column to provide CHPS with short notes about your submission not captured elsewhere, and use the "Documentation Reference" column as needed to identify the file name, sheet, or specification section where the required documentation is found (please ensure the documentation within these files is highlighted or otherwise easily found). Use labels such as "DR1", "DR2", "CR1", and "CR2" to indicate which submission the comment or documentation applies to. Prerequisites are highlighted. Subcredits are italicized and can be cumulative, exclusive, or a combination. |  | Points Verified | Points Pending | Points Denied
| Credit | Prereq/ Subcredit | Title | [5 empty] | Project Team Comments | Documentation Reference |  |  |  | CHPS Reviewer Comments
| Integration & Innovation |  | Subtotal | 26 |  |  |  | 0 |  |  | 0 | 0 | 0
| II P1.0 | P | Integrated Design | 4 | • |  |  |  | Below is an example of how team comments should be organized (please delete this when completing the scorecard): DR1: First pass team design review comment (if applicable). DR2: Second pass team design review comment (if applicable). CR1: First pass team construction review comment (if applicable). CR2: Second pass team construction review comment (if applicable). | Below is an example of how team documentation references should be organized (please delete this when completing the scorecard): DR1: First pass team design documentation reference (if applicable). DR2: Second pass team design documentation reference (if applicable). CR1: First pass team construction documentation reference (if applicable). CR2: Second pass team construction documentation reference (if applicable). |  |  |  | CHPS will respond to project team comments and documentation in this format: DR1: First pass CHPS design review comment (if applicable).Outstanding issues requiring further clarification will be in red for all review passes. DR2: Second pass CHPS design review comment (if applicable). CR1: First pass CHPS construction review comment (if applicable). CR2: Second pass CHPS construction review comment (if applicable).
| II 1.1 |  | Enhanced Integrated Design | 2 | • | •
| II 2.1 |  | District Level Commitment | 1 | •
| II 3.1 |  | School Master Plan | 1 | •
| II 4.1 |  | High Performance Transition Plan | 1 | •
| II 5.0 | P | Educational Display | 1 | • | •
| II 5.1 |  | Demonstration Area | 1 | • | •
| II 6.1 |  | Educational Integration | 2 |  | •
| II 7.1 |  | Design for Adaptation | 3 | • | - |  |  |  |  | 0 | 0 | 0
|  | II 7.1.1 | Climate Vulnerability Assessment | 1 | •
|  | II 7.1.2 | Design for Climate Adaptation | 1 | • | •
|  | II 7.1.3 | Passive Habitability/Survivability | 1 | • | •
| II 8.0 | P | Safer Schools By Design | 3 | • | •
| II 9.1 |  | Innovation (CHPS Verified Projects only) | 4 | • | •
| II 10.1 |  | Biophilic & Responsive Design | 3 | • | [5 empty] | 0 | 0 | 0
|  | II 10.1.1 | Biophilic Design | 1 | •
|  | II 10.1.2 | Responsive Design | 1 | •
|  | II 10.1.3 | Educational Materials | 1 | •
| Operations |  | Subtotal | 24 |  |  |  | 0 |  |  | 0 | 0 | 0
| OM 1.0 | P | Facility Staff and Occupant Training | 4 | • | •
| OM 2.1 |  | Post-Occupancy Transition | 2 |  | •
| OM 3.0 | P | Performance Benchmarking | 3 | •
| OM 4.0 | P | Systems Maintenance Plan | 1
| OM 4.1 |  | High Performance Operations | 3 |  | • |  |  |  |  | 0 | 0 | 0
|  | OM 4.1.1 | Monitoring & Benchmarking | 1 |  | •
|  | OM 4.1.2 | Designate Resource Manager | 1 |  | •
|  | OM 4.1.3 | Designate Advocate | 1 |  | •
| OM 5.0 | P | Indoor Environmental Management Plan | 2 |  | •
| OM 6.1 |  | Green Cleaning | 2 |  | •
| OM 7.0 | P | Integrated Pest Management | 1 | • | •
| OM 8.0 | P | Anti-Idling Measures | 1 | • | •
| OM 8.1 |  | Green Power | 2 | •
| OM 10.0 | P | ENERGY STAR Equipment and Appliances | 2 | •
| OM 11.1 |  | Computerized Maintenance Management System | 1 |  | •
| Indoor Environmental Quality |  | Subtotal | 70 |  |  |  | 0 |  |  | 0 | 0 | 0
| EQ 1.0 | P | HVAC Design - ASHRAE 62.1 | 8 | • | •
| EQ 1.1 |  | Enhanced Filtration | 2 | • | •
| EQ 1.2 |  | Dedicated Outdoor Air System | 3 | •
| EQ 2.0 | P | Pollutant and Chemical Source Control | 2 | • | •
| EQ 3.0 | P | Outdoor Moisture Management | 1 | • | •
| EQ 4.1 |  | Ducted Returns | 2 |  | •
| EQ 5.1 |  | Construction Indoor Air Quality Management | 5 | • | • |  |  |  |  | 0 | 0 | 0
|  | EQ 5.1.1 | Occupied Buildings Under Construction | 1 | • | •
|  | EQ 5.1.2 | Duct Cleanliness | 2 | • | •
|  | EQ 5.1.3 | Building Flush Out | 2 | • | •
| EQ 5.2 |  | Construction Moisture Management | 1 | • | •
| EQ 6.1 |  | Post Construction Indoor Air Quality | 1 | • | •
| EQ 7.0 | P | Low Emitting Materials | 2 | • | • | •
| EQ 7.1 |  | Additional Low Emitting Materials | 5 | • | • | • |  |  |  | 0 | 0 | 0
|  | EQ 7.1.1 | Adhesives & Sealants | 1 | • | • | •
|  | EQ 7.1.2 | Flooring Systems | 1 | • | • | •
|  | EQ 7.1.3 | Composite Wood and Agrifiber Products | 1 | • | • | •
|  | EQ 7.1.4 | Furniture & Furnishings | 1 | • | • | •
|  | EQ 7.1.5 | Paints & Coatings | 1 | • | • | •
|  | EQ 7.1.6 | Ceiling & Wall Systems | 1 | • | • | •
| EQ 8.1 |  | Low Radon | 1 | •
| EQ 9.1 |  | Thermal Comfort - ASHRAE 55 | 4 | •
| EQ 10.1 |  | Individual Controllability | 1 | • | •
| EQ 10.2 |  | Controllability of Systems | 1 | • | •
| EQ 11.0 | P | Daylighting: Glare Protection | 4 | •
| EQ 11.1 |  | Daylight Availability | 5 | • | • | • |  |  |  | 0 | 0 | 0
|  | EQ 11.1.1 | Classrooms | 3 | • | • | •
|  | EQ 11.1.2 | Support Spaces | 2 | • | • | •
| EQ 12.0 | P | Views | 1 | • |  | •
| EQ 12.1 |  | Additional Views | 2 | • |  | •
| EQ 13.1 |  | Electric Lighting Performance | 3 | • | • |  |  |  |  | 0 | 0 | 0
|  | EQ 13.1.1 | Fidelity and Gamut Area | 2 | • | •
|  | EQ 13.1.2 | RoHS |  | • | •
|  | EQ 13.1.3 | LED Performance | 1 | • | •
| EQ 13.2 |  | Superior Electric Lighting Performance | 5 | • | • |  |  |  |  | 0 | 0 | 0
|  | EQ 13.2.1 | Multi-scene Indirect/Direct Lighting Systems | 2 | • | •
|  | EQ 13.2.2 | General and Audio Visual Modes |  | • | •
|  | EQ 13.2.3 | A/V Mode Illumination |  | • | •
|  | EQ 13.2.4 | Whiteboard Illumination |  | • | •
|  | EQ 13.2.6 | Enhanced Teacher Controls | 1 | • | •
|  | EQ 13.2.7 | Advanced Classroom Controls |  | • | •
|  | EQ 13.2.8 | High Performance Lighting Systems | 2 | • | •
| EQ 14.0 | P | Acoustical Performance | 7 | • | •
| EQ 15.1 |  | Low-EMF Wiring | 1 | • | •
| EQ 15.2 |  | Low-EMF Best Practices | 2 | • | • |  |  |  |  | 0 | 0 | 0
|  | EQ 15.2.1 | Low EMF Best Practices for Computers | 1 | • | •
|  | EQ 15.2.2 | Wired local area network (LAN) to reduce RF EMF | 1 | • | •
|  | EQ 15.2.3 | Wired Phones to reduce RF EMF in classroom |  | • | •
| EQ 16.1 |  | High Intensity Fluorescent Fixtures | 1 | • | •
| Energy |  | Subtotal | 68 |  |  |  | 0 |  |  | 0 | 0 | 0
| EE 1.0 | P | Energy Performance | 6 | •
| EE 1.1 |  | Superior Energy Performance | 40 | •
| EE 2.1 |  | Zero Net Energy Capable | 3 | •
| EE 3.0 | P | Commissioning | 4 | • | •
| EE 3.1 |  | Additional Commissioning Qualifications | 1 | • | •
| EE 3.2 |  | Building Envelope Commissioning | 1 | • | • | [8 empty] | #REF!
| EE 3.3 |  | Enhanced Commissioning | 1 | • | •
| EE 4.0 | P | Environmentally Preferable Refrigerants | 1 | •
| EE 5.1 |  | Energy Management System | 2 | •
| EE 5.2 |  | Advanced Energy Management System and Submetering | 2 | •
| EE 6.1 |  | Natural Ventilation & Energy Conservation Interlocks | 2 | • | •
| EE 7.0 | P | Local Energy Efficiency Incentives and Assistance | 2 | • | •
| EE 8.1 |  | Variable Air Volume Systems | 1 | •
| EE 9.1 |  | Renewable Energy Performance Monitoring | 1 | • | •
| EE 10.1 |  | Electric Vehicle Charging | 1 | • | •
| Water |  | Subtotal | 21 |  |  |  | 0 |  |  | 0 | 0 | 0
| WE 1.0 | P | Minimum Reduction in Indoor Potable Water Use | 5 | • | •
| WE 2.1 |  | Reduce Potable Water Use for Sewage Conveyance | 4 | • | • | •
| WE 3.0 | P | Irrigation and Exterior Water Budget- Use Reduction | 4 | • | •
| WE 4.1 |  | Reduce Potable Water Use for Non-Recreational Landscaping | 2 | • | •
| WE 5.1 |  | Reduce Potable Water Use for Recreational Landscaping | 1 | • | •
| WE 6.0 | P | Irrigation Systems Commissioning | 1 | • | •
| WE 7.1 |  | Rainwater Collection and Storage | 2 | •
| WE 8.1 |  | Water Management System | 2 | • | •
| Site |  | Subtotal | 22 |  |  |  | 0 |  |  | 0 | 0 | 0
| SS 1.0 | P | Site Selection | 2 | •
| SS 2.1 |  | Environmentally Sensitive Land | 3 | •
| SS 3.1 |  | Minimize Site Disturbance | 1 | • |  | •
| SS 4.1 |  | Construction Site Runoff Control and Sedimentation | 1 | • | •
| SS 5.1 |  | Post Construction Stormwater Management | 1 | • | •
| SS 6.1 |  | Central Location | 2 | • |  | •
| SS 7.1 |  | Located Near Public Transportation | 1 | •
| SS 8.1 |  | Joint-Use of Facilities | 1 | •
| SS 9.1 |  | Human-Powered Transportation | 2 | [6 empty] | 0 | 0 | 0
|  | SS 9.1.1 | Safe Access to School | 1 | • | • | •
|  | SS 9.1.2 | Safe Bike Lanes | 1 | •
|  | SS 9.1.3 | Safe Routes to School |  |  | •
| SS 10.1 |  | Reduce Heat Islands - Landscaping and Sites | 1 | •
| SS 11.1 |  | Reduce Heat Islands - Cool Roofs and Green Roofs/Walls | 1 | • | •
| SS 12.1 |  | Avoid Light Pollution and Unnecessary Lighting | 2 | • | • |  |  |  |  | 0 | 0 | 0
|  | SS 12.1.1 | Outdoor Lighting Controls | 1 | • | •
|  | SS 12.1.2 | Outdoor Lighting Fixtures | 1 | • | •
| SS 13.1 |  | School Gardens | 1 | • | •
| SS 14.1 |  | Use Locally Native Plants for Landscape | 1 | •
| SS 15.0 | P | Site and Building Best Practices | 2 | •
| Materials & Waste Management |  | Subtotal | 19 |  |  |  | 0 |  |  | 0 | 0 | 0
| MW 1.0 | P | Storage and Collection of Recyclables | 2 | • | •
| MW 2.0 | P | Minimum Construction Site Waste Management | 2 | • | • | •
| MW 2.1 |  | Construction Site Waste Management | 2 | • | • | •
| MW 3.1 |  | Single Attribute - Recycled Content | 2 | • | • | •
| MW 4.1 |  | Single Attribute - Rapidly Renewable Materials | 1 | • | •
| MW 5.1 |  | Single Attribute - Certified Wood | 1 | • | • | •
| MW 6.1 |  | Single Attribute - Materials Reuse | 1 | • | • | •
| MW 7.1 |  | Multi-Attribute Materials Selection | 2 | • | •
| MW 8.1 |  | Building Reuse - Exterior | 2 | • | • | •
| MW 9.1 |  | Building Reuse - Interior | 1 | • | •
| MW 10.1 |  | Health Product Related Information Reporting | 1 | • | • | •
| MW 11.1 |  | Locally Produced Materials | 2 | • | • | •
|  |  | Total | 250 |  |  |  | 0 |  |  | 0 | 0 | 0

## EQ P7.0 EQ 7.1
EQ P7.0 & EQ 7.1 - Low Emitting Materials
Instructions: Complete the aqua cells under each product type header (as applicable). Use the dropdowns to note VOC compliance sources or enter other qualifying certifications. Lists of known compliance sources are shown in column I. Highlight compliance source(s) within each product's approved submittal and complete the "Approved Submittal Number" column for each product. The "Quantity" column must be completed unless 100% of products under a category comply.
Paints & Coatings
| Total Quantity in Project (gal): |  | (wet-applied products only)
| Approved Submittal Number | Product Brand & Name | EQ P7.0 | EQ 7.1 | Quantity (gal)
|  |  | VOC Content Compliance (Select from list or leave blank if non-compliant.) | VOC Emissions Compliance (Select from list or enter custom. Leave blank if non-compliant.) |  |  | PAINTS & COATINGS REFERENCES
*Include all paints and coatings applied in the project's interior including but not limited to sealers, stains, clear wood finishes, floor sealers and coatings, waterproofing sealers, primers, flat and non-flat paints and coatings, and rust preventative coatings.
VOC Emissions Testing Compliance Sources
Clean Air GOLD by Intertek
Lab test report to CDPH Standard Method
MAS Certified Green
SCS Indoor Advantage Gold
UL GREENGUARD Gold
| Percentage Compliant with EQ P7.0: |  |  | 90% Minimum
Complies with Prereq?
| Percentage Compliant with EQ 7.1: |  |  | 90% Minimum
Complies with Credit?
Flooring Systems
| Total Quantity in Project (sf): |  | (do not include solid wood, concrete, or ceramic tile)
| Approved Submittal Number | Product Brand & Name | Product Type | EQ P7.0 & EQ 7.1 | Quantity (sf)
|  |  |  | VOC Emissions Compliance (Select from list or enter custom. Leave blank if non-compliant.) |  |  | FLOORING SYSTEMS REFERENCES
*Include all resilient flooring and carpet systems installed in the project's interior.
VOC Emissions Testing Compliance Sources
CHPS Pre-Approved
Clean Air GOLD by Intertek
FloorScore by SCS
Green Label Plus by CRI
Lab test report to CDPH Standard Method (v1.1 or v1.2)
MAS Certified Green
NSF/ANSI 140 Gold or higher certification
SCS Indoor Advantage Gold
UL GREENGUARD Gold
VOC Green Program by Benchmark International
Percentage Compliant:
| Complies with Prerequisite? |  |  | 75% Minimum
| Complies with Credit? |  |  | 90% Minimum
Composite Wood
Total Quantity in Project (sf):
| Approved Submittal Number | Product Brand & Name | Product Type | EQ P7.0 & EQ 7.1 | EQ 7.1 | Quantity (sf)
|  |  |  | Formaldehyde Emissions Compliance (Select from list or enter custom. Leave blank if non-compliant.) | NAF or ULEF Resins w/ ATCM Emissions Compliance (Leave blank if non-compliant.) |  | COMPOSITE WOOD REFERENCES
*Include all composite wood panels and building products with composite wood cores installed on the project's interior including but not limited to hardwood plywood, particleboard, MDF, and Agrifiber.
Formaldehyde Emissions Compliance Sources
CHPS Pre-Approved
SCS Global
Intertek
UL
N/A (Agrifiber only)
Percentage Compliant with EQ P7.0:
| Complies with Prereq? |  |  | 90% Minimum
Percentage Compliant with EQ 7.1:
| Complies with Credit? |  |  | 90% Minimum
Adhesives & Sealants
Total Quantity in Project (gal):
| Approved Submittal Number | Product Brand & Name | EQ 7.1 |  | Quantity (gal)
|  |  | SCAQMD Rule 1168 Compliant (Y/N) | VOC Emissions Compliance (Select from list or enter custom. Leave blank if non-compliant.) |  |  | ADHESIVES & SEALANTS REFERENCES
*Include all adhesives and sealants under on the project's interior used in quantities of 2.5 gallons or more including flooring adhesives, base cove adhesives, tile adhesives, drywall and panel adhesives, aerosol adhesives, adhesive primers, acoustical sealants, fire stop, HVAC duct sealants, sealant primers, and caulks. Include floor and waterproof sealers under Paints & Coatings.
VOC Emissions Compliance Sources
CHPS Pre-Approved
Clean Air GOLD by Intertek
ClearChem by Berkeley Analytical
FloorScore by SCS
Green Label Plus by CRI
SCS Indoor Advantage Gold
UL GREENGUARD Gold
MAS Certified Green
Lab test report to CDPH Standard Method
Percentage Compliant with SCAQMD:
| Complies with SCAQMD requirement? |  |  | 90% Minimum
Percentage Compliant with Emissions Testing:
| Complies with VOC Emissions Testing? |  |  | 90% Minimum
Complies with Credit?
Furniture & Furnishings
At least 75% is new or refurbished:
Total Quantity in Project (#):
| Approved Submittal Number | Product Brand & Name | EQ 7.1 | Quantity (#)
|  |  | VOC Emissions Compliance (Select from list or enter custom. Leave blank if non-compliant.) |  |  |  | FURNITURE & FURNISHINGS REFERENCES
*Include classroom and administrative stations (chairs and associated work surfaces).
VOC Emissions Compliance Sources
CHPS Pre-Approved
LEVEL Certified
Lab test report to BIFMA M7.1 & X7.1
Percentage Compliant:
| Complies with Credit? |  |  | 90% Minimum
Walls & Ceilings
Total Quantity in Project (sf):
| Approved Submittal Number | Product Brand & Name | EQ 7.1 | Quantity (sf)
|  |  | VOC Emissions Compliance (Select from list or enter custom. Leave blank if non-compliant.) |  |  |  | WALLS & CEILINGS REFERENCES
*Include ceiling and wall systems installed in the project's interior including but not limited to ceiling insulation installed within the structural envelope, wall insulation, acoustical ceiling panels, gypsum board wall panels, tackable wall panels, and wall coverings.
VOC Emissions Compliance Sources
CHPS Pre-Approved
Clean Air GOLD by Intertek
ClearChem by Berkeley Analytical
UL GREENGUARD Gold
SCS Indoor Advantage Gold
MAS Certified Green
VOC Green Program by Benchmark International
Percentage Compliant:
| Complies with Credit? |  |  | 90% Minimum

## EQ 11.1
EQ C11.1 - Daylight Availability
Instructions: Complete columns B-D in the table. For EQ C11.1.1 and/or EQ C11.1.2, complete one column for each sub-credit pursued. Note that you need only comply with one path per sub-credit.
| Room Name | Room Type | Floor Area | EQ 11.1.1 Daylight Availability: All Classroom Spaces | [5 empty] | EQ 11.1.2 Daylight Availability: All Support Spaces
|  |  |  | Multiple Point in Time Approach |  |  | Daylight Saturation (DS) Approach |  |  | Multiple Point in Time Approach |  | Daylight Saturation (DS) Approach
|  |  |  | 1 Point | 2 Points | 3 Points | 1 Point | 2 Points | 3 Points | 1 Point | 1 Point | 1 Point | 2 Points
|  |  |  | Area with >20 fc Annual Average Daylight Illuminance | Area with >35 fc Annual Average Daylight Illuminance | Area with >50 fc Annual Average Daylight Illuminance | Area with >50% sDS300/50% | Area with >75% sDS300/75% | Area with >90% sDS300/90% | Admin Offices: Area with >30 fc Annual Average Daylight Illuminance | Other Support Spaces: Area with >40 fc Annual Average Daylight Illuminance | Admin Offices: Area with >60% sDS300/50% | Other Support Spaces: Area with >60% sDS400/50%
|  |  |  | Classroom Compliance Summary | [5 empty] | All Support Spaces Compliance Summary
|  |  |  | Classrooms | [5 empty] | Administration Offices
|  |  |  | Total Floor Area: |  | 0 |  |  |  | Total Floor Area: |  | 0
|  |  |  | Area Meeting fc Requirements: | [5 empty] | Area Meeting fc Requirements:
|  |  |  | Percent of Area Meeting fc Requirements: | [5 empty] | Percent of Area Meeting fc Requirements:
|  |  |  | Classrooms Comply with Multiple Point in Time Approach: | [5 empty] | Admin Offices Comply with Multiple Point in Time Approach:
|  |  |  | Area Meeting DS Requirements | [5 empty] | Area Meeting DS Requirements
|  |  |  | Percent Area Meeting DS Requirements: | [5 empty] | Percent Area Meeting DS Requirements:
|  |  |  | Classrooms Comply with Daylight Saturation Approach: | [5 empty] | Admin Offices Comply with Daylight Saturation Approach:
Other Support Spaces (Library, cafeteria, gymnasium, and multi-purpose/ common areas)
[10 empty] | Total Floor Area: |  | 0
Area Meeting fc Requirements:
Percent of Area Meeting fc Requirements:
Other Support Spaces Comply with Multiple Point in Time Approach:
Area Meeting DS Requirements
Percent Area Meeting DS Requirements:
Other Support Spaces Comply with Daylight Saturation Approach:

## EQ P12.0 EQ 12.1
EQ P12.0 & EQ 12.1 - Views
Instructions: Complete columns B - G in the table bellow. The remaining columns will automatically be calculated. Use one line for each set of identical spaces and list the number of identical spaces in column E.
| Room Name | Room Type | Floor Area | Number of Identical Spaces | View Window Area in Each Space (ft2) | Width of View Windows in Each Space (ft) | Total Floor Area (ft2) | Qualifying Areas (ft2) Based On: |  | Qualifying Area (ft2) per Space | Total Qualifying Floor Area (ft2)
[8 empty] | View Window Area | View Window Width
Compliance Summary
| Total Qualifying Floor Area in Project: |  | 0
| Total Overall Floor Area in Project: |  | 0
| Percent of Floor Area Qualifying: |  | 0%
| Points Earned: |  | 0

## WE 2.1
WE 2.1 - Calculated Water Savings
Instructions: Complete aqua columns in each relevant table. Enter Rainwater/Reclaimed Budget in the compliance summary table at bottom, if relevant. Use one line for each distinct fixture style or appliance used in the school. Use the last rows in each table with no dropdowns to list fixtures or appliances not included and complete all columns. Default gender mix is 50/50; to enter a custom gender mix, enter "Yes" in cell D7 and enter custom percentages in Table 1, Column G.
Number of Occupants:
School Days per Year:
| Use custom gender mix? |  |  | By default, the gender mix is 50% female/male
TABLE 1: BATHROOMS AND LOCKER ROOMS (STUDENT AND STAFF)
Sample entries are provided and can be used or overwritten.
| Fixture Type | Design Flowrate (gal/flush, gal/min. or gal/load) | Baseline Flowrate (gal/flush, gal/min. or gal/load) | Duration (flushes or mins) | Occupants | Percent of Occupants (Complete if using Custom Gender Mix) | Daily Uses | Baseline Daily Consumption (gal) | Designed Daily Consumption (gal) | REFERENCES
[11 empty] | Baseline Flow | Duration | Daily Use per Fixture | Targeted Design Flow
[10 empty] | Toilet (female) | 1.28 | 1 | 3 | 1.1
[10 empty] | Toilet (male) | 1.28 | 1 | 1 | 1.1
[10 empty] | Urinal | 0.5 | 1 | 2 | 0.125
[10 empty] | Toilet (gender neutral) | 1.28 | 1 | 2 | 1.1
[10 empty] | Showerhead | 2 | 10 | 1 | 1.5
[10 empty] | Pre-rinse spray valve | 1.3 | 10 | 2 | 1.15
[10 empty] | Clothes washer | 9.5 | 1 | 1 | 4
For Table 1, Daily Consumption = flowrate X duration X # occupants X # of uses per occupant
| (Enter custom fixture type here) | [8 empty] | Defaults are shown above.
| (Enter custom fixture type here) | [8 empty] | For Table 2, Daily Consumption = flowrate X duration per use X # uses per day
Defaults are 1 installed per building. If more than one, multiply # of fixtures by # of uses per fixture for Daily Uses (column G). Other defaults are shown above.
Table 1: Summary
| Total Daily Volume (gal) |  | 0 | 0
| Annual School Days |  | 0 | 0
| Annual Water Use (gal) |  | 0 | 0
TABLE 2: KITCHEN AND LAUNDRY
Pre-rinse spray valves and clothes washers will trigger standard values that can be overwritten if needed.
| Fixture Type | Design Flowrate (gal/min. or gal/cycle) | Baseline Flowrate (gal/min. or gal/cycle) | Duration (mins or cycles) | Number of Fixtures/Appliances | Daily Uses per Fixture/Appliance (#) | Baseline Daily Consumption (gal) | Designed Daily Consumption (gal)
(Enter custom fixture type here)
(Enter custom fixture type here)
Table 2: Summary
| Total Daily Volume (gal) |  | 0 | 0
| Annual School Days |  | 0 | 0
| Annual Water Use (gal) |  | 0 | 0
Compliance Summary
|  |  | Baseline | Design
| Total Daily Volume (gal) |  | 0 | 0
| Annual School Days |  | 0 | 0
| Annual Water Use (gal) |  | 0 | 0
| Projected Annual Rainwater Volume Use (gal) |  | ---------------
| Projected Annual Reclaimed Water Volume Use (gal) |  | ---------------
| Annual Consumption (gal) |  | 0 | 0
| Percent Reduced: |  |  | 0%
| Points Earned: |  |  | 0

## SS 3.1
SS 3.1 Sustainable Site Use
Instructions: Complete the aqua cells in the applicable table(s) below to indicate compliance with the requirements.
Building Footprint
Building Gross Square Footage:
Building Footprint:
Floor Area Ratio:
Complies?
Excess Parking
Are local parking requirements more stringent than this criteria?
Parking: New Construction and Additions
| School Type | Number of Classrooms | Number of Students | Total Number of Parking Spots Provided | Total Number of Parking Spots Allowed: | Number of Preferred Parking Spaces Provided | Number of Preferred Parking Spaces Required
Complies?
Parking: Major Renovations/Modernizations
| Existing Number of Parking Spaces | Number of Parking Spaces after Renovation | Number of Preferred Parking Spaces after Renovation | Number of Preferred Parking Spaces Required
Complies?
Open Space
Is there a State or Local Zoning Ordinance that specifies Open Space requirements? (must answer)
Open Space Square Footage:
School Site Square Footage:
Percent Open Space:
Percent Open Space Required by Ordinance (leave blank if none):
Does project comply with SS C4.1 Central Location credit? (must answer)
Complies?

## SS 5.1
SS 5.1 Stormwater Pollutant Control Post-Construction
Instructions: Complete shaded columns B, C, & D. Other columns and calculations will automatically populate.
Existing Impervious Surfaces
| Surface Type | Runoff Coefficient | Area (ft2) | Impervious Area (ft2)
| Total Existing Impervious Area: |  | 0
| Percent of Existing Area Impervious: |  | 0%
Post-Construction Impervious Surfaces
| Surface Type | Runoff Coefficient | Area (ft2) | Impervious Area (ft2)
| Total Post-Construction Impervious Area: |  | 0
| Percent of Post-Construction Area Impervious: |  | 0%
Complies?

## SS 6.1.1
SS 6.1.1 - Proximity to Students & Community Services
Instructions: Complete shaded columns B, C, and E. Other columns will automatically populate. If school level is combined, e.g. K-8, use the higher level for the calculation.
| Student Capacity | School Level | 50%+ of Students Must Live Within: | Number of Students within Required Distance | Percent of Students within Required Distance | Complies?
Complete Column C
Complete Column C
Complete Column C

## SS 9.1.1
SS 9.1.1 - Bike Accommodation
Instructions: Complete aqua cells. Required storage spaces is set to round.
| Number of Students Grade 4 and Higher | School Level | Minimum Required Number of Spaces | Minimum Number of Storage Spaces | Number of Storage Spaces Provided for Bikes, Scooters, or Skateboards
1.5 for every 10 students
Complies?

## MW 2.0 MW 2.1
MW 2.0 & MW 2.1 - Construction Site Waste Management: Recycle, Reuse, Salvage
Instructions: Use this worksheet to keep track of Construction Waste Management. For material that is removed from the site and does not generate a waste ticket, provide an estimate of the weight and volume of materials removed. Submit receipts and/or weight tickets to CHPS from facilities that meet recycling and/or diversion rates.
Compliance Summary
| Overall % of Material Recycled: |  | TBD
| Points Earned: |  | TBD
Weight Ticket Summary
| Date of Load Disposal | Name of Facility | Ticket Number | Type of Debris | Number of Loads, Yards, and Pounds | Total Waste (Pounds) | Diverted Waste (Pounds) | % of Material Recycled
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
-
[5 empty] | Totals: | 0 | 0 | TBD

## MW 8.1
MW 8.1 - Building Reuse
Instructions: Complete the table below. The percent of exterior reuse will be automatically calculated.
| Preexisting School |  |  |  | Reused Elements
| Floor Area (ft2) | Roof Area (ft2) | Ground Floor (Slab) Area (ft2) | Exterior Wall Area (ft2) Exclude Windows | Floor Area (ft2) | Roof Area (ft2) | Ground Floor (Slab) Area (ft2) | Exterior Wall Area (ft2) Exclude Windows
0
Compliance Summary
Percent of Exterior Reuse:
Points Earned:

## MW 3.1 5.1 6.1 10.1 11.1
Materials Worksheet: MW 3.1, MW 5.1, MW 10.1, MW 11.1
Instructions: All projects claiming EQ 10.1 (Prescriptive Approach), MW 5.1, MW 6.1, or MW 3.1 (Performance Approach) must complete columns B-E. Materials should fall within Divisions 3-10, 12 & 31-32 only. Material Cost (column E) is the construction cost of each material excluding all labor costs, project overhead, fees, and equipment costs. Please fill out aqua cells as required; non-shaded cells are locked and will auto-populate.
| Total Cost of Materials in Project: | 1000 | Default value of 35% of the total construction cost may be used
[5 empty] | MW 3.1 - Recycled Content (Performance Approach) | [5 empty] | MW 5.1 - Certified Wood |  | MW 6.1 - Materials Reuse (Performance Approach) |  | MW 11.1 - Locally Produced Materials |  | MW 10.1: Material Health Disclosures (Prescriptive Approach)
| Approved Submittal Number | Manufacturer/ Product Name | Description | Material Cost ($) (See Instructions) | Post-Consumer Recycled Content (%) | Pre-Consumer Recycled Content | Total Recycled Content | RCV | % RCV (max 25%) | Adjusted RCV | Certification |  | Qualifying Products |  | Qualifying Products |  | Material Health Disclosure | Product Category
[7 empty] | Total RCV: | 0 | Total Adjusted RCV: | 0 | Certified Wood |  | Reused Materials |  | Local Materials |  | Paints & Coatings
[7 empty] | Weighted Average RCV: |  |  | 0% | Total Cost of All Wood: |  | Total Cost of Materials: | 1000 | Total Cost of Materials: | 1000 | Total Cost of All Paints & Coatings:
| 02 - Site Work | [5 empty] | Points Earned: |  |  | 0 | Cost of Certified Wood: | 0 | Cost of Reused Materials: | 0 | Cost of Local Materials: | 0 | Compliant Value: | 0
| 03 - Concrete | [9 empty] | Percent of Wood Certified: |  | Percent of Reused Materials: | 0% | Percent of Local Materials: | 0% | Compliant Percent: | 0%
| 04 - Masonry | [9 empty] | Points Earned: |  | Points Earned: | 0 | Points Earned: | 0 | Flooring Systems
| 05 - Metals | [15 empty] | Total Cost of All Flooring Systems:
| 06 - Wood and Plastics | [15 empty] | Compliant Value: | 0
| 07 - Thermal/Moisture | [15 empty] | Compliant Percent: | 0%
| 08 - Doors and Windows | [15 empty] | Composite Wood & Agrifiber
| 09 - Finishes | [15 empty] | Total Cost of All Composite Wood & Agrifiber:
| 10 - Specialties | [15 empty] | Compliant Value: | 0
| 12 - Furnishings | [15 empty] | Compliant Percent: | 0%
| 31 - Earth Work | [15 empty] | Furniture & Furnishings
| 32 - Exterior Improvements | [15 empty] | Total Cost of All Furniture & Furnishings:
| Other | [15 empty] | Compliant Value: | 0
[17 empty] | Compliant Percent: | 0%
Ceiling & Wall Systems
Total Cost of All Ceiling & Wall Systems:
[17 empty] | Compliant Value: | 0
[17 empty] | Compliant Percent: | 0%

## References (hidden)
CSI Divisions | Checkmark |  | baserate | use |  | Daylit Spaces | HPD Types
|  | Toilet (male) | 1.28 | 1 | Elementary School
2 - Site Work | x | Toilet (female) | 1.28 | 3 | Middle School | Classroom | Standard HPD | CSI Start Numbers
3 - Concrete | various | Urinal | 0.5 | 2 | High School | Admin Offices | Full Disclosure HPD | Count
4 - Masonry |  | WE 2.1 |  |  | SS 9.0/9.1 SS 6.1 | Other Support
5 - Metals | No |  |  |  |  | EQ 11.1 | MW 10.1 HPDs |  |  |  | x
6 - Wood and Plastics | Yes
7 - Thermal/Moisture | [10 empty] | 1
8 - Doors and Windows | [10 empty] | 2
9 - Finishes
10 - Specialties |  | Note about Scorecard: Cell O72 contains a formula that converts Project Type into a number for use in color formatting for Total score (cell O68). Row 72 is hidden and the cell is locked.
12 - Furnishings
Other
Materials
Materials info
EQ 7.0/7.1 | [7 empty] | MW 4.1 cats | MW 6.1 cats | MW 10.1 cats
Paints & Coatings | [7 empty] | Flooring | Flooring | Adhesives & Sealants
Flooring Systems | [7 empty] | Casework | Casework/Doors | Paints & Coatings
Composite Wood | [7 empty] | Acoustical Ceiling Tile | Acoustical Ceiling Tile | Flooring Systems
Adhesives & Sealants | [7 empty] | Wall Covering | Wall Finishes | Composite Wood and Agrifiber
Furniture & Furnishings | [8 empty] | Tile | Furniture and Furnishings
Ceiling & Wall Systems | [9 empty] | Ceiling and Wall Systems