## Project Summary
Project Summary Form | [5 empty] | x
School or Project Name:
Project Type: |  |  | CHPS Project ID#: | For Admin Use Only
Intended CHPS Certification Level: |  |  | Points Required for Verification:
School District or Governing Body:
School Location:
Grade Levels Served: |  |  | Expected Completion Date (month/yr):
All Electric? | Net zero energy or zero energy capable?
For Renovations, which major systems are included in CHPS scope:
| Lighting | Interior Surfaces | Site
| Building Envelope | HVAC
Project Delivery Method:
If construction is phased, please explain phases and provide dates of completion:
Total Number of Buildings on School Campus including those in CHPS Scope: |  |  |  |  | Design/Bid/Build
Design/Build
Please fill out Building Information Table below for each building included in the CHPS scope only (add rows as needed):
Building Name /Type | Gross Square Footage | Number of Classrooms | Number of Staff & Admin | Number of Students
Please provide an overall description of the project including any high performance features you would like to highlight (1 to 2 paragraphs):
Contact Name:
Title /Organization:
Phone Number:
Email:

## Annotated Scorecard 24x36 (PS1)
2015 TX-CHPS ANNOTATED SCORECARD | [21 empty] | Project Description
Project Information | [12 empty] | Instructions: Complete the Registration Information and columns E, F, M and N. Columns G and O are optional but encouraged to communicate project requirements to other team members. Columns F and N are required but do not need to be exhaustive lists. Use the Project Workbook to list full references and attachments for formal review. This document is intended to assist in communicating important information to contractors, not to facilitate review of the project. This sheet is formatted to print on a 24"x 36" plan sheet.
Project Name:
Project Location: | [9 empty] | Anticipated Student Population:
Project Type: | [9 empty] | Anticipated Staff and Administrator Population:
Gross Building Area (ft2):
| Building Footprint (ft2): | [20 empty] | Project Description
Criteria |  | Prerequisite | Points Possible | Points Pursued | Review Phase | Points Approved | Points Pending | Points Denied | References for Contractors and Team (Attachments, Construction Docs, etc.) | Other Notes for Contractor Regarding Compliance (Items to track during construction, etc.) | Criteria |  | Prerequisite | Points Possible | Points Pursued | Review Phase | Points Approved | Points Pending | Points Denied | References for Contractors and Team (Attachments, Construction Docs, etc.) | Other Notes for Contractor Regarding Compliance (Items to track during construction, etc.)
INTEGRATION |  | Subtotal | 20 | 0 | [6 empty] | WATER |  | Subtotal | 19 | 0
II 1.0 | Integrated Design | P | 1 |  | D | [5 empty] | WE 1.1 | Minimum Reduction in Indoor Potable Water Use |  | 4 |  | D & C
II 1.1 | Enhanced Integrated Design |  | 2 |  | D & C | [5 empty] | WE 2.1 | Reduce Potable Water Use for Sewage Conveyance |  | 3 |  | D & C | [5 empty] | Project Number
II 2.1 | District Level Commitment |  | 2 |  | D & C | [5 empty] | WE 3.1 | Irrigation and Exterior Water Budget - Use Reduction |  | 3 |  | D & C
II 3.1 | School Master Plan |  | 2 |  | D | [5 empty] | WE 4.1 | Reduce Potable Water Use for Non-Recreational Landscaping |  | 3 |  | D & C
II 4.1 | High Performance Transition Plan |  | 1 |  | D | [5 empty] | WE 5.1 | Reduce Potable Water Use for Recreational Landscaping |  | 2 |  | D & C | [5 empty] | Project Location
II 5.0 | Educational Display | P | 1 |  | D & C | [5 empty] | WE 6.1 | Irrigation Systems Operational Verification |  | 1 |  | D & C
II 6.1 | Educational Integration |  | 2 |  | C | [5 empty] | WE 7.1 | Water Management System |  | 3 |  | D
II 7.1 | Demonstration Areas |  | 1 |  | C
II 8.1 | Climate Change Action / Carbon Footprint Reporting |  | 3 |  | C | [5 empty] | SUSTAINABLE SITES |  | Subtotal | 21 | 0
II 9.1 | Crime Prevention Through Environmental Design |  | 1 |  | D | [5 empty] | SS 1.0 | Site Selection | P | 2 |  | D
II 10.1 | Innovation (CHPS Verified Projects only) |  | 4 |  | D & C | [5 empty] | SS 2.1 | Environmentally Sensitive Land / Preserve Greenspce & Parklands |  | 2 |  | D
[11 empty] | SS 3.1 | Minimize Site Disturbance |  | 1 |  | D
INDOOR ENVIRONMENTAL QUALITY |  | Subtotal | 83 | 0 | [6 empty] | SS 4.0 | Construction Site Runoff Control and Sedimentation | P | 1 |  | D & C
EQ 1.0 | HVAC Design - ASHRAE 62.1 | P | 7 |  | D & C | [5 empty] | SS 5.1 | Post Construction Stormwater Management |  | 2 |  | D & C
EQ 1.1 | Enhanced Filtration |  | 3 |  | D & C | [5 empty] | SS 6.1 | Central location |  | 2 |  | D
EQ 1.2 | Dedicated Outdoor Air System |  | 3 |  | D | [5 empty] | SS 7.1 | Located Near Public Transportation |  | 1 |  | D
EQ 2.1 | Pollutant and Chemical Source Control |  | 2 |  | D & C | [5 empty] | SS 8.1 | Joint-Use of Facilities |  | 2 |  | D
EQ 3.0 | Outdoor Moisture Management | P | 2 |  | D & C | [5 empty] | SS 9.1 | Human-Powered Transportation |  | 2 |  | D & C
EQ 4.1 | Ducted Returns |  | 2 |  | D | [5 empty] | SS 10.1 | Reduce Heat Islands - Landscaping and Sites |  | 1 |  | D
EQ 5.1 | Construction Indoor Air Quality Management |  | 5 |  | D & C | [5 empty] | SS 11.1 | Reduce Heat Islands - Cool/Green Roofs and Green Walls |  | 1 |  | D & C
EQ 5.2 | (Indoor)Moisture Management |  | 3 |  | D & C | [5 empty] | SS 12.1 | Avoid Light Pollution and Unnecessary Lighting |  | 2 |  | D & C
EQ 6.1 | Post Construction Indoor Air Quality |  | 1 |  | D & C | [5 empty] | SS 13.1 | School Gardens |  | 1 |  | D & C
EQ 7.0 | Low Emitting Materials | P | 2 |  | D & C | [5 empty] | SS 14.1 | Use Locally Native Plants for Landscape |  | 1 |  | D
EQ 7.1 | Additional Low Emitting Materials |  | 6 |  | D & C
EQ 8.1 | Low Radon |  | 1 |  | D & C | [5 empty] | MATERIALS & WASTE MANAGEMENT |  | Subtotal | 25 | 0
EQ 9.1 | Thermal Comfort - ASHRAE 55 |  | 6 |  | D | [5 empty] | MW 1.0 | Storage and Collection of Recyclables | P | 2 |  | D & C
EQ 10.1 | Individual Controllability |  | 1 |  | D & C | [5 empty] | MW 1.1 | Storage and Collection of Recyclables for School Community |  | 1 |  | D & C
EQ 10.2 | Controllability of Systems |  | 1 |  | D & C | [5 empty] | MW 2.0 | Construction Site Waste Management | P | 1 |  | D & C
EQ 11.0 | Daylighting: Glare Protection | P | 4 |  | D | [5 empty] | MW 2.1 | Enhanced Construction Site Waste Management |  | 4 |  | D & C
EQ 11.1 | Daylight Availability |  | 8 |  | D | [5 empty] | MW 3.1 | Single Attribute - Recycled Content |  | 2 |  | C
EQ 12.1 | Views |  | 3 |  | D | [5 empty] | MW 4.1 | Single Attribute - Rapidly Renewable Materials |  | 1 |  | C
EQ 13.1 | Electric Lighting Performance |  | 4 |  | D & C | [5 empty] | MW 5.1 | Single Attribute - Certified Wood |  | 2 |  | C
EQ 13.2 | Superior Electric Lighting Performance |  | 5 |  | D & C | [5 empty] | MW 6.1 | Single Attribute - Materials Reuse |  | 2 |  | D & C
EQ 14.0 | Acoustical Performance | P | 4 |  | D & C | [5 empty] | MW 7.1 | Multi-Attribute Material Selection |  | 2 |  | C
EQ 14.1 | Enhanced Acoustical Performance |  | 4 |  | D & C | [5 empty] | MW 8.1 | Building Reuse - Exterior |  | 3 |  | D & C
EQ 15.1 | Low-EMF Wiring |  | 1 |  | D & C | [5 empty] | MW 9.1 | Building Reuse - Interior |  | 1 |  | D & C | [5 empty] | CHPS ANNOTATED SCORECARD
EQ 15.2 | Low-EMF Best Practices |  | 2 |  | D & C | [5 empty] | MW 10.1 | Building Product Health Related Information Reporting |  | 1 |  | D & C
EQ 16.1 | Mercury Reduction |  | 1 |  | D | [5 empty] | MW 11.1 | Durability and Low Maintenance Flooring |  | 1 |  | C
EQ 17.1 | Building Envelope Integrity |  | 2 |  | D & C | [5 empty] | MW 12.1 | Environmental Performance Reporting |  | 2 |  | C
ENERGY |  | Subtotal | 63 | 0 | [6 empty] | DISTRICT PLANNING, OPERATION & MAINTENANCE |  | Subtotal | 19 | 0
EE 1.0 | Energy Performance | P | 5 |  | D | [5 empty] | OM 1.0 | Facility Staff and Occupant Training | P | 2 |  | C
EE 1.1 | Superior Energy Performance |  | 40 |  | D | [5 empty] | OM 2.1 | Post-Occupancy Transition |  | 1 |  | C
EE 2.1 | Zero Net Energy Bonus |  | 2 |  | D | [5 empty] | OM 3.0 | Performance Benchmarking | P | 2 |  | C
EE 3.0 | Building Systems Verification | P | 4 |  | D & C | [5 empty] | OM 4.1 | High Performance Operations |  | 6 |  | C
EE 3.1 | Additional Building Systems Verification Qualifications |  | 1 |  | D & C | [5 empty] | OM 5.1 | Systems Maintenance Plan |  | 1 |  | C | [5 empty] | CHPS-1
EE 3.2 | Building Envelope Verification |  | 1 |  | D & C | [5 empty] | OM 6.1 | Indoor Environmental Management Plan |  | 2 |  | D & C
EE 4.1 | Environmentally Preferable Refrigerants |  | 1 |  | D | [5 empty] | OM 7.1 | Green Cleaning |  | 1 |  | D & C
EE 5.1 | Energy Management System |  | 2 |  | D | [5 empty] | OM 8.1 | Integrated Pest Management |  | 2 |  | D & C
EE 5.2 | Advanced Energy Management System and Submetering |  | 2 |  | D | [5 empty] | OM 9.1 | Anti-Idling Measures |  | 1 |  | D & C
EE 6.1 | Natural Ventilation & Energy Conservation Interlocks |  | 2 |  | D | [5 empty] | OM 10.1 | Green Power |  | 1 |  | C
EE 7.1 | Local Energy Efficiency Incentives and Assistance |  | 2 |  | D or C
EE 8.1 | On-Site Renewable Energy Performance Monitoring |  | 1 |  | D & C | [7 empty] | TOTAL: | 250 | 0

## II Design
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Integration and Innovation Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. If claiming credit under II 10.1, fill in the name and value of the innovation credits. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued by selecting "x".
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
II 1.0 | Integrated Design | Integrated Design | 1 | 0 | Agenda, attendee list and workshop minutes for each integrated design workshop.
II 1.1 | School Master Plan | Enhanced Integrated Design | 2 | 0
| II 1.1.1 | Engage Construction Team Early | Choose 1 |  | Provide proof of the General Contractors involvement through contract or letter, including commitment and work completed.
| II 1.1.2 | Additional Integrated workshops |  |  | Submit meeting agendas and attendee lists with identifying roles for all four required workshops.
| II 1.1.3 | BIM | 1 |  | Documentation change: Narrative of model used and outcomes. |  | Documentation change: no drawings required.
II 2.1 | District Level Commitment | District Level Commitment | 2 | 0
| II 2.1.1 | Membership and CHPS Resolution | 1 |  | PDF of approved Governing Board-level Resolution if not on file at CHPS. Evidence of CHPS Membership. | pre-approved
| II 2.1.2 | ORC Resolution - see Revision | 1 |  | PDF of approved Governing Board-level Resolution (or equivalent).
II 3.1 | School Master Plan | School Master Plan | 2 | 0 | Attach a copy of the school master plan that covers 10-15 years from the present, and incorporates the features listed in the requirement for this credit.
II 4.1 | Educational Integration | High Performance Transition Plan | 1 | 0 | Submit a copy of the High Performance Transition Plan and a copy of a CHPS scorecard indicating which prerequisites and credits have been previously met and which are to be targeted in the scope of the current phased project.
II 5.0 | Innovation (CHPS Verified Projects only) | Educational Display | 1 | 0 |  |  | CDs must include the prominent location and details of the educational display, describing all main high performance features, as well as material specifications of any permanent display. Note: By policy, a graphic proof of the display is not required but is accepted if available. The team can submit a narrative describing the display at Design Review.
II 6.1 | #REF! | Educational Integration | 2 | 0
| II 6.1.1 | Educational Plan and Commitment Letter
| II 6.1.2 | CHPS Champions
| II 6.1.3 | High Performance Design Education
| II 6.1.4 | Integration of Educational Displays/Areas
II 7.1 | #REF! | Demonstration Areas | 1 | 0 |  |  | CDs must contain all the pertinent details of the demonstration areas. These include location and details of all three areas; the actual content of the signage (describing how the high performance features work, the environmental and economic benefits, and how the project exemplifies a holistic and integrated approach to sustainable design), as well as materials specifications of each of the demonstration areas/displays.
II 8.1 | #REF! | Climate Change Action / Carbon Footprint Reporting | 3 | 0
| II 8.1.1 | Greenhouse Gas Inventory | 2
| II 8.1.2 | Climate Action Plan | 1
II 9.1 | HVAC Design - ASHRAE 62.1 | Crime Prevention Through Environmental Design | 1 | 0
| II 9.1.1 | CPTED Workshop |  |  | Provide meeting agenda, list of attendees, and meeting minutes from CPTED workshop
| II 9.1.2 | CPTED Plan |  |  | Provide a written narrative, articulating the CPTED Plan strategies for the project, referencing any plans or other construction documentation that will demonstrate the incorporation of CPTED principles.
| II 9.1.3 | CPTED Design Review |  |  | Provide a letter from the CPTED professional with comments related to the review of the plan and meeting of the intent of the narrative above.
II 10.1 | Innovation (CHPS Verified Projects only) | Innovation (CHPS Verified Projects only) | 4 | 0 | For each new credit attempted: 1) define the credit and its purpose; 2) describe the proposed criteria for compliance including any applicable standards; 3) identify documentation requirements that verify compliance with the proposed credit; 4) submit a narrative describing how the credit reflects sustainable or environmental health and safety practices, and 5) submit documentation identified in 3). For claiming credit for exceptional performance in an existing credit area, submit a narrative of the design approach, including an explanation of how the original credit was exceeded by a significant amount.
| II 10.1.1 | Include Innovation Title Here | 1 -2
| II 10.1.2 | Include Innovation Title Here | 1 -2
| II 10.1.3 | Include Innovation Title Here | 1 -2
| II 10.1.4 | Include Innovation Title Here | 1 -2
|  |  | Subtotal | 0

## II Construction
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Integration and Innovation Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. If claiming credit under II 10.1, fill in the name and value of the innovation credits. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
II 1.0 | Integrated Design | Integrated Design | 1 | 0
II 1.1 | School Master Plan | Enhanced Integrated Design | 2 | 0
| II 1.1.1 | Engage Construction Team Early | Choose 1
| II 1.1.2 | Additional Integrated workshops |  |  | Submit meeting minutes that outline high performance goals, implementation procedures, topics needing further investigation or research, and a CHPS scorecard with attempted prerequisites and credits with team members responsible for each prerequisite and targeted credit.
| II 1.1.3 | BIM | 1
II 2.1 | District Level Commitment | District Level Commitment | 2 | 0
| II 2.1.1 | Membership and CHPS Resolution | 1
| II 2.1.2 | ORC Resolution | 1
II 3.1 | School Master Plan | School Master Plan | 2 | 0
II 4.1 | Educational Integration | High Performance Transition Plan | 1 | 0
II 5.0 | Innovation (CHPS Verified Projects only) | Educational Display | 1 | 0 | Submit at least two, and up to six photos of the installed educational display. At least one photo must show the context/location of the display, and at least one photo must show readable details of the content of the display.
II 6.1 | #REF! | Educational Integration | 2 | 0
| II 6.1.1 | Educational Plan and Commitment Letter |  |  | Present an educational plan and letter of commitment, or Governing Board-level Resolution, if appropriate, stating that the sustainability education will occur on a yearly basis.
| II 6.1.2 | CHPS Champions |  |  | Provide 4-6 photographs of educational display and demonstration areas showing CHPS Champion(s) and/or teacher(s) engaging with students.
| II 6.1.3 | High Performance Design Education |  |  | Submit any curriculum outlines, preliminary lesson plans, or project-based learning activities to be utilized in conjunction with high performance school features. Include a narrative of the District or School’s intent to implement this educational integration with a proposed typical timeline and identification of the CHPs Champion(s) and any educators or staff involved.
| II 6.1.4 | Integration of educational displays/areas |  |  | Reviewed in II 6.1.3 documentation.
II 7.1 | #REF! | Demonstration Areas | 1 | 0 | Submit two to three photos of each of the demonstration areas with a brief description of each. One of the required photos must show the Demonstration Area in context, and the other required photo must be a close-up and/or show readable detail of any signage. Thus a total of 6 minimum, and up to 9 photos should be submitted. Explain any changes from the Design Review submittals of this credit.
II 8.1 | #REF! | Climate Change Action / Carbon Footprint Reporting | 3 | 0
| II 8.1.1 | Greenhouse Gas Inventory | 2 |  | Submit a copy of the baseline GHG inventory and/or GHG inventory completed post project completion, using the Campus Carbon Calculator or equivalent protocol.
| II 8.1.2 | Climate Action Plan | 1 |  | Submit a copy of the approved Governing Board-level Resolution committing to a Climate Action Plan, or Statement of Intent signed by the Governing Board to CHPS along with proof of any optional Climate Registry or Campus Carbon Calculator online registration. Submit a copy of the Board approved Climate Action Plan.
II 9.1 | HVAC Design - ASHRAE 62.1 | Crime Prevention Through Environmental Design | 1 | 0
| II 9.1.1 | CPTED Workshop
| II 9.1.2 | CPTED Plan
| II 9.1.3 | CPTED Design Review
II 10.1 | Innovation (CHPS Verified Projects only) | Innovation (CHPS Verified Projects only) | 4 | 0 | If the innovation has a physical component (i.e. is not purely performance-based,) submit photographs that best highlight the high performance aspects of the innovation. Possible examples: photos of a large photovoltaic array(s), an urban school farm next to a culinary academy, or details of the construction of a building designed for disassembly.
| II 10.1.1 | Include Innovation Title Here | 1 -2
| II 10.1.2 | Include Innovation Title Here | 1 -2
| II 10.1.3 | Include Innovation Title Here | 1 -2
| II 10.1.4 | Include Innovation Title Here | 1 -2
|  |  | Subtotal | 0

## EQ Design
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Indoor Environmental Quality Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued by selecting "x".
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
EQ 1.0 |  | HVAC Design - ASHRAE 62.1 | 7 | 0 |  | Completed ASHRAE 62.1-2010 Mechanical Ventilation Calculation Worksheet (electronic). Certification by the Mechanical Engineer that the mechanical system design meets these requirements. |  | CDs must include diagrams and calculations clearly showing that the design meets the requirements. Provide drawings showing all air intake openings. Clearly identify hazardous and noxious contaminant sources on the drawings and bubble each air intake with a 50 ft. diameter circle (25 ft. radius) on the drawings. CDs must clearly specify the correct type of filter.
EQ 1.1 |  | Enhanced Filtration | 3 | 0 |  |  |  | CDs must clearly specify the correct type of filter.
| EQ 1.1.1 | MERV 13 or 14 | 2
| EQ 1.1.2 | MERV 15 or higher | 3
EQ 1.2 |  | Dedicated Outdoor Air System | 3 | 0 |  | Show and describe how the dedicated outdoor air HVAC system designs seeking credit: 1) Delivers 100% fresh outdoor air directly into each space without first mixing it with any recirculated building air (i.e. variable volume, displacement ventilation dual duct, etc.); and 2) Integrates an adequate energy recovery strategy to meet ANSI/ASHRAE/IESNA Standard 90.1-2010 air-to-air energy recovery requirements. May be shown in CDs or as separate attachment(s). |  | Provide engineering documentation on the drawings in tabular format demonstrating compliance with ANSI/ASHRAE Standard 62.1-2010 using the Ventilation Rate Method.
EQ 2.1 |  | Pollutant and Chemical Source Control | 2 | 0
| EQ 2.1.1 | Off-Gassing | Choose 3 for 1 points or 5 for 2 points. |  |  | Provide a letter from the engineer certifying that the spaces stated in the prerequisite are ventilated to maintain a 1-3 Pa negative pressure, compared to their immediate environment, and are exhausted at a rate of 0.50 cfm/ft2. List the specific spaces in the project that comply. |  | Construction drawings shall specify spaces stated in the prerequisite are ventilated to maintain a 1-3 Pa negative pressure, compared to their immediate environment, and are exhausted at a rate of 0.50 cfm/ft2.
| EQ 2.1.2 | Walk Off Mats | [5 empty] | Construction drawings which identify walk-off mats or equivalent track-off mitigation measures at all high volume entrances with lengths.
| EQ 2.1.3 | Control Surface Dust | [5 empty] | Construction drawings which identify hard-surfaced paving not less than six feet by six feet at all outside entrances or doorways to any school room.
| EQ 2.1.4 | Electric Ignitions for Gas-Fired Equipment | [5 empty] | Reference specifications and subsections for gas-fired equipment that uses electric ignitions to light gas burners.
| EQ 2.1.5 | No Mobile Fossil-Fuel Equipment Indoors |  |  |  | Provide a letter signed by the school superintendent or other authorized individual stating that no indoor mobile fossil fuel burning equipment will be used in the new or renovated facility. If signed by anyone other than the superintendent, provide supporting documentation to indicate that the individual has authority to make the necessary committments.
| EQ 2.1.6 | CO Monitors | [5 empty] | Reference CD sheet numbers identifying required carbon monoxide monitors. Provide drawings that show all air intake openings and clearly identify hazardous and noxious contaminant sources on the drawings.
| EQ 2.1.7 | Electronics Compliance |  |  |  | Provide a copy of District purchasing policy or letter from District regarding purchasing of equipment that complies with the referenced requirements.
EQ 3.0 |  | Outdoor Moisture Management | 2 | 0 |  |  |  | Construction drawings must include a site plan showing required drainage, and diagrams and details of condensate system must show drain tap and gravity drainage system. Construction drawings must include irrigation plans showing that sprinkler ranges do not intersect with buildings.
EQ 4.1 |  | Ducted Returns | 2 | 0 |  |  |  | Reference plan sheets that show ducted returns.
EQ 5.1 |  | Construction Indoor Air Quality Management | 5 | 0
| EQ 5.1.1 | SMACNA for all projects | 1 |  |  |  |  | Construction drawings must include Indoor Air Quality management features
| EQ 5.1.2 | SMACNA for reno/modernization | 2
| EQ 5.1.3 | Building Flush Out - Select Option Used | 2
EQ 5.2 |  | (Indoor)Moisture Management | 3 | 0
| EQ 5.2.1 | Mold Prevention | 2
| EQ 5.2.2 | Product Specifications | 1
EQ 6.1 |  | Post Construction Indoor Air Quality | 1 | 0 |  |  |  | Reference specifications for vacuuming of carpeted floors prior to full building occupancy using a certified vacuum or high efficiency particulate air (HEPA) filter vacuum that meets or exceeds the CRI Seal of Approval/Green Label Vacuum Cleaner Program and for phased, occupied renovations adjacent areas that may be affected by construction activities.
EQ 7.0 |  | Low Emitting Materials | 2 | 0 |  | Use the CHPS worksheet for Low Emitting Materials at https://chps.net/project-downloads as guide and for compliance tracking. |  | Reference specification sections for each of the low-emitting products with the maximum allowed VOC concentration levels per product and certifications as required.
EQ 7.1 |  | Additional Low Emitting Materials | 6 | 0 |  |  |  | Reference specification sections for each of the low-emitting products with the maximum allowed VOC concentration levels per product and certifications as required.
| EQ 7.1.1 | Adhesives & Sealants | 1
| EQ 7.1.2 | Flooring Systems | 1
| EQ 7.1.3 | Composite Wood and Agrifiber Products | 1
| EQ 7.1.4 | Furniture & Furnishings | 1
| EQ 7.1.5 | Paints & Coatings | 1
| EQ 7.1.6 | Ceiling & Wall Systems | 1
EQ 8.1 |  | Low Radon | 1 | 0 |  | The Project Team shall provide a letter signed by the architect stating, but not limited, to all of the following: • The school and site have been assessed and measured in accordance with US EPA Guidance for Radon Testing in Schools, Radon Measurement in Schools – Revised Edition (EPA 402-R-92-014) • Radon mitigations have been made in accordance to US EPA Guidance for Radon Mitigation if radon air concentrations equal or exceed 4 pCi/L.
EQ 9.1 |  | Thermal Comfort - ASHRAE 55 | 6 | 0 |  | Provide supporting documentation with PMV/PPD calculations, and/or ASHRAE Comfort Tool results that standards have been met. |  | CD's must include a table with seasonal temperatures and humidity design criteria, and metabolic rates for each space.
EQ 10.1 |  | Individual Controllability | 1 | 0 |  |  |  | Reference specifications for separate temperature and ventilation sensors and controls for each classroom. CDs reference sheet or spec section which shows adjustable temperature control devices in each of the classroom types required.
EQ 10.2 |  | Controllability of Systems | 1 | 0 |  |  |  | CDs reference sheet or spec section which shows window schedules which show location of operable windows in each classroom. Drawings must show operable windows in each classroom.
EQ 11.0 |  | Daylighting: Glare Protection | 4 | 0 |  | Provide PDF results of a daylight simulation model, a computer based simulation model, a physical model, or manually calculated sunlight penetration in the classrooms to avoid direct sunlight on teaching surfaces and work planes. If submitting a computer simulation, submit a screenshot of the input values for each model and the results for each classroom type for each of the nine conditions. If submitting a physical model, submit a photo of the model and picture of each of the nine lighting conditions. |  | Construction drawings must show required photocontrols, sensors, lighting zones and set points.
EQ 11.1 |  | Daylight Availability | 8 | 0 | Complete tab EQ 11.1 - Daylighting |  |  | Construction drawings must identify spaces that qualify as daylit, and the percentage of daylit classrooms. Plans and sections will be used for verification. For each classroom group identified on the CHPS Verified Documentation Template, provide the required computer based simulation results including point-by-point lighting predictions as appropriate.
| EQ 11.1 | Classroom spaces | 1-6
| EQ 11.2 | Support spaces | 1-2
EQ 12.1 |  | Views | 3 | 0 | Complete tab EQ 12.1 - View Windows |  |  | Construction drawings must include required calculations for view windows. Reference interior elevations to confirm dimensions.
| EQ 12.1.1 | Access to Views, 70% | 1
| EQ 12.1.2 | Access to Views, 80% | 2
|  | Access to Views, 90% | 3
EQ 13.1 |  | Electric Lighting Performance | 4 | 0 |  |  |  | Submit specifications and subsections and/or drawings that confirm compliance.
| EQ 13.1.1 | CRI Requirements | 2
| EQ 13.1.2 | RoHS Requirements
| EQ 13.1.3 | LED Performance | 2
EQ 13.2 |  | Superior Electric Lighting Performance | 5 | 0 |  |  |  | CDs, particularly the electrical plans must include point-by-point lighting calculations for each classroom type. CDs, ideally the electrical schedule must include the required lighting and system features. Also reference specifications and sub-sections that confirm compliance.
| EQ 13.2.1 | Multi-Scene | 2
| EQ 13.2.2 | Multi-Mode
| EQ 13.2.3 | General Illumination
| EQ 13.2.4 | A/V Illumination
| EQ 13.2.5 | Whiteboard Illumination
| EQ 13.2.6 | Teacher Controls | 1
| EQ 13.2.7 | Advanced Classroom Controls
| EQ 13.2.8 | High Performance Lighting Systems | 2
EQ 14.0 |  | Acoustical Performance | 4 | 0 |  | Provide PDF of the report from a qualified acoustical consultant verifying that classrooms have been designed to meet the relevant requirements including 1) measures taken to limit sound transmission between core learning spaces and adjacent spaces, 2) proof of floor-ceiling assemblies that meet the IIC of 50 or greater, 3) compliance with sound and vibration control requirements outlined in the HVAC Applications ASHRAE Handbook, Chapter 47, and 4) calculations showing compliance with ANSI S12.60. |  | CDs should reflect measures taken to meet the required acoustic levels.
EQ 14.1 |  | Enhanced Acoustical Performance | 4 | 0 |  | Provide PDF of the report from a qualified acoustical consultant confirming compliance as detailed in Criteria. |  | CDs should reflect measures taken to meet the required acoustic levels.
| EQ 14.1.1 | Reverberation Time Requirements
| EQ 14.1.2 | Background Noise Requirements
| EQ 14.1.3 | Noise Isolation Requirements
EQ 15.1 |  | Low-EMF Wiring | 1 | 0 |  |  |  | Reference specifications requiring compliance with the necessary codes including testing of room for compliance.
EQ 15.2 |  | Low-EMF Best Practices | 2 | 0
| EQ 15.2.1 | Computer Best Practices | Choose up to 2 for 1 point each |  |  | The Project Team shall provide a letter stating the following: 1. Wiring in all school rooms is compliant with the currently adopted US National Electrical Code (NEC) in the local jurisdiction, and applicable state electrical code. 2. All school rooms are free of common wiring errors.
| EQ 15.2.2 | Wired LAN | [5 empty] | Submit wiring diagrams indicating LAN wiring to all rooms with computers.
| EQ 15.2.3 | Wired Phones |  |  |  | A district resolution indicating compliance with other required measures. |  | Submit wiring diagrams indicating phone wiring to all rooms with telephones.
EQ 16.1 |  | Mercury Reduction | 1 | 0 |  |  |  | Reference plan sheets and specification sections which show lighting fixtures and lamps specified in the project.
EQ 17.1 |  | Building Envelope Integrity | 2 | 0 |  |  |  | Architectural and MEP plans must have detail and notes that describe the requirement for sealing the opening left in a wall or floor after the installation of a pipe, conduit, cable, duct or other MEP device.
|  |  | Subtotal | 0

## EQ 11.1 - Daylighting
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
EQ 11.1 - Daylight Availability
Instructions: Complete cells C6 and C7, and shaded columns A - C. For Column B, use "Other Support" for library, cafeteria, auditorium, and multi-purpose/commons area. Complete one column for 11.1.1 (D, E, or F) plus column G and for 11.1.2 (H or J). Note that you must only comply with one path per sub-credit. Sorting is enabled on this sheet for convenience.
Select Classroom Space Approach |  | Multiple Point in Time
Select Support Space Approach |  | Multiple Point in Time
|  |  | 11.1.1: Classrooms |  |  |  | 11.1.2: Support Spaces
|  |  | Average Illuminance Levels |  |  |  | Admin Offices |  | Other Support Spaces
Space Label | Space Type | Floor Area | Area with over 20 fc Average Illuminance | Area with over 35 fc Average Illuminance | Area with over 50 fc Average Illuminance | Complies? | Area with over 30 fc Average Illuminance | Complies with sDS300/50% | Area with over 40 fc Average Illuminance | Complies with sDS400/50%
Compliance Summary
Classrooms |  | Admin Spaces |  |  | Other Support Spaces
Total Floor Area | 0 | Total Floor Area |  | 0 | Total Floor Area |  | 0
|  | Total Area over 30 fc average illuminance |  |  | Total Area over 40 fc average illuminance
|  | Percent of area with over 30 fc average illuminance |  |  | Percent of area with over 40 fc average illuminance
Area complying with sDS Requirements | 0 | Area complying with sDS Requirements |  | 0 | Area complying with sDS Requirements |  | 0
Percent of area complying with sDS Requirements | 0% | Percent of area complying with sDS Requirements |  | 0% | Percent of area complying with sDS Requirements |  | 0%

## EQ 12.1- View Windows
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
EQ 12.1 - View Windows
Instructions: Complete shaded columns A - E in the table bellow. The remaining columns will automatically be calculated. Use one line for each set of identical spaces. Sorting is enabled on this sheet for convenience. Be sure to select entire table before sorting. Be sure to enter all related spaces -- not only those that contain view windows.
Space Name | Area per Space (ft2) | Number of Similar Spaces | View Window Area in Each Space (ft2) | Width of View Windows in Each Space (ft) | Total Floor Area of Spaces (ft2) | Qualifying Areas (ft2) Based On: |  | Qualifying Area (ft2) per Space | Total Qualifying Floor Area (ft2)
[6 empty] | View Window Area | View Window Width
Compliance Summary
Total Qualifying Floor Area in Project: |  | 0
Total Overall Floor Area in Project: |  | 0
Percent of Floor Areq Qualifying: |  | 0%

## EQ Construction
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Indoor Environmental Quality Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
EQ 1.0 |  | HVAC Design - ASHRAE 62.1 | 7 | 0 | Submit receipts, proof of purchase or installation, or photos of installed filter(s).
EQ 1.1 |  | Enhanced Filtration | 3 | 0 | Submit receipts, proof of purchase or installation, or photos of installed filter(s).
| EQ 1.1.1 | MERV 13 or 14 | 2
| EQ 1.1.2 | MERV 15 or higher | 3
EQ 1.2 |  | Dedicated Outdoor Air System | 3 | 0
EQ 2.1 |  | Pollutant and Chemical Source Control | 2 | 0
| EQ 2.1.1 | Off-Gassing | Choose 3 for 1 points or 5 for 2 points.
| EQ 2.1.2 | Walk Off Mats |  |  | Where removable mats are specified, provide photo(s) of walk-off mats or equivalent track-off mitigation at required areas.
| EQ 2.1.3 | Control Surface Dust
| EQ 2.1.4 | Electric Ignitions for Gas-Fired Equipment
| EQ 2.1.5 | No Mobile Fossil-Fuel Equipment Indoors
| EQ 2.1.6 | CO Monitors
| EQ 2.1.7 | Electronics Compliance
EQ 3.0 |  | Outdoor Moisture Management | 2 | 0 | Submit photos of installed measures, minimum of one photo for each measure.
EQ 4.1 |  | Ducted Returns | 2 | 0
EQ 5.1 |  | Construction Indoor Air Quality Management | 5 | 0
| EQ 5.1.1 | SMACNA for all projects | 1 |  | Submit photos, taken at various times during construction, with a narrative for each photo describing compliance with the various requirements.
| EQ 5.1.2 | SMACNA for reno/modernization | 2
| EQ 5.1.3 | Building Flush Out - Select Option Used | 2 |  | Submit a narrative describing implementation of the flush out option chosen, photos and sign-off from the Contractor or Inspector of Record that it took place.
EQ 5.2 |  | (Indoor)Moisture Management | 3 | 0 | Submit photos taken at various times during construction, with a narrative for each photo describing techniques for protecting building materials from mold and moisture damage.
| EQ 5.2.1 | Mold Prevention | 2
| EQ 5.2.2 | Product Specifications | 1
EQ 6.1 |  | Post Construction Indoor Air Quality | 1 | 0 | Submit a signed letter from the Superintendent, or designee, stating that carpeting in occupied areas of the school shall be vacuumed on a daily basis, and only certified CRI SOA vacuums with manufacture model identification numbers listed on the CRI SOA website List will be permitted to be used for daily vacuuming of carpet in the school. All maintenance and cleaning staff shall keep a written log of proper filter use and use tracking labels.
EQ 7.0 |  | Low Emitting Materials | 2 | 0 | Submit approved submittal with cover sheet and applicable materials (receipts, proof of purchase or installation) for each low-emitting product. Provide calculations indicating compliance if less than 100% of a given product type is compliant with requirements. Optional to utilize and submit CHPS worksheet for Low Emitting Materials.
EQ 7.1 |  | Additional Low Emitting Materials | 6 | 0 | Submit approved submittal with cover sheet and applicable materials (receipts, proof of purchase or installation) for each low-emitting product. Provide calculations indicating compliance if less than 100% of a given product type is compliant with requirements. See above.
| EQ 7.1.1 | Adhesives & Sealants | 1
| EQ 7.1.2 | Flooring Systems | 1
| EQ 7.1.3 | Composite Wood and Agrifiber Products | 1
| EQ 7.1.4 | Furniture & Furnishings | 1
| EQ 7.1.5 | Paints & Coatings | 1
| EQ 7.1.6 | Ceiling & Wall Systems | 1
EQ 8.1 |  | Low Radon | 1 | 0 | Submit proof of remediation if needed corrections were delayed until construction.
EQ 9.1 |  | Thermal Comfort - ASHRAE 55 | 6 | 0
EQ 10.1 |  | Individual Controllability | 1 | 0 | Provide approved submittal with cover sheet and applicable materials and/or operation of temperature and ventilation sensors and controls, and photos of installed temperature control devices.
EQ 10.2 |  | Controllability of Systems | 1 | 0 | Provide approved submittal with cover sheet and applicable materials, and photos of installed operable windows.
EQ 11.0 |  | Daylighting: Glare Protection | 4 | 0
EQ 11.1 |  | Daylight Availability | 8 | 0
| EQ 11.1 | Classroom spaces | 1-6
| EQ 11.2 | Support spaces | 1-2
EQ 12.1 |  | Views | 3 | 0
| EQ 12.1.1 | Access to Views, 70% | 1
| EQ 12.1.2 | Access to Views, 80% | 2
|  | Access to Views, 90% | 3
EQ 13.1 |  | Electric Lighting Performance | 4 | 0 | Submit approved submittal with cover sheet and applicable materials that contain the required specifications from the manufacturer.
| EQ 13.1.1 | CRI Requirements | 2
| EQ 13.1.2 | RoHS Requirements
| EQ 13.1.3 | LED Performance | 2
EQ 13.2 |  | Superior Electric Lighting Performance | 5 | 0 | Submit approved submittal with cover sheet and applicable materials for the required lighting system. Submit photos of installed lighting system in typical classroom.
| EQ 13.2.1 | Multi-Scene | 2
| EQ 13.2.2 | Multi-Mode
| EQ 13.2.3 | General Illumination
| EQ 13.2.4 | A/V Illumination
| EQ 13.2.5 | Whiteboard Illumination
| EQ 13.2.6 | Teacher Controls | 1
| EQ 13.2.7 | Advanced Classroom Controls
| EQ 13.2.8 | High Performance Lighting Systems | 2
EQ 14.0 |  | Acoustical Performance | 4 | 0 | Submit a PDF of the acoustical testing report and/or letter from consultant confirming testing was completed and the outcome. Testing reports and measures taken to meet the required acoustic levels.
EQ 14.1 |  | Enhanced Acoustical Performance | 4 | 0 | Submit a PDF of the acoustical testing report and/or letter from consultant confirming testing was completed and the outcome. Testing reports and measures taken to meet the required acoustic levels.
| EQ 14.1.1 | Reverberation Time Requirements
| EQ 14.1.2 | Background Noise Requirements
| EQ 14.1.3 | Noise Isolation Requirements
EQ 15.1 |  | Low-EMF Wiring | 1 | 0 | Measurement Report from a third party or testing lab documenting compliance of each classroom.
EQ 15.2 |  | Low-EMF Best Practices | 2 | 0 | Provide a report from athird party or testing lab documenting that the correctness of the wiring has been checked in each room and the ELF magnetic field exposure measured levels (tRMS) comply with 1 mG (100 nT) in new construction and 2 mG (200 nT) in existing school modernizations.
| EQ 15.2.1 | Computer Best Practices | Choose up to 2 for 1 point each
| EQ 15.2.2 | Wired LAN
| EQ 15.2.3 | Wired Phones
EQ 16.1 |  | Mercury Reduction | 1 | 0
EQ 17.1 |  | Building Envelope Integrity | 2 | 0 | Photographs and check off sheets must be submitted to demonstrate that the openings have been sealed after installation of a pipe, conduit, cable, duct, or other MEP device.
|  |  | Subtotal | 0

## EE Design
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Energy Efficiency Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued by selecting "x".
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
EE 1.0 |  | Energy Performance | 5 | 0 | The full and complete report, in 8.5x11 format, shall be submitted for review as is required for typical plan submittal. Provide preliminary ENERGY STAR score. If needed to confirm compliance, the entire energy model may be requested in its original electronic format, not as a pdf. Make this file available as needed.
EE 1.1 |  | Superior Energy Performance | 40 | 0 | See EE 1.0
EE 2.1 |  | Zero Net Energy Bonus | 2 | 0
| EE 2.1.1 | Zero Net-Energy Capable |  |  | Provide output reports from the energy model simulation which show the predicted annual energy consumption of the proposed building. Include both the utility consumption (kwh and therms) and the overall energy consumption (BTUs). Provide a report showing both the site and source energy consumption. Provide a narrative which clearly outlines all deviations from the standard compliance model and the justification for such deviations. Provide a projection of the annual energy generation of the renewable energy systems. |  | Construction drawings must include a separate sheet(s) describing the intent of making the school PV Ready. In addition, the sheets must include the PV Watts calculations, one-line electrical diagrams, mechanical mounting diagrams, planned PV location(s), and proof (structural load calculations) that the roof can support the system as designed.
| EE 2.1.2 | Zero Net-Energy |  |  |  |  | Construction drawings must include calculations showing the renewable energy systems performance. Use the same calculations or methodology used for EE 1.0/1.1 to show that the installed system will supply the required percentage of the load. Construction drawings must include the location of the system and details for installation.
EE 3.0 |  | Building Systems Verification | 4 | 0 | Provide the project’s Commissioning Specifications, Commissioning Plan and Owners Project Requirements (OPR). Provide a copy of the commissioning agent’s contract. |  | CDs must include the project’s Commissioning Specifications documenting that commissioning is required, at what stages and where the Commissioning Plan may be found for more information.
EE 3.1 |  | Additional Building Systems Verification Qualifications | 1 | 0 | Provide documentation showing the Commissioning Agent’s license number and experience.
EE 3.2 |  | Building Envelope Verification | 1 | 0 | Provide additional scope documenting NIBS Guidelines or equivalent.
EE 4.1 |  | Environmentally Preferable Refrigerants | 1 | 0 |  |  | Provide CDs, most likely the mechanical specifications, documenting which refrigerants have been specified and that specified equipment has no CFC-based refrigerants.
EE 5.1 |  | Energy Management System | 2 | 0 |  |  | Reference the portions of the CDs that include the required Energy Management System features. CDs must include a System Architecture Diagram highlighting metering of all systems. The specifications should include a list of all the sensors (measurements to be taken throughout the building) and actuators (devices to be controlled). It should also specify the protocol for communication between the sensors, actuators and the computer (controller).
EE 5.2 |  | Advanced Energy Management System and Submetering | 2 | 0 |  |  | Construction drawings must include the additional features in the specifications and plans for the Energy Management System noted in EE 5.1.
| EE 5.2.1 | Automated Demand Management
| EE 5.2.2 | Data Acquisition and Storage
EE 6.1 |  | Natural Ventilation & Energy Conservation Interlocks | 2 | 0 |  |  | Reference CDs, ideally the mechanical plans and specifications, which include the required system details.
EE 7.1 |  | Local Energy Efficiency Incentives and Assistance | 2 | 0 | Submit copies of utility and/or governmental program documents that demonstrate participation in available energy efficiency programs.
EE 8.1 |  | On-Site Renewable Energy Performance Monitoring | 1 | 0 |  |  | Reference the portions of the CDs that reference on-site energy production monitoring system.
|  |  | Subtotal | 0

## EE Construction
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Energy Efficiency Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
EE 1.0 |  | Energy Performance | 5 | 0
EE 1.1 |  | Superior Energy Performance | 40 | 0
EE 2.1 |  | Zero Net Energy Bonus | 2 | 0
| EE 2.1.1 | Zero Net-Energy Capable
| EE 2.1.2 | Zero Net-Energy
EE 3.0 |  | Building Systems Verification | 4 | 0 | Provide the final Commissioning Report. Provide the Operations and Maintenance Manual. Provide proof of delivered trainings for both types of staff. Include agendas, attendee lists and samples of materials covered. Provide the User’s Guide and where it is available for staff access.
EE 3.1 |  | Additional Building Systems Verification Qualifications | 1 | 0
EE 3.2 |  | Building Envelope Verification | 1 | 0 | Provide final commissioning report with additional scope.
EE 4.1 |  | Environmentally Preferable Refrigerants | 1 | 0
EE 5.1 |  | Energy Management System | 2 | 0 | Provide proof of purchase and installation.
EE 5.2 |  | Advanced Energy Management System and Submetering | 2 | 0 | Provide proof of purchase and installation.
| EE 5.2.1 | Automated Demand Management
| EE 5.2.2 | Data Acquisition and Storage
EE 6.1 |  | Natural Ventilation & Energy Conservation Interlocks | 2 | 0 | Provide proof of purchase and installation.
EE 7.1 |  | Local Energy Efficiency Incentives and Assistance | 2 | 0 | Submit documentation to confirm participation in any programs that could not be utilized prior to construction.
EE 8.1 |  | On-Site Renewable Energy Performance Monitoring | 1 | 0 | Submit the url for the web-based reporting.
|  |  | Subtotal | 0

## WE Design
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Water Efficiency Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued by selecting "x".
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
WE 1.1 |  | Minimum Reduction in Indoor Potable Water Use | 4 | 0 |  |  |  | CDs must include a plumbing fixture schedule that includes fixture performance requirements.
WE 2.1 |  | Reduce Potable Water Use for Sewage Conveyance | 3 | 0
| WE 2.1.1 | Shut-off capabilities | R |  |  |  |  | CDs must identify shut-off capabilities for restroom facilities.
| WE 2.1.2 | 20% Reduced Water Use | 2 |  | Complete Table WE 2.1 - Sewage Conveyance |  |  | Construction drawings must include a plumbing fixture schedule that reflects the indoor water calculations.
| WE 2.1.3 | 40% Reduced Water Use | 3
WE 3.1 |  | Irrigation and Exterior Water Budget - Use Reduction | 3 | 0
| WE 3.1.1 | In-ground irrigation systems for recreational fields | [5 empty] | Construction drawings must include complete landscape drawings identifying irrigation system components and soil moisture meters if required.
| WE 3.1.2 | Water budget for landscape (recreational and non-recreational) | [5 empty] | CDs must include complete landscape drawings including all outputs of the U.S. Environmental Protection Agency’s WaterSense Water Budget Tool including both the Landscape Water Requirement (LWR) and Landscape Water Allowance (LWA). The outputs should reflect the landscape plans provided.
WE 4.1 |  | Reduce Potable Water Use for Non-Recreational Landscaping | 3 | 0
| WE 4.1.1 | 20% Reduced Water Use | 1 |  |  |  |  | CDs must include complete landscape drawings including all outputs of the U.S. Environmental Protection Agency’s WaterSense Water Budget Tool, including both the Landscape Water Requirement (LWR) and Landscape Water Allowance (LWA).
| WE 4.1.2 | 35% Reduced Water Use | 2 |  |  |  |  | See WE 4.1.1
| WE 4.1.3 | Do not install permanent irrigation systems | Choose 1 Option for 3Points |  |  | If there is no permanent irrigation, provide a letter signed by the landscape architect certifying that permanent irrigation systems have not been specified for non-playing field areas AND that only drought resistant plants and grasses have been specified for these areas. The letter must clearly state that no irrigation, manual or otherwise, will be needed in these areas after plants are established. The letter must also indicate the species of plants.
| WE 4.1.4 | 50% Reduced Water Use | [5 empty] | See WE 4.1.1
WE 5.1 |  | Reduce Potable Water Use for Recreational Landscaping | 2 | 0 |  |  |  | CDs must include complete landscape drawings including all outputs of the U.S. Environmental Protection Agency’s WaterSense Water Budget Tool including both the Landscape Water Requirement (LWR) and Landscape Water Allowance (LWA).
| WE 5.1.1 | 25% Reduced Water Use | 1
| WE 5.1.2 | 50% Reduced Water Use | 2
WE 6.1 |  | Irrigation Systems Operational Verification | 1 | 0 |  | Provide a PDF of the Irrigation Commissioning Plan which includes items listed in the Implementation Section of the credit as well as who will be responsible for the commissioning and when it will occur.
WE 7.1 |  | Water Management System | 3 | 0 |  |  |  | Provide the Construction Documents with the plans and specifications for all sensors and actuators and the protocol for communication between the sensor, actuators, and the computer (controller).
| WE 7.1.1 | Simple | 1
| WE 7.1.2 | Complex | 3
|  |  | Subtotal | 0

## WE 2.1 - Sewage Conveyance
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
WE 2.1 - Sewage Conveyance
Instructions: Complete shaded columns A and B, Annual School Days (cell H6, and Rainwater Budget (Row 31) below. Use one line for each distinct fixture style used in the school. For "Other" Fixtures not included in the drop down list, complete columns A through F. Sorting is enabled on this sheet for convenience. Be sure to select entire table before sorting.
[6 empty] | Number of Occupants | 0
[6 empty] | Annual School Days | 180
Fixture Type | Design Flowrate (gal/flush, gal/min. or gal/load) | Baseline Flowrate (gal/flush, gal/min. or gal/load) | Duration (flushes, mins, or loads) | Occupants | Daily Uses | Baseline Daily Consumption (gal) | Designed Daily Consumption (gal)
Toilet (male) | 1.28 | 1.6 | 1 | 0 | 1 | 0 | 0
Toilet (female) | 1.28 | 1.6 | 1 | 0 | 3 | 0 | 0
Urinal | 0.13 | 1 | 1 | 0 | 2 | 0 | 0
Other | [5 empty] | 0 | 0
Other | [5 empty] | 0 | 0
Other | [5 empty] | 0 | 0
Compliance Summary
[6 empty] | Baseline | Design
[5 empty] | Total Daily Volume (gal) | 0 | 0
[5 empty] | Annual School Days | 180 | 180
[5 empty] | Annual Water Use (gal) | 0 | 0
[5 empty] | Projected Annual Rainwater Volume Use (gal) | ---------------
[5 empty] | Annual Consumption (gal) | 0 | 0
[6 empty] | Percent Savings: | 0%
[5 empty] | Percent Budget = Rainwater: |  | 0%

## WE Construction
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Water Efficiency Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
WE 1.1 |  | Minimum Reduction in Indoor Potable Water Use | 4 | 0 | Provide approved submittal with cover sheet and applicable materials for the water-efficient products purchased.
WE 2.1 |  | Reduce Potable Water Use for Sewage Conveyance | 3 | 0 | Provide approved submittal with cover sheet and applicable materials for the water-efficient products purchased.
| WE 2.1.1 | Shut-off capabilities | R
| WE 2.1.2 | 20% Reduced Water Use | 2
| WE 2.1.3 | 40% Reduced Water Use | 3
WE 3.1 |  | Irrigation and Exterior Water Budget - Use Reduction | 3 | 0 | Provide approved submittal with cover sheet and applicable materials, photos or other supporting documents that show compliance.
| WE 3.1.1 | In-ground irrigation systems for recreational fields
| WE 3.1.2 | Water budget for landscape (recreational and non-recreational)
WE 4.1 |  | Reduce Potable Water Use for Non-Recreational Landscaping | 3 | 0
| WE 4.1.1 | 20% Reduced Water Use | 1 |  | Provide approved submittal with cover sheet and applicable materials, photos or other supporting documents that show compliance.
| WE 4.1.2 | 35% Reduced Water Use | 2 |  | See WE 4.1.1
| WE 4.1.3 | Do not install permanent irrigation systems | Choose 1 Option for 3Points
| WE 4.1.4 | 50% Reduced Water Use |  |  | See WE 4.1.1
WE 5.1 |  | Reduce Potable Water Use for Recreational Landscaping | 2 | 0 | Provide approved submittal with cover sheet and applicable materials, photos or other supporting documents that show compliance.
| WE 5.1.1 | 25% Reduced Water Use | 1
| WE 5.1.2 | 50% Reduced Water Use | 2
WE 6.1 |  | Irrigation Systems Operational Verification | 1 | 0 | Provide the final commissioning report.
WE 7.1 |  | Water Management System | 3 | 0
| WE 7.1.1 | Simple | 1
| WE 7.1.2 | Complex | 3
|  |  | Subtotal | 0

## SS Design
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Sustainable Sites Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued by selecting "x".
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
SS 1.0 |  | Site Selection | 2 | 0
|  | New School & New Building Requirements |  |  |  | Provide Phase 1, and Phase 2 if necessary, Environmental Site Assessment in accordance with ASTM E1527-05. The Site Assessment should include all items covered in SS 1.0 regardless of whether or not they are normally covered in a Phase 1 or Phase 2 Environmental Site Assessment.
|  | Major Modernizations |  |  |  | Major modernization projects must provide a copy of a completed OPSC FIT (Facility InspectionTool), EPA Tools For Schools program assessment, or an equivalent assessment.
SS 2.1 |  | Environmentally Sensitive Land / Preserve Greenspce & Parklands | 2 | 0 |  | Provide site parcel number and physical address (or intersections if street address is unknown), as well as check boxes to confirm project meets credit requirements. Provide a drawing (site plan) that identifies the building footprint and any wetlands within 100'. On the same drawing include the 100-yr flood plain and a line indicating 5' in elevation above the flood line if either cross the site (use a map from the FEMA web site to identify 100-yr flood plain), or provide equivalent documentation by attaching a PDF of part of a CEQA report, or other Mitigated Negative Declaration item.
| SS 2.1.1 | Parkland | 1 |  |  | Provide a current existing site survey with the school site property boundaries marked in bold.
| SS 2.1.2 | Greenfields |  |  |  | Provide evidence of historical property use through submittal of aerial photographs, environmental assessment or similar verification that property is not a greenfield.
| SS 2.1.3 | Endangered Species |  |  |  | Provide the excerpt of document indicating that the site is not habitat to any species on the federal or state, threatened or endangered list.
| SS 2.1.4 | Farmland |  |  |  | Provide NRCS map indicating site location
| SS 2.1.5 | Floodplain | 1 |  |  | Provide the site plan indicating site is located five feet or higher than the 100-year flood plain.
| SS 2.1.6 | Wetlands |  |  |  | Provide the site plan indicating that the site is located more than 100 feet from wetlands. In Construction Documents, outline consequences to the contractor if wetland boundaries are not respected. Show location of fencing to mitigate grading impacts on construction site plan or grading plan.
| SS 2.1.7 | Body of water |  |  |  | Provide the site plan indicating that the site construction is located more than 50 feet from water bodies.
SS 3.1 |  | Minimize Site Disturbance | 1 | 0
| SS 3.1.1 | Floor Area Ratio |  |  | Complete Table SS 3.1 - Minimize Site Disturba |  |  | CDs, ideally the title page, the Code page, and/or CHPS annotated scorecard that provides the overview of the project, must include both the building’s gross square footage and the building footprint square footage.
| SS 3.1.2 | Excess Parking |  |  | Complete Table SS 3.1 - Minimize Site Disturba |  |  | For new construction, provide a site plan showing parking layout (indicate total number of parking spaces). Highlight preferred parking spaces and provide a signage schedule or other graphic highlighting Preferred Parking signage. Indicate number of classrooms (as defined for this criterion) and total number of students.
| SS 3.1.3 | Open Spaces |  |  | Complete Table SS 3.1 - Minimize Site Disturba |  |  | CDs, ideally the title page, the Code page, and/or CHPS annotated scorecard Drawings or CHPS Project Summary sheet that provides the overview of the project must include the square footage of open space.
SS 4.0 |  | Construction Site Runoff Control and Sedimentation | 1 | 0 |  |  |  | CDs must include the site runoff control measures and Property Owner Notice of Intent.
SS 5.1 |  | Post Construction Stormwater Management | 2 | 0
| SS 5.1.1 | General Reduction |  |  | Complete Table SS 5.1.1 - PostConstr Stormwat | Complete the CHPS Plan Sheet to calculate stormwater management provided to CHPS Verified projects at the point of registration. Surfaces identified will be crosschecked with plans.
| SS 5.1.2 | Trash storage | [5 empty] | CDs must identify trash storage areas, how water is diverted from this area, and measures taken to ensure the trash is not transported off-site (walls, screens).
| SS 5.1.3 | Treatment Control Best Management Practices | [5 empty] | CDs must include the total volume of runoff and the total volume of runoff treated. In addition, drawings must call out where Best Management Practices (BMP’s) are located and details where appropriate.
SS 6.1 |  | Central location | 2 | 0
| SS 6.1.1 | Student Proximity | Select 1 Option for 2 Points |  | Complete Table SS 6.1.1 - Central Location | Provide an explanation or methodology, and appropriate back up for the option chosen. Provide a map showing the required features and distance to the school. If an alternative analysis was completed during the environmental review process, this document can provide basis for school site selection.
| SS 6.1.2 | Services Proximity
| SS 6.1.3 | Multiple Districts/Schools
SS 7.1 |  | Located Near Public Transportation | 1 | 0 |  | Provide a map showing the required features and distance to the school.
SS 8.1 |  | Joint-Use of Facilities | 2 | 0 |  | Provide a letter signed by the project architect and school superintendent, indicating features of the school that enhance its shared use with the community. Provide a copy of the formal Joint-Use agreement between the school district and the other entity, and provide copies of applicable insurance policies for use of the space. Include maintenance and operations provisions in any agreement. Provide a copy of the agreement between organization(s) and school district, school principal, or school board to provide joint-use. The agreement should be signed by both parties and state the facilities / parks to be used and for what purpose. Alternatively, provide copies of applicable insurance policies governing use of the parks or recreational space by the municipality or by the school if the spaces are municipally owned. |  | CDs must include a site plan that identifies the "Joint-Use Area" and the bathroom facilities that can be accessed without compromising the security of the non-joint-use portions of the facility. CDs must include a site plan that identifies the area of recreation space available for joint-use. A calculation must be provided on the sheet that includes the total amount of recreation and park space available, and the percentage of that space available for joint-use.
| SS 8.1.1 | Shared Facilities | Select 2 Options for 2 Points
| SS 8.1.2 | Shared School Grounds
| SS 8.1.3 | Shared Parking Space
| SS 8.1.4 | Shared Garden Space
| SS 8.1.5 | Shared Library Space
SS 9.1 |  | Human-Powered Transportation | 2 | 0
| SS 9.1.1 | Human Powered Transporation Storage | 1 |  | Complete Table SS 9.1.1 - Human Powered Trans |  |  | CDs must include the required features. CDs must identify the location and required storage. Include on the sheet the following completed calculations for students and employees: Spaces Required: Students ( ) x Percentage Required ( ) = ( ) Spaces Provided: ( )
| SS 9.1.2 | Extended Bike Lanes | Select 1 Option for 1 Point |  |  |  |  | CDs must include the required features.
| SS 9.1.3 | Safe Routes to School Plan
SS 10.1 |  | Reduce Heat Islands - Landscaping and Sites | 1 | 0 |  |  |  | CDs, likely the landscaping plans, must provide the calculations described under the implementation section.
SS 11.1 |  | Reduce Heat Islands - Cool/Green Roofs and Green Walls | 1 | 0 |  |  |  | Construction drawings, including a roof plan or landscaping plan, must include the square footage of total roof surface and the total surface covered by cool roof, or the size of green wall. For cool roofs, the specifications must include the CRRC Product ID#, emissivity and reflectance. For vegetated roofs and/or walls, details should be provided on the construction.
| SS 11.1.1 | Cool Roofs | Select 1 Option for 1 Point
| SS 11.1.2 | Green Roofs
| SS 11.1.3 | Green Walls | 1
SS 12.1 |  | Avoid Light Pollution and Unnecessary Lighting | 2 | 0 |  |  |  | The plan should indicate the location and mounting height of all site building mounted exterior fixtures clearly indicated by fixture type designations relating to the lighting fixture schedule. Exterior Lighting: Fixture schedule with manufacturers and model numbers, and manufacturers spec sheets, with a clear description of the specified lamps, wattage, (Illuminating Engineering Society of North America) IESNA cutoff classification and shielding accessories for each fixture.
| SS 12.1.1 | Outdoor Non-Emergency Lighting | 1
| SS 12.1.2 | Outdoor Lighting for General Illumination | 1
SS 13.1 |  | School Gardens | 1 | 0
| SS 13.1.1 | School Garden | Select 1 Option for 1 Point |  |  |  |  | CDs should identify the location and size of the garden as well as its storage space. Irrigation for the garden should be identified on a landscape irrigation design plan.
| SS 13.1.2 | Native Plant Hedgerow
SS 14.1 |  | Use Locally Native Plants for Landscape | 1 | 0 |  | Provide a site planting plan listing plant varieties indicating native and non-native species. Provide a reference designating locally native plants.
|  |  | Subtotal | 0

## SS 3.1 - Minimize Site Disturba
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
SS 3.1.1 - Floor Area Ratio, SS 3.1.2 - Excess Parking, and SS 3.1.3 - Open Spaces
Instructions: Complete the shaded cells in the applicable table(s) below to indicate compliance with the requirements.
Building Footprint
Building Gross Square Footage:
Building Footprint:
Floor Area Ratio:
Complies?
Excess Parking
Are local parking requirements more stringent than this criteria?
Parking: New Construction and Additions
School Type | Number of Classrooms | Number of Students | Total Number of Parking Spots Provided | Total Number of Parking Spots Allowed: | Number of Preferred Parking Spaces Provided | Number of Preferred Parking Spaces Required
Complies?
Parking: Major Renovations/Modernizations
Existing Number of Parking Spaces | Number of Parking Spaces after Renovation | Number of Preferred Parking Spaces after Renovation | Number of Preferred Parking Spaces Required
Complies?
Open Space
Is there a State or Local Zoning Ordinance that specifies Open Space requirements? (must answer)
Open Space Square Footage:
School Site Square Footage:
Percent Open Space:
Percent Open Space Required by Ordinance (leave blank if none):
Does project comply with SS 6.1 Central Location credit? (must answer)
Complies?

## SS 5.1.1 - PostConstr Stormwat
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
SS 5.1.1 - Post-Construction Stormwater Management
Instructions: Complete shaded columns A, B, & C. Other columns and calculatoins will automatically populate.
Existing Impervious Surfaces
Surface Type | Runoff Coefficient | Area (ft2) | Impervious Area (ft2)
|  | Total Existing Impervious Area: | 0
|  | Percent of Existing Area Impervious: | 0%
Post-Construction Impervious Surfaces
Surface Type | Runoff Coefficient | Area (ft2) | Impervious Area (ft2)
|  | Total Post-Construction Impervious Area: | 0
|  | Percent of Post-Construction Area Impervious: | 0%
Difference between Existing and Post-Construction Imperviousness: |  |  | 0%
| Complies? |  | Yes

## SS 6.1.1 - Central Location
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
SS 6.1.1 - Central Location
Instructions: Complete shaded columns A, B, & D. Other columns will automatically populate.
Student Capacity | School Level | 50% of Students Must Live Within: | Number of Students within Required Distance | Percent of Students within Required Distance
Enter Number of Students
Enter Number of Students
Enter Number of Students

## SS 9.1.1 - Human Powered Trans
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
SS 9.1.1 - Human Powered Transportation
Note: Calculations have been updated per CCI SS 01, see https://chps.net/criteria-interpretations-and-errata.
Instructions: Complete shaded cells. Required storage spaces is set to round.
Number of Students Grade 4 and Higher | School Level | Minimum Required Number of Spaces | Minimum Number of Storage Spaces | Number of Storage Spaces Provided for Bikes, Scooters, or Skateboards
1.5 for every 10 students
Complies?

## SS Construction
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Sustainable Sites Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
SS 1.0 |  | Site Selection | 2 | 0
New Schools Requirements
Major Modernizations
SS 2.1 |  | Environmentally Sensitive Land / Preserve Greenspce & Parklands | 2 | 0
| SS 2.1.1 | Parkland | 1
| SS 2.1.2 | Greenfields
| SS 2.1.3 | Endangered Species
| SS 2.1.4 | Farmland
| SS 2.1.5 | Floodplain | 1
| SS 2.1.6 | Wetlands
| SS 2.1.7 | Body of water
SS 3.1 |  | Minimize Site Disturbance | 1 | 0
| SS 3.1.1 | Floor Area Ratio
| SS 3.1.2 | Excess Parking
| SS 3.1.3 | Open Spaces
SS 4.0 |  | Construction Site Runoff Control and Sedimentation | 1 | 0 | Provide the SWPPP and photos identifying measures taken throughout construction.
SS 5.1 |  | Post Construction Stormwater Management | 2 | 0
| SS 5.1.1 | General Reduction
| SS 5.1.2 | Trash storage |  |  | Provide photo(s) of the primary trash storage areas showing appropriate drainage from adjoining roofs, pavement diverting stormwater runoff and screen or wall preventing transport of trash.
| SS 5.1.3 | Treatment Control Best Management Practices |  |  | Provide photos of at least one implemented BMP.
SS 6.1 |  | Central location | 2 | 0
| SS 6.1.1 | Student Proximity | Select 1 Option for 2 Points
| SS 6.1.2 | Services Proximity
| SS 6.1.3 | Multiple Districts/Schools
SS 7.1 |  | Located Near Public Transportation | 1 | 0
SS 8.1 |  | Joint-Use of Facilities | 2 | 0
| SS 8.1.1 | Shared Facilities | Select 2 Options for 2 Points
| SS 8.1.2 | Shared School Grounds
| SS 8.1.3 | Shared Parking Space
| SS 8.1.4 | Shared Garden Space
| SS 8.1.5 | Shared Library Space
SS 9.1 |  | Human-Powered Transportation | 2 | 0
| SS 9.1.1 | Human Powered Transporation Storage | 1 |  | Provide photo(s) of the features.
| SS 9.1.2 | Extended Bike Lanes | Select 1 Option for 1 Point |  | Provide a map showing the relationship of the school to existing or new bike lanes that extend at least one mile from the school site into the neighboring community.
| SS 9.1.3 | Safe Routes to School Plan |  |  | Provide the Safe Routes to School Plan (SRTS). Include photos of strategies implemented to provide safe bike lanes or a network that extends appropriately from the school site at least one mile into neighboring communities or access ways.
SS 10.1 |  | Reduce Heat Islands - Landscaping and Sites | 1 | 0
SS 11.1 |  | Reduce Heat Islands - Cool/Green Roofs and Green Walls | 1 | 0 | Provide photo(s) of the installed cool roof(s), vegetated roof(s) and/or green wall(s).
| SS 11.1.1 | Cool Roofs | Select 1 Option for 1 Point
| SS 11.1.2 | Green Roofs
| SS 11.1.3 | Green Walls | 1
SS 12.1 |  | Avoid Light Pollution and Unnecessary Lighting | 2 | 0 | Provide approved submittal with cover sheet and applicable materials for compliant light fixtures.
| SS 12.1.1 | Outdoor Non-Emergency Lighting | 1
| SS 12.1.2 | Outdoor Lighting for General Illumination | 1
SS 13.1 |  | School Gardens | 1 | 0
| SS 13.1.1 | School Garden | Select 1 Option for 1 Point |  | Submit a photo(s) of the completed garden(s). Submit the long-term maintenance plan for the garden spaces. For existing schools, submit proof that the garden site soil has been tested and no harmful contaminants are present.
| SS 13.1.2 | Native Plant Hedgerow |  |  | Submit a photo(s) of the completed hedgerow(s). Submit the long-term maintenance plan for the hedgerow. Include a summary of the intended insects to be attracted to the habitat.
SS 14.1 |  | Use Locally Native Plants for Landscape | 1 | 0
|  |  | Subtotal | 0

## MW Design
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Materials and Waste Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued by selecting "x".
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Construction Documents Required | Construction Document References
MW 1.0 |  | Storage and Collection of Recyclables | 2 | 0 |  | Construction drawings, site and classroom plans, must include the centralized collection point and recycling bins/dumpsters/areas in classrooms and common areas such as cafeterias or multi-purpose rooms. For off-site recycled content separation, provide documentation either in the form of haul tags, sorting receipts or some other written documentation from facility that ensures % separation required by criteria.
MW 1.1 |  | Storage and Collection of Recyclables for School Community | 1 | 0 |  | CDs shall include local ordinance requirements for community use recycling areas. Site plans must include the centralized collection point.
MW 2.0 |  | Construction Site Waste Management | 1 | 0 | MW C&D Summary | CDs must include general notes to the Contractor to implement a Construction Waste Management Plan. The notes should specify the required diversion rate through recycling, composting or salvage, compliant and preferred facilities to receive the debris, and that they are responsible to maintain documentation (weight tickets / receipts) for all debris leaving the site to be summarized and submitted after construction as a diversion summary.
MW 2.1 |  | Enhanced Construction Site Waste Management | 4 | 0 | MW C&D Summary | CDs must include general notes to the Contractor to implement a Construction Waste Management Plan. The notes should specify the required diversion rate through recycling, composting or salvage, compliant and preferred facilities to receive the debris, and that they are responsible to maintain documentation (weight tickets / receipts) for all debris leaving the site to be summarized and submitted after construction as a diversion summary.
| MW 2.1.1 | Recycle, reuse, and/or salvage at least 50% | 2
| MW 2.1.2 | Recycle, reuse, and/or salvage at least 75% | 3
| MW 2.1.3 | Recycle, reuse, and/or salvage at least 90% | Select 1 Option for 4 Points
| MW 2.1.4 | MW 2.1.3 plus Regional Reuse
MW 3.1 |  | Single Attribute - Recycled Content | 2 | 0
|  | Prescriptive Approach | 1 or 2
Performance Approach
MW 4.1 |  | Single Attribute - Rapidly Renewable Materials | 1 | 0
MW 5.1 |  | Single Attribute - Certified Wood | 2 | 0
MW 6.1 |  | Single Attribute - Materials Reuse | 2 | 0 | Materials PS | CDs must include notes regarding how salvaged materials will be used in various locations.
|  | Prescriptive Approach | 1 or 2
Performance Approach
MW 7.1 |  | Multi-Attribute Material Selection | 2 | 0
MW 8.1 |  | Building Reuse - Exterior | 3 | 0 | MW 8.1 & 9.1 - Reuse | CDs must include demolition plans and existing site plans that verify features to remain.
MW 9.1 |  | Building Reuse - Interior | 1 | 0 | MW 8.1 & 9.1 - Reuse | CDs must include demolition plans and existing site plans that verify features to remain.
MW 10.1 |  | Building Product Health Related Information Reporting | 1 | 0 | Materials PS | Submit construction documents specifying the use of products that meet the requirements. CDs must include notes for specifiers and designers regarding which of the various product categories are covered, where product templates may be found, and what the credit requirements are.
|  | Prescriptive Approach | 3
Performance Approach
MW 11.1 |  | Durability and Low Maintenance Flooring | 1 | 0
MW 12.1 |  | Environmental Performance Reporting | 2 | 0
|  |  | Subtotal | 0

## MW C&D Summary
Collaborative for High Performance Schools (CHPS)
MATERIALS & WASTE MANAGEMENT
MW C&D Summary | [7 empty] | x
SS4.2.2 Green Roof
Use this worksheet for MW 2.0/.1 to keep track of Construction Waste Management.
Weight Ticket Summary (For material that is removed from the site, and does not generate a waste ticket, provide an estimate of the weight and volume of materials removed.)
Submit receipts and/or weight tickets to CHPS from facilities that meet recycling / diversion rates.
Totals: |  |  |  |  | 0 | 0 | #DIV/0!
Date of Load Disposal | Name of Facility | Ticket Number | Type of Debris | Number of loads, yards, and pounds | Total Waste (Pounds) | Diverted Waste (Pounds) | % of material recycled
(These cells are free for you to insert rows and edit. Cell functions are not provided for you.)
Totals: |  |  |  |  | 0 | 0 | #DIV/0!

## Materials 24x36 (PS2)
Collaborative for High Performance Schools (CHPS) | [27 empty] | Project Description
TX-CHPS MATERIALS WORKSHEET
Based on the 2015 Edition
This plan sheet must be completed and included in the construction documents if points are claimed for MW 3.1 - 7.1, 10.1 and 11.1
Instructions: All projects claiming any of the relevant credits must complete columns A - F. Also complete the columns appropriate to the credits you are pursuing. Note that some credits have multiple compliance paths; only complete one of these paths where available. | [13 empty] | Complete for MW 4.1 - Rapidly Renewable Materials |  | Complete for MW 5.1 - Certified Wood |  | Complete for MW 6.1 - Materials Reuse | [5 empty] | Complete for MW 10.1: Product Ingredient Information |  | Complete for MW 11.1: Durable Low Maintenance Flooring
Notes: 96 rows are available for use. This sheet is designed to be printed on a standard 24" x 36" plansheet. Columns marked with an asterisk* are locked. These cells will auto-populate as needed. | [13 empty] | Only provide areas for categories claimed. |  |  |  | Only provide areas for categories claimed. | [5 empty] | If pursuing prescriptive path, provide total costs for:
TOTAL COST OF MATERIALS IN PROJECT: | [13 empty] | Total area of flooring (ft2): |  | Total cost of all wood: |  |  | Total area of flooring: |  | ft2 |  |  | Adhesives & Sealants | 0 | Total area of all flooring:
|  | 0 | [11 empty] | Total area of casework (ft2): |  |  | 0 |  | Total area of casework & doors: |  | ft2 |  |  | Paints & Coatings | 0 |  | ft2
[14 empty] | Total area of acoustical ceiling tile (ft2): |  |  |  |  | Total area of acoustical ceiling tile: |  | ft2 |  |  | Flooring Systems | 0
[14 empty] | Total area of wall coverings (ft2): |  |  |  |  | Total area of wall finishes: |  | ft2 |  |  | Composite Wood and Agrifiber | 0 |  |  | Project Number
[19 empty] | Total area of tile: |  | ft2 |  |  | Furniture and Furnishings | 0
[24 empty] | Ceiling and Wall Systems | 0
Division | CSI Number | Description | Material | Material Cost | Total Area of Material | MW 3.1 - Recycled Content | [7 empty] | MW 4.1 - Rapidly Renewable Materials |  | MW 5.1 - Certified Wood |  | MW 6.1 - Materials Reuse |  |  |  | MW 7.1: EPDs |  | MW 10.1: Product Ingredient Information |  | MW 11.1: Durable Low Maintenance Flooring
[6 empty] | All Recycled Content Claims |  |  | Prescriptive Approach |  | Performance Approach | [6 empty] | Performance Approach |  | Prescriptive Approach |  | Product has an Environmental Product Declaration |  | Performance and Prescriptive Approach |  | Product is Durable Low Maintenance Flooring |  | Project Location
Select the division. Group products from same divisions together. | Enter the CSI # | Provide a brief description of the product | Enter the material | May use 35% of total cost | (ft2) | Post-Consumer Recycled Content (%) | Pre-Consumer Recycled Content (%) | Total Recycled Content* | Area covered by material with recycled content | Percent of area covered by recycled content* | RCV* | % RCV (max 25%)* | Adjusted RCV* | Contains Renewable Material in Category | Rapidly renewable content (%) | Product is Certified Wood |  | Product is Reused Material |  | Contains Reused Materials in Category |  |  |  | Type of Ingredient Report for Product | Category
TOTALS |  |  |  | 0 | [8 empty] | 0
[10 empty] | Materials w/ Recycled Content (#): | 0 | Weighted Average RCV: | 0% | Flooring |  | Cost of Cert. Wood: | 0 | Value of Reused Mat'ls: | 0 | Flooring |  | # of products with EPD: | 0 | Number of products with Product Ingredient Report: | 0 | Compliant Area: | 0
[14 empty] | Compliant Area: | 0 | % Wood Certified: | 0% | % Reused: | 0% | Compliant Area: | 0 |  |  | Adhesives & Sealants |  | Compliant Percent: | 0%
[14 empty] | Compliant Percent: | 0% |  |  |  |  | Compliant Percent: | 0% |  |  | Compliant Value: | 0
[14 empty] | Casework | [5 empty] | Casework & Doors |  |  |  | Compliant Percent: | 0%
[14 empty] | Compliant Area: | 0 |  |  |  |  | Compliant Area: | 0 |  |  | Paints & Coatings
[14 empty] | Compliant Percent: | 0% |  |  |  |  | Compliant Percent: | 0% |  |  | Compliant Value: | 0
[14 empty] | Acoustical ceiling tile | [5 empty] | Acoustical ceiling tile |  |  |  | Compliant Percent: | 0% |  |  | CHPS-2
[14 empty] | Compliant Area: | 0 |  |  |  |  | Compliant Area: | 0 |  |  | Flooring Systems
[14 empty] | Compliant Percent: | 0% |  |  |  |  | Compliant Percent: | 0% |  |  | Compliant Value: | 0
[14 empty] | Wall Covering | [5 empty] | Wall Finishes |  |  |  | Compliant Percent: | 0%
[14 empty] | Compliant Area: | 0 |  |  |  |  | Compliant Area: | 0 |  |  | Composite Wood and Agrifiber
[14 empty] | Compliant Percent: | 0% |  |  |  |  | Compliant Percent: | 0% |  |  | Compliant Value: | 0
[20 empty] | Tile |  |  |  | Compliant Percent: | 0%
[20 empty] | Compliant Area: | 0 |  |  | Furniture and Furnishings
[20 empty] | Compliant Percent: | 0% |  |  | Compliant Value: | 0
[24 empty] | Compliant Percent: | 0%
Ceiling and Wall Systems
[24 empty] | Compliant Value: | 0
[24 empty] | Compliant Percent: | 0%

## MW 8.1 & 9.1 - Reuse
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
MW 8.1 - Exterior Building Reuse
Directions: Complete the table below. The percent of exterior reuse will be automatically calculated.
Preexisting School |  |  |  | Reused Elements
Floor Area (ft2) | Roof Area (ft2) | Ground Floor (Slab) Area (ft2) | Exterior Wall Area (ft2) Exclude Windows | Floor Area (ft2) | Roof Area (ft2) | Ground Floor (Slab) Area (ft2) | Exterior Wall Area (ft2) Exclude Windows
Percent of Exterior Reuse:
MW 9.1 - Interior Building Reuse
Directions: Complete the table below. The percent of interior reuse will be automatically calculated.
Preexisting School |  |  |  | Reused Elements
Interor Wall Area (ft2) | Door Area (ft2) | Floor Covering Area (ft2) | Ceiling System Area (ft2) | Interor Wall Area (ft2) | Door Area (ft2) | Floor Covering Area (ft2) | Ceiling System Area (ft2)
Percent of Interior Reuse:

## MW Construction
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Materials and Waste Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | CHPS Table | Attachment Required | Attachment Location Reference
MW 1.0 |  | Storage and Collection of Recyclables | 2 | 0 |  | Provide pictures of the centralized recycling collection point and typical common area recycling bins/dumpsters.
MW 1.1 |  | Storage and Collection of Recyclables for School Community | 1 | 0 |  | Provide photos of the centralized recycling collection point and typical classroom/common area recycling bins/dumpsters
MW 2.0 |  | Construction Site Waste Management | 1 | 0 | MW C&D Summary | Provide a diversion summary and back up documentation for where debris was taken.
MW 2.1 |  | Enhanced Construction Site Waste Management | 4 | 0 | MW C&D Summary | Provide a diversion summary and back up documentation for where debris was taken.
| MW 2.1.1 | Recycle, reuse, and/or salvage at least 50% | 2
| MW 2.1.2 | Recycle, reuse, and/or salvage at least 75% | 3
| MW 2.1.3 | Recycle, reuse, and/or salvage at least 90% | Select 1 Option for 4 Points
| MW 2.1.4 | MW 2.1.3 plus Regional Reuse
MW 3.1 |  | Single Attribute - Recycled Content | 2 | 0 | Materials PS | Completed CHPS Materials Plansheet and approved submittal with cover sheet and applicable materials. Provide cut sheets for materials claimed to have the required recycled content. Provide schedule of values for the project with each recycled content product clearly marked or highlighted and sorted by CSI number.
|  | Prescriptive Approach | 1 or 2
Performance Approach
MW 4.1 |  | Single Attribute - Rapidly Renewable Materials | 1 | 0 | Materials PS | Completed CHPS Materials Plansheet and approved submittal with cover sheet and applicable materials. Provide cut sheets for materials claimed to have the required rapidly renewable features. Provide drawings and calculations showing the total areas and qualifying areas of flooring, casework, ceiling tile, and wall coverings if claimed for credit. Proof of purchase and/or installation is only required if audited during construction review.
MW 5.1 |  | Single Attribute - Certified Wood | 2 | 0 | Materials PS | Completed CHPS Materials Plansheet and approved submittal with cover sheet and applicable materials. Provide cut sheets for materials, and Certificates of Chain-of-Custody signed by manufactures certifying that the product meets the required standard. Provide schedule of values for the project. All lumber products must be grouped together, and certified wood products must clearly be indicated. Provide a total value for all products in the category and a subtotal for all qualifying products.
MW 6.1 |  | Single Attribute - Materials Reuse | 2 | 0 | Materials PS | Completed CHPS Materials Plansheet. Proof of installation is only required if audited during construction review. Provide drawings and calculations showing the total areas and qualifying areas of flooring, casework & doors, acoustical ceiling tile, wall coverings, and tile if claimed for credit.
|  | Prescriptive Approach | 1
Performance Approach
MW 7.1 |  | Multi-Attribute Material Selection | 2 | 0 | Materials PS | Completed CHPS Materials Plansheet and approved submittal with cover sheet and applicable materials. Provide cut sheets for materials claimed to have the required environmental product declarations.
MW 8.1 |  | Building Reuse - Exterior | 3 | 0 | MW 8.1 & 9.1 - Reuse | Maintain photos taken before and after of major or large reuse of structural or shell elements to be provided if audited only.
MW 9.1 |  | Building Reuse - Interior | 1 | 0 | MW 8.1 & 9.1 - Reuse | Maintain pictures taken before and after of major non-structural elements to be provided if audited only.
MW 10.1 |  | Building Product Health Related Information Reporting | 1 | 0 | Materials PS | Completed CHPS Materials Plansheet and approved submittal with cover sheet and applicable materials. Provide cut sheets and completed HPD templates for materials claimed to meet this credit. If pursuing the prescriptive path, provide schedule of values for the project. All products from the pursued categories must be grouped together, and all qualifying products must clearly be indicated. Provide a total value for all products in the category and a subtotal for all qualifying products.
|  | Prescriptive Approach | 3
Performance Approach
MW 11.1 |  | Durability and Low Maintenance Flooring | 1 | 0 | Materials PS | Approved submittals with cover sheet and applicable materials. Provide cut sheets, warranty, and 15-year life cycle cost documentation for materials claimed to have the required permeability features. Provide drawings and calculations showing the total areas and qualifying areas of flooring claimed for credit. Proof of purchase and/or installation is only required if audited during construction review.
MW 12.1 |  | Environmental Performance Reporting | 2 | 0 |  | Approved submittals with cover sheet and applicable materials. Provide cut sheets, warranty, and 15-year life cycle cost documentation for materials claimed to have the required permeability features. Provide drawings and calculations showing the total areas and qualifying areas of flooring claimed for credit. Proof of purchase and/or installation is only required if audited during construction review.
|  |  | Subtotal | 0

## OM Design
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Operations and Metrics Design Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. All specification references must include appropriate subsection. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column. Please use the drop-down boxes in the "Points Claimed" column to indicate a sub-criteria was pursued by selecting "x".
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference | Construction Documents Required | Construction Document References
OM 1.0 |  | Facility Staff and Occupant Training | 2 | 0
OM 2.1 |  | Post-Occupancy Transition | 1 | 0
OM 3.0 |  | Performance Benchmarking | 2 | 0
| Option 1 | CHPS Operations Report Card (ORC) | Select Option Used |  | See published addendum (link on Errata page of v2.1 PDF).
| Option 2 | US EPA Portfolio Manager - Energy Star |  |  | Submit a copy of the initial facility report with the preliminary ENERGY STAR Score from EE 1.0.
| Option 3 | Energy Model
OM 4.1 |  | High Performance Operations | 6 | 0
| OM 4.1.1 | CHPS Operations Report Card - Score 70+ | 4 |  | See published addendum (link on Errata page of v2.1 PDF).
| OM 4.1.2 | Designate Resource Manager | 1 |  | Provide confirmation from the school district (or private or charter school) that a designated, permanent energy and water manager(s) has been hired. Provide their contact information.
| OM 4.1.3 | Designate Advocate | 1 |  | Provide confirmation from the school district (or private or charter school) that a designated school based advocate has been hired or volunteered. Provide their contact information.
OM 5.1 |  | Systems Maintenance Plan | 1 | 0
OM 6.1 |  | Indoor Environmental Management Plan | 2 | 0 | Provide a Governing Board-level Resolution requiring participation in U.S. EPA's Tools for Schools (or an equivalent program) for its schools.
OM 7.1 |  | Green Cleaning | 1 | 0
| OM 7.1.1 | Green Cleaning Resolution |  |  | Provide a letter expressing the administration's or responsible party’s intentions to pass a green cleaning resolution as outlined in the credit requirement.
| OM 7.1.2 | Space Inventory and Audit of Cleaning Practices
OM 8.1 |  | Integrated Pest Management | 2 | 0
| OM 8.1.1 | Integrated Pest Management Plan
| OM 8.1.2 | Design to Prevent Pests |  |  |  |  | CDs must reference features included to improve pest management.
OM 9.1 |  | Anti-Idling Measures | 1 | 0 | Provide a copy of the adopted anti-idling policy.
OM 10.1 |  | Green Power | 1 | 0
|  |  | Subtotal | 0

## OM Construction
Collaborative for High Performance Schools
2015 TX-CHPS Criteria
Operations and Metrics Construction Review Documentation
Instructions: For every credit and prerequisite claimed, submit information about each of the requirements. For attachments, reference the filename and bookmark (if appropriate) where it can be found. Indicate if required tables provided by CHPS have been completed. Provide construction document references as needed. Prerequisites are highlighted. Some criteria have sub-criteria, which may be required or optional. These are indicated in the "Points Available" column.
Criteria |  | Description | Points Available | Points Claimed | Attachment Required | Attachment Location Reference
OM 1.0 |  | Facility Staff and Occupant Training | 2 | 0 | Submit a report by the Commissioning Agent that demonstrates completion of the required staff training for operations and maintenance, including environmental systems controls settings. Submit evidence that all teachers and site admin staff have received operations and maintenance training through review of the “User’s Guide,” as well as how any Educational Displays and Demonstration Areas are intended to be used in the educational program.
OM 2.1 |  | Post-Occupancy Transition | 1 | 0 | Submit a copy of the Post Occupancy Survey, Post-Occupancy Transition meeting notes and list of attendees. Submit a written report documenting that Transition Action items have been addressed within 9 months of occupancy. Supporting plans and photos may also be submitted to CHPS.
OM 3.0 |  | Performance Benchmarking | 2 | 0 | For all options, submit a letter from the District identifying which benchmarking program will be used and commit to tracking energy performance after 1-2 years or perform recommissioning after 2-5 years.
| Option 1 | CHPS Operations Report Card (ORC) | Select Option Used |  | Provide proof of registration of school to conduct the ORC. See published addendum (link on Errata page of v2.1 PDF).
| Option 2 | US EPA Portfolio Manager - Energy Star
| Option 3 | Energy Model |  |  | Submit the letter as noted above and certify a model was done according to the guidelines contained in Energy Prerequisite EE 1.0.
OM 4.1 |  | High Performance Operations | 6 | 0
| OM 4.1.1 | CHPS Operations Report Card - Score 70+ | 3 |  | Provide proof of registration of school to conduct the ORC.
| OM 4.1.2 | Designate Resource Manager | 1 |  | Submit program outline or plan for your behavior-based energy conservation program as applies to this project, baseline, and any interim results or energy savings reporting. OR Submit a copy of the district MOU with Alliance to Save Energy for the PowerSave Schools Program, or similar established program, and an interim or final reporting of results. AND Submit the District Facilities staff ‘Active Energy Management Implementation Plan’ as applies to this project, and demonstrate some implementation of at least 3 of the activities with short narrative on deemed savings anticipated from these actions.
| OM 4.1.3 | Designate Advocate | 1
OM 5.1 |  | Systems Maintenance Plan | 1 | 0 | Provide a copy of the Systems Maintenance Plan that includes an inventory of building system components and all regularly scheduled preventative and routine maintenance tasks and their frequency over the lifetime of the building systems or equipment.
OM 6.1 |  | Indoor Environmental Management Plan | 2 | 0 | Participation in the Tools for Schools Program shall be verified by contacting EPA Tools for Schools Region coordinator. Documentation must show that there is staff allocated for the program and significant action will be taken within a two-year period, such as staff training, policy implementation, development of personnel infrastructure for problem solving and reporting issues, or IAQ assessment activities such as school walk-throughs, data collection, mapping, and/or action plans.
OM 7.1 |  | Green Cleaning | 1 | 0
| OM 7.1.1 | Green Cleaning Resolution |  |  | Submit the green cleaning policy or resolution covering the required areas.
| OM 7.1.2 | Space Inventory and Audit of Cleaning Practices |  |  | Submit the space inventory and completed audit.
OM 8.1 |  | Integrated Pest Management | 2 | 0
| OM 8.1.1 | Integrated Pest Management Plan |  |  | Submit the Integrated Pest Management (IPM) plan and demonstration of IPM policy in Buildings and Grounds operations.
| OM 8.1.2 | Design to Prevent Pests
OM 9.1 |  | Anti-Idling Measures | 1 | 0 | Provide photo(s) of the installed anti-idling signage.
OM 10.1 |  | Green Power | 1 | 0 | Provide copy of the REC contract or Power Purchase Agreement.
|  |  | Subtotal | 0

## References (hidden)
CSI Divisions | Checkmark |  | baserate | duration | use | occupants |  | Daylit Spaces | HPD Types |  |  |  | Collaborative for High Performance Schools
|  | Toilet (male) | 1.6 | 1 | 1 | 0 | Elementary School | [5 empty] | 2012 HI-CHPS Criteria
2 - Site Work | x | Toilet (female) | 1.6 | 1 | 3 | 0 | Middle School | Classroom | Standard HPD | CSI Start Numbers |  |  | Reference Values
3 - Concrete | various | Urinal | 1 | 1 | 2 | 0 | High School | Admin Offices | Full Disclosure HPD | Count |  |  | This sheet contains reference values used elsewhere in the document. Nothing needs to be completed on this tab.
4 - Masonry |  | Bathroom Lavatory Sink | 0.5 | 0.25 | 3 | 0 | SS 9.0/9.1 SS 6.1 | Other Support
5 - Metals | No | Showerhead | 2.5 | 5 | 1 | 0 |  | EQ 11.1 | MW 10.1 HPDs
6 - Wood and Plastics | Yes | Kitchen Sink | 2.2 | 45 | 2 | 2
7 - Thermal/Moisture |  | Clothes Washer | 40 | 1 | 2 | 1
8 - Doors and Windows |  | WE 2.1
9 - Finishes
10 - Specialties
12 - Furnishings
Other
Materials
Materials info
EQ 7.0/7.1 |  | Points |  |  | Daylighting Option |  |  |  |  | MW 4.1 cats | MW 6.1 cats | MW 10.1 cats
Paints & Coatings |  | 1 |  |  | Multiple Point in Time |  |  |  |  | Flooring | Flooring | Adhesives & Sealants
Flooring Systems |  | 2 |  |  | Spatial Daylight Saturation |  |  |  |  | Casework | Casework/Doors | Paints & Coatings
Composite Wood |  | 3 | [7 empty] | Acoustical ceiling tile | Acoustical Ceiling Tile | Flooring Systems
Adhesives & Sealants |  | 4 | [7 empty] | Wall covering | Wall Finishes | Composite Wood and Agrifiber
Furniture & Furnishings |  | 5 | [8 empty] | Tile | Furniture and Furnishings
Ceiling & Wall Systems |  | 6 | [9 empty] | Ceiling and Wall Systems
New School on New Campus | [11 empty] | HPD with full disclosure of known hazards
New School on Existing Campus | [11 empty] | C2C v2 Silver Level or above
New Building | [11 empty] | C2C v3 Bronze Level or above
Renovation | [11 empty] | C2C Material Health Certificate (MHC) at the Bronze level or above
Declare label
Manufacturer Inventory with GreenScreen Benchmarking